## README
Tropical-cyclone wind × solar — model-v1 review workbook
Coverage-first noncanonical screening exception • one visible-module source atom • no Hazard cutover
Identity | Value | Invariant | Order | Sheet | Purpose
Cell ID | tropical_cyclone_wind_solar | hazard × asset project-management cell | 1 | README | Identity and strict gate
Damage code | TROPICAL_CYCLONE_WIND_SOLAR_PERRY_MODULE_SCREENING_V1 | review implementation only | 2 | Scope_Coverage | Scope and coverage
Semantic model | model v1.0 | first partial numerical proposal | 3 | Source_Evidence | Primary-source conflict and provenance
Documentation | docs r1 | governed proof trail | 4 | Cohort_Fit | Frozen PAVA sufficient statistics
Model grade | screening_remote_sensing_labeled_visible_fraction_with_T4_economic_bridge | remote-sensing labels plus T4 economic bridge | 5 | PAVA_Curve | Runtime knots and monotonicity
Supported atom | PV_PERRY_GROUND_FIXED_VISIBLE_MODULE_HARDWARE_SOURCE_UNIT | source-specific, not generic module field | 6 | Event_Sensitivity | Event clustering and leave-one-out sensitivity
Runtime curve count | 1 | exactly one PAVA-derived screening record | 7 | Failure_Units | Failure-unit coverage
Canonical runtime artifact | FALSE | must remain false | 8 | Value_Crosswalk | Value denominator boundary
Package inclusion | not_included | no package or consumer pin | 9 | KATs | Executable test inventory
Scenario loss | withheld_before_canonical_promotion | withheld before promotion | 10 | Source_Register | Sources and transfer limits
Annual/tail metrics | withheld | consumer prerequisites unmet | 11 | Claim_Register | Governed claims
|  |  | 12 | Parameter_Tiers | Parameter evidence tiers
|  |  | 13 | QA | Formula-driven QA
Strict gate: current public evidence does not earn a field-calibrated economic-DR model. This v1 exists only as a deliberate coverage-first, noncanonical screening exception. It requires uniform module value and full replacement of visible/missing modules, excludes the lone severe-tail observation from runtime, and withholds every other failure unit, dollar loss, and annual/tail output.

## Scope_Coverage
Scope and coverage
The scalar is narrower than a generic module-field or whole-solar-plant damage ratio
Layer | Subject | Status | Reason / boundary | Value basis | Exposure grain | Consumer treatment
Hazard | Dataset-reported event maximum gust | conditional | provider/station/height/averaging/query unresolved | n/a | source site | exact source-axis identifier only
Source atom | Visible/missing fixed ground module hardware | conditional numeric | remote-sensing-labeled source cohort | uniform module hardware material value | complete compatible site module population | scalar DR only
Generic module field | All visible + hidden module damage | withheld not zero | source-specific atom cannot generalize | same-unit in future | module/row/block | preserve null
Tracker | modules and SBOS | withheld not zero | only two tracking=true rows | separate tracker value | exact tracker system | no fixed fallback
Support/electrical/GSU/civil | all non-module units | withheld not zero | endpoint does not cover them | same-unit split required | point/line/network/yard | preserve null
Spatial exposure | additional array fraction | prohibited | observed response already includes realized site fraction | n/a | same source site | no second multiplier
Scenario loss | DR × value | withheld | noncanonical and T4 economic bridge | site-specific module value after promotion | one physical module population | not emitted
Annual/tail | EAL/PML/VaR/TVaR | withheld | frequency coupling and full coverage absent | consumer-owned | portfolio | no result

## Source_Evidence
Source evidence and conflict
The same-event/site methods disagree; they are correlated challenges, not poolable observations
Source | Population / locator | Endpoint | Runtime role | Strength | Blocker | Pinned SHA / DOI | Decision
Perry manual CSV | 47 total; 37 ground; 35 ground non-tracking | labeled percent modules damaged | fit source | graded physical fraction | mixed scale, source-axis ambiguity, no disposition/cost | edb34e74...e00 / 10.21948/2562917 | adopt with limits
Perry data description | pp. 1-2 | manual polygons; aggregate modules blown away | endpoint definition | public DOE package | manual/aggregate methods differ; full manual weather provider unresolved | 852ff012...19d5 | adopt with limits
Ceferino supplement | Table 2, p. 4 | approximate percent panels damaged | cross-method audit | 14 Caribbean ground sites | different reports/visual workflow; no paired site gust/cost | 6a9e9f36...6756 | audit only
Ceferino threshold check | paper Section 2.1 + supplement Table 2 | strict >50% gives 4/14; reported 36% implies 5/14 with 50% included | endpoint-semantics audit | directly reproducible from the governed sources | binary inclusion convention unresolved | TCWS-C118 | do not reproduce calibration count
Apparent-coordinate comparison | four Maria utility/ground pairs within 500 m | Perry differs materially from Ceferino | promotion challenge | governed analyst match audit | no authoritative shared site ID; correlated, not independent | TCWS-C115 | do not pool
Strict gate | independent reviews | no evidence-earned economic DR | release decision | prevents overclaiming | T4 bridge and unstable tail | TCWS-C116 | noncanonical exception only
Audit match | Ceferino row / % | Perry line / % | Distance (m) | Absolute difference (pp) | Confidence | Method | Status
TCWS-XM-001 | Table 2 row 2 / 13% | aggregate line 242 / 3.661981002% | 72.363 | 9.338 | high | nearest Maria utility/ground coordinate <=500 m; identity unadjudicated | audit_only
TCWS-XM-002 | Table 2 row 3 / 60% | aggregate line 74 / 41.42383192% | 244.253 | 18.5762 | high | nearest Maria utility/ground coordinate <=500 m; identity unadjudicated | audit_only
TCWS-XM-003 | Table 2 row 4 / 90% | aggregate line 7 / 81.81441591% | 36.781 | 8.1856 | high | nearest Maria utility/ground coordinate <=500 m; identity unadjudicated | audit_only
TCWS-XM-004 | Table 2 row 7 / 13% | aggregate line 257 / 0.447129082% | 405.681 | 12.5529 | moderate | nearest Maria utility/ground coordinate <=500 m; identity unadjudicated | audit_only

## Cohort_Fit
Frozen PAVA sufficient statistics
Equal-site weighting; runtime n=34; the one 48.2 m/s severe observation remains audit-only
Block | x low (m/s) | x high (m/s) | n sites | sum DR | Published mean DR | Formula mean DR | Absolute delta | Fit role
B01 | 17.4 | 17.4 | 1 | 0 | 0 | 0 | 0 | runtime_fit
B02 | 18.3 | 18.3 | 1 | 0 | 0 | 0 | 0 | runtime_fit
B03 | 20.7 | 24.6 | 14 | 0.0038187 | 0.00027277 | 0.00027277 | 0 | runtime_fit
B04 | 24.8 | 25.1 | 2 | 0.0019104 | 0.00095518 | 0.00095518 | 0 | runtime_fit
B05 | 25.9 | 29.5 | 7 | 0.012972 | 0.0018532 | 0.0018532 | 1.4268e-16 | runtime_fit
B06 | 29.8 | 29.8 | 2 | 0.0081096 | 0.0040548 | 0.0040548 | 0 | runtime_fit
B07 | 31.7 | 37.9 | 3 | 0.013244 | 0.0044145 | 0.0044145 | 8.6736e-19 | runtime_fit
B08 | 38.9 | 39.1 | 4 | 0.073092 | 0.018273 | 0.018273 | 0 | runtime_fit
TAIL01 | 48.2 | 48.2 | 1 | 0.41424 | 0.41424 | 0.41424 | 0 | audit_only_excluded_sparse_tail
Cohort rule | Value | Why
Source filter | mounting_type=ground AND tracking=false | explicit source labels
Runtime range | 17.4-39.1 m/s | stops before 9.1 m/s sparse-tail gap
Tail audit | 48.2 m/s, DR 0.4142383192, n=1 | strongest selected ground+nontracker source-cohort point; utility-scale status is unproven; exclusion biases high-end fit downward
Weighting | one equal weight per site | module counts unavailable consistently
Fit | PAVA pooled means + block-edge linearization | transparent monotone screening method; knots are derived, not source-published

## PAVA_Curve
Runtime screening knots
PAVA-derived block-edge knots; linear interpolation only inside 17.4-39.1 m/s
Knot | Gust (m/s) | Proxy DR | Prior gust | Prior DR | Monotone check | Source / method
1 | 17.4 | 0 | n/a | n/a | PASS | TCWS-S020; PAVA-derived
2 | 18.3 | 0 | 17.4 | 0 | PASS | TCWS-S020; PAVA-derived
3 | 20.7 | 0.00027277 | 18.3 | 0 | PASS | TCWS-S020; PAVA-derived
4 | 24.6 | 0.00027277 | 20.7 | 0.00027277 | PASS | TCWS-S020; PAVA-derived
5 | 24.8 | 0.00095518 | 24.6 | 0.00027277 | PASS | TCWS-S020; PAVA-derived
6 | 25.1 | 0.00095518 | 24.8 | 0.00095518 | PASS | TCWS-S020; PAVA-derived
7 | 25.9 | 0.0018532 | 25.1 | 0.00095518 | PASS | TCWS-S020; PAVA-derived
8 | 29.5 | 0.0018532 | 25.9 | 0.0018532 | PASS | TCWS-S020; PAVA-derived
9 | 29.8 | 0.0040548 | 29.5 | 0.0018532 | PASS | TCWS-S020; PAVA-derived
10 | 31.7 | 0.0044145 | 29.8 | 0.0040548 | PASS | TCWS-S020; PAVA-derived
11 | 37.9 | 0.0044145 | 31.7 | 0.0044145 | PASS | TCWS-S020; PAVA-derived
12 | 38.9 | 0.018273 | 37.9 | 0.0044145 | PASS | TCWS-S020; PAVA-derived
13 | 39.1 | 0.018273 | 38.9 | 0.018273 | PASS | TCWS-S020; PAVA-derived
Sample gust | Lower knot | Upper knot | Expected DR | Formula DR | Delta
19.5 | 18.3 | 20.7 | 0.00013638 | 0.00013638 | 0
24.7 | 24.6 | 24.8 | 0.00061397 | 0.00061397 | 6.18e-18
30.75 | 29.8 | 31.7 | 0.0042347 | 0.0042347 | 0
38.4 | 37.9 | 38.9 | 0.011344 | 0.011344 | 0

## Event_Sensitivity
Event clustering and sensitivity
Rows are not iid; the high end is Maria-dependent and remains uncalibrated
Event | Fit rows | Share | Leave-one-event-out highest block DR | Full-fit high block DR | Interpretation
Dorian | 3 | 0.088235 | 0.018273 | 0.018273 | low-speed zero cluster
Florence | 20 | 0.58824 | 0.024364 | 0.018273 | dominates sample count; omission raises surviving 38.9 m/s block
Ian | 2 | 0.058824 | 0.018273 | 0.018273 | small cluster
Idalia | 1 | 0.029412 | 0.018273 | 0.018273 | single-site cluster
Maria | 4 | 0.11765 | 0.0033764 | 0.018273 | omission reduces highest fitted block by about 5.41 times
Michael | 4 | 0.11765 | 0.018273 | 0.018273 | small cluster
No confidence interval is reported. Leave-one-event-out results are sensitivity diagnostics, not uncertainty bounds. The strong Maria dependence, Florence concentration, conflicting endpoint methods, and excluded severe tail block canonical promotion and any frequency/tail use.

## Failure_Units
Failure-unit coverage
One source-specific module atom is conditional; every other unit remains withheld, not zero
Failure unit | Subsystem | Component / boundary | Treatment | Y axis | Denominator | Exposure grain | Withhold reasons
PV_PERRY_GROUND_FIXED_VISIBLE_MODULE_HARDWARE_SOURCE_UNIT | PV ARRAY MODULES SOURCE COHORT | VISIBLE OR MISSING MODULE HARDWARE MATERIAL ONLY | primary nonzero | failure_unit_damage_ratio | same source-compatible module-hardware material acquisition value under uniform per-module value and full replacement of every visibly damaged or missing module | one complete source-compatible ground-mounted non-tracking site module population
PV_FIXED_TILT_MODULE_FIELD | PV ARRAY MODULES | GENERIC FIXED TILT MODULE FIELD ALL DAMAGE | withheld | failure_unit_damage_ratio | same-unit fixed-tilt module-field replacement value | future exact unit | SOURCE_SPECIFIC_ATOM_NOT_GENERIC_MODULE_FIELD; HIDDEN_DAMAGE_AND_DISPOSITION_NOT_OBSERVED
PV_FIXED_TILT_SUPPORT_STRUCTURE | PV ARRAY SUPPORT | RACKS POSTS BRACES CLAMPS AND CONNECTIONS | withheld | failure_unit_damage_ratio | same-unit fixed-tilt support replacement value | future exact unit | NO_RUNTIME_CURVE_FOR_PATHWAY_UNIT
PV_TRACKER_MODULE_FIELD | PV ARRAY MODULES | TRACKER MODULES FRAMES AND RETENTION | withheld | failure_unit_damage_ratio | same-unit tracker module-field replacement value | future exact unit | TRACKER_POPULATION_NOT_SUPPORTED; NO_FIXED_TO_TRACKER_FALLBACK
PV_TRACKER_SBOS_ASSEMBLY | PV ARRAY SUPPORT | TRACKER TORQUE TUBE BEARING DRIVE AND RACKING | withheld | failure_unit_damage_ratio | same-unit tracker structural BOS replacement value | future exact unit | TRACKER_POPULATION_NOT_SUPPORTED; NO_RUNTIME_CURVE_FOR_PATHWAY_UNIT
PV_FOUNDATION | FOUNDATION | PILES POSTS ANCHORS AND PADS | withheld | failure_unit_damage_ratio | same-unit foundation replacement value | future exact unit | NO_RUNTIME_CURVE_FOR_PATHWAY_UNIT
PV_POWER_CONVERSION_AND_COLLECTION | PLANT ELECTRICAL | INVERTER COMBINER CABLE AND COLLECTION SCOPE | withheld | failure_unit_damage_ratio | split point, line, and network replacement value | future exact unit | NO_RUNTIME_CURVE_FOR_PATHWAY_UNIT; POINT_LINE_NETWORK_SPLIT_REQUIRED
PV_GSU_SUBSTATION | SUBSTATION | GSU TRANSFORMER SWITCHYARD PROTECTION AND CONTROL | withheld | failure_unit_damage_ratio | same facility-level GSU/substation replacement value | future exact unit | NO_RUNTIME_CURVE_FOR_PATHWAY_UNIT; FACILITY_LEVEL_SHARED_SUBASSET_REQUIRES_CELL_LOCAL_BINDING
PV_SCADA_COMMUNICATIONS | CONTROL | SCADA MONITORING AND COMMUNICATIONS | withheld | failure_unit_damage_ratio | same-unit control and communications replacement value | future exact unit | NO_RUNTIME_CURVE_FOR_PATHWAY_UNIT
PV_CIVIL_INFRA | PLANT CIVIL | ROADS FENCES DRAINAGE AND BUILDINGS | withheld | failure_unit_damage_ratio | split direct civil replacement value | future exact unit | NO_RUNTIME_CURVE_FOR_PATHWAY_UNIT; MIXED_CIVIL_BUCKET_REQUIRES_SPLIT
PV_REPLACEMENT_SUPPORT | SUPPORT | REMOVAL REINSTALL FIELDWORK FREIGHT AND LOGISTICS | withheld | not_applicable_support_cost | post-damage repair work scope | future exact unit | SUPPORT_COST_ALLOCATE_ONCE_AFTER_DISPOSITION; NO_INDEPENDENT_FRAGILITY

## Value_Crosswalk
Value and denominator crosswalk
Module material only; no full TIV, installed-cost benchmark, racking, labor, logistics, electrical, or GSU value
value_source_id | source_location | row_or_bucket_id | row_or_bucket_label | value | unit | financial_class | failure_unit_id | applicable_pathway_ids | role_in_loss | include_in_direct_denominator | allocation_rule | double_count_guardrail | status | notes
SITE_SPECIFIC_REQUIRED | site BOM/SOV/appraisal | PV_PERRY_VISIBLE_MODULE_HARDWARE | Visible or missing module hardware material acquisition value | site_specific_required | USD at declared valuation date | direct_hardware | PV_PERRY_GROUND_FIXED_VISIBLE_MODULE_HARDWARE_SOURCE_UNIT | tropical_cyclone_wind | future same-unit denominator | false | Only after canonical promotion may a revised crosswalk bind the exact compatible module-hardware population once, with uniform-value assumption explicitly accepted. | Never include racking, removal, reinstall, freight, tax, electrical, GSU, civil, support, BI, or full TIV. | candidate_not_runtime_loss | The noncanonical evaluator emits DR only; this proposal activates no dollar denominator.
NLR_Q1_2025_UPV_PV_ONLY_2024_USD | docs/method/value_basis/solar_wind_value_breakdown.xlsx::Solar_Map!2 | SOLAR_VALUE_002_MODULE | Module hardware reference benchmark | 291.21485143992487 | 2024_USD_per_kWdc | direct_hardware | PV_FIXED_TILT_MODULE_FIELD | tropical_cyclone_wind | anatomy and reconciliation only | false | Do not default an unknown site to this benchmark. | Do not multiply the source-specific curve by full plant TIV or describe benchmark loss as site loss. | reference_only | TCWS-S013; generic module-field value is broader than the source-specific atom.
WITHHELD | none | PV_FIXED_TILT_SUPPORT_STRUCTURE | Fixed-tilt racks, posts, braces, clamps, and connections | withheld | not_applicable | direct_hardware | PV_FIXED_TILT_SUPPORT_STRUCTURE | tropical_cyclone_wind | withheld | false | Require a separate failure-unit response and same-unit value. | Do not inherit module DR. | withheld | No runtime curve.
WITHHELD | none | PV_TRACKER_MODULE_FIELD | Tracker module hardware | withheld | not_applicable | direct_hardware | PV_TRACKER_MODULE_FIELD | tropical_cyclone_wind | withheld | false | Require tracker-specific evidence. | No fixed-to-tracker fallback. | withheld | Only two source-cohort tracking records.
WITHHELD | none | PV_TRACKER_SBOS_ASSEMBLY | Tracker structural balance of system | withheld | not_applicable | direct_hardware | PV_TRACKER_SBOS_ASSEMBLY | tropical_cyclone_wind | withheld | false | Require exact system and control-state response. | No stow or fixed-tilt transfer. | withheld | No runtime curve.
WITHHELD | none | PV_FOUNDATION | Foundations and anchors | withheld | not_applicable | direct_hardware | PV_FOUNDATION | tropical_cyclone_wind | withheld | false | Separate foundation response and value. | Do not inherit visible module DR. | withheld | No runtime curve.
WITHHELD | none | PV_POWER_CONVERSION_AND_COLLECTION | Inverters, combiners, cables, and collection | withheld | not_applicable | direct_hardware | PV_POWER_CONVERSION_AND_COLLECTION | tropical_cyclone_wind | withheld | false | Split point, line, and network units. | Do not inherit visible module DR. | withheld | No runtime curve.
WITHHELD | none | PV_GSU_SUBSTATION | GSU transformer, switchyard, protection, and controls | withheld | not_applicable | direct_hardware | PV_GSU_SUBSTATION | tropical_cyclone_wind | withheld | false | Use shared anatomy but cell-local wind evidence, exposure, value, and release. | Do not inherit flood, wind-farm, or array response. | withheld | Facility-level shared subasset.
WITHHELD | none | PV_SCADA_COMMUNICATIONS | SCADA and communications | withheld | not_applicable | direct_hardware | PV_SCADA_COMMUNICATIONS | tropical_cyclone_wind | withheld | false | Require separate mechanism and value. | Do not inherit visible module DR. | withheld | No runtime curve.
WITHHELD | none | PV_CIVIL_INFRA | Roads, fences, drainage, and buildings | withheld | not_applicable | direct_hardware | PV_CIVIL_INFRA | tropical_cyclone_wind | withheld | false | Split subjects and pathways. | Do not inherit visible module DR. | withheld | Mixed bucket.
WITHHELD | none | PV_REPLACEMENT_SUPPORT | Removal, reinstall, field labor, freight, and logistics | withheld | not_applicable | support_cost | PV_REPLACEMENT_SUPPORT | tropical_cyclone_wind | withheld | false | Allocate once only after qualified disposition. | Never embed support in the material proxy and add it again. | withheld | No independent fragility.

## KATs
Known-answer and fail-closed test inventory
The Python validator executes every listed formula, rejection, and withheld-unit fixture
Test ID | Class | Input / mutation | Expected status | Expected DR | Curve / reason | Execution | Row complete?
TCWS_KNOT_MIN | formula | {"pathway_id":"tropical_cyclone_wind","failure_unit_id":"PV_PERRY_GROUND_FIXED_VISIBLE_MODULE_HARDWARE_SOURCE_UNIT","array_architecture_id":"PERRY_GROUND_NONTRACKING_SOURCE_COHORT_V1","source_population_match_id":"PERRY_MANUAL_GROUND_NONTRACKING_MIXED_SCALE_V1","module_value_distribution_assumption_id":"UNIFORM_MODULE_HARDWARE_VALUE","visible_damage_disposition_assumption_id":"FULL_REPLACEMENT_IF_VISIBLE_OR_MISSING","source_wind_product_id":"PERRY_DATASET_REPORTED_EVENT_MAX_GUST","causal_scope_acknowledgement_id":"SOURCE_COMPOSITE_HURRICANE_MODULE_LOSS","perry_event_max_gust_mps":17.4} | conditional | 0 | TCWS_PERRY_GROUND_FIXED_VISIBLE_REPLACEMENT_PROXY_V1 | executed externally | PASS
TCWS_KNOT_B03 | formula | {"pathway_id":"tropical_cyclone_wind","failure_unit_id":"PV_PERRY_GROUND_FIXED_VISIBLE_MODULE_HARDWARE_SOURCE_UNIT","array_architecture_id":"PERRY_GROUND_NONTRACKING_SOURCE_COHORT_V1","source_population_match_id":"PERRY_MANUAL_GROUND_NONTRACKING_MIXED_SCALE_V1","module_value_distribution_assumption_id":"UNIFORM_MODULE_HARDWARE_VALUE","visible_damage_disposition_assumption_id":"FULL_REPLACEMENT_IF_VISIBLE_OR_MISSING","source_wind_product_id":"PERRY_DATASET_REPORTED_EVENT_MAX_GUST","causal_scope_acknowledgement_id":"SOURCE_COMPOSITE_HURRICANE_MODULE_LOSS","perry_event_max_gust_mps":24.6} | conditional | 0.00027277 | TCWS_PERRY_GROUND_FIXED_VISIBLE_REPLACEMENT_PROXY_V1 | executed externally | PASS
TCWS_KNOT_B05 | formula | {"pathway_id":"tropical_cyclone_wind","failure_unit_id":"PV_PERRY_GROUND_FIXED_VISIBLE_MODULE_HARDWARE_SOURCE_UNIT","array_architecture_id":"PERRY_GROUND_NONTRACKING_SOURCE_COHORT_V1","source_population_match_id":"PERRY_MANUAL_GROUND_NONTRACKING_MIXED_SCALE_V1","module_value_distribution_assumption_id":"UNIFORM_MODULE_HARDWARE_VALUE","visible_damage_disposition_assumption_id":"FULL_REPLACEMENT_IF_VISIBLE_OR_MISSING","source_wind_product_id":"PERRY_DATASET_REPORTED_EVENT_MAX_GUST","causal_scope_acknowledgement_id":"SOURCE_COMPOSITE_HURRICANE_MODULE_LOSS","perry_event_max_gust_mps":29.5} | conditional | 0.0018532 | TCWS_PERRY_GROUND_FIXED_VISIBLE_REPLACEMENT_PROXY_V1 | executed externally | PASS
TCWS_KNOT_MAX | formula | {"pathway_id":"tropical_cyclone_wind","failure_unit_id":"PV_PERRY_GROUND_FIXED_VISIBLE_MODULE_HARDWARE_SOURCE_UNIT","array_architecture_id":"PERRY_GROUND_NONTRACKING_SOURCE_COHORT_V1","source_population_match_id":"PERRY_MANUAL_GROUND_NONTRACKING_MIXED_SCALE_V1","module_value_distribution_assumption_id":"UNIFORM_MODULE_HARDWARE_VALUE","visible_damage_disposition_assumption_id":"FULL_REPLACEMENT_IF_VISIBLE_OR_MISSING","source_wind_product_id":"PERRY_DATASET_REPORTED_EVENT_MAX_GUST","causal_scope_acknowledgement_id":"SOURCE_COMPOSITE_HURRICANE_MODULE_LOSS","perry_event_max_gust_mps":39.1} | conditional | 0.018273 | TCWS_PERRY_GROUND_FIXED_VISIBLE_REPLACEMENT_PROXY_V1 | executed externally | PASS
TCWS_INTERPOLATE_19P5 | formula | {"pathway_id":"tropical_cyclone_wind","failure_unit_id":"PV_PERRY_GROUND_FIXED_VISIBLE_MODULE_HARDWARE_SOURCE_UNIT","array_architecture_id":"PERRY_GROUND_NONTRACKING_SOURCE_COHORT_V1","source_population_match_id":"PERRY_MANUAL_GROUND_NONTRACKING_MIXED_SCALE_V1","module_value_distribution_assumption_id":"UNIFORM_MODULE_HARDWARE_VALUE","visible_damage_disposition_assumption_id":"FULL_REPLACEMENT_IF_VISIBLE_OR_MISSING","source_wind_product_id":"PERRY_DATASET_REPORTED_EVENT_MAX_GUST","causal_scope_acknowledgement_id":"SOURCE_COMPOSITE_HURRICANE_MODULE_LOSS","perry_event_max_gust_mps":19.5} | conditional | 0.00013638 | TCWS_PERRY_GROUND_FIXED_VISIBLE_REPLACEMENT_PROXY_V1 | executed externally | PASS
TCWS_INTERPOLATE_24P7 | formula | {"pathway_id":"tropical_cyclone_wind","failure_unit_id":"PV_PERRY_GROUND_FIXED_VISIBLE_MODULE_HARDWARE_SOURCE_UNIT","array_architecture_id":"PERRY_GROUND_NONTRACKING_SOURCE_COHORT_V1","source_population_match_id":"PERRY_MANUAL_GROUND_NONTRACKING_MIXED_SCALE_V1","module_value_distribution_assumption_id":"UNIFORM_MODULE_HARDWARE_VALUE","visible_damage_disposition_assumption_id":"FULL_REPLACEMENT_IF_VISIBLE_OR_MISSING","source_wind_product_id":"PERRY_DATASET_REPORTED_EVENT_MAX_GUST","causal_scope_acknowledgement_id":"SOURCE_COMPOSITE_HURRICANE_MODULE_LOSS","perry_event_max_gust_mps":24.7} | conditional | 0.00061397 | TCWS_PERRY_GROUND_FIXED_VISIBLE_REPLACEMENT_PROXY_V1 | executed externally | PASS
TCWS_INTERPOLATE_30P75 | formula | {"pathway_id":"tropical_cyclone_wind","failure_unit_id":"PV_PERRY_GROUND_FIXED_VISIBLE_MODULE_HARDWARE_SOURCE_UNIT","array_architecture_id":"PERRY_GROUND_NONTRACKING_SOURCE_COHORT_V1","source_population_match_id":"PERRY_MANUAL_GROUND_NONTRACKING_MIXED_SCALE_V1","module_value_distribution_assumption_id":"UNIFORM_MODULE_HARDWARE_VALUE","visible_damage_disposition_assumption_id":"FULL_REPLACEMENT_IF_VISIBLE_OR_MISSING","source_wind_product_id":"PERRY_DATASET_REPORTED_EVENT_MAX_GUST","causal_scope_acknowledgement_id":"SOURCE_COMPOSITE_HURRICANE_MODULE_LOSS","perry_event_max_gust_mps":30.75} | conditional | 0.0042347 | TCWS_PERRY_GROUND_FIXED_VISIBLE_REPLACEMENT_PROXY_V1 | executed externally | PASS
TCWS_INTERPOLATE_38P4 | formula | {"pathway_id":"tropical_cyclone_wind","failure_unit_id":"PV_PERRY_GROUND_FIXED_VISIBLE_MODULE_HARDWARE_SOURCE_UNIT","array_architecture_id":"PERRY_GROUND_NONTRACKING_SOURCE_COHORT_V1","source_population_match_id":"PERRY_MANUAL_GROUND_NONTRACKING_MIXED_SCALE_V1","module_value_distribution_assumption_id":"UNIFORM_MODULE_HARDWARE_VALUE","visible_damage_disposition_assumption_id":"FULL_REPLACEMENT_IF_VISIBLE_OR_MISSING","source_wind_product_id":"PERRY_DATASET_REPORTED_EVENT_MAX_GUST","causal_scope_acknowledgement_id":"SOURCE_COMPOSITE_HURRICANE_MODULE_LOSS","perry_event_max_gust_mps":38.4} | conditional | 0.011344 | TCWS_PERRY_GROUND_FIXED_VISIBLE_REPLACEMENT_PROXY_V1 | executed externally | PASS
TCWS_BELOW_RANGE | rejection | {"perry_event_max_gust_mps":17.3999} | rejected | null | AXIS_OUTSIDE_VALID_RANGE | executed externally | PASS
TCWS_ABOVE_RANGE | rejection | {"perry_event_max_gust_mps":39.1001} | rejected | null | AXIS_OUTSIDE_VALID_RANGE | executed externally | PASS
TCWS_SPARSE_TAIL_REJECTED | rejection | {"perry_event_max_gust_mps":48.2} | rejected | null | AXIS_OUTSIDE_VALID_RANGE | executed externally | PASS
TCWS_TRACKER_REJECTED | rejection | {"array_architecture_id":"single_axis_tracker"} | rejected | null | SELECTOR_MISMATCH | executed externally | PASS
TCWS_WRONG_WIND_PRODUCT_REJECTED | rejection | {"source_wind_product_id":"NHC_MAX_SUSTAINED_WIND"} | rejected | null | SELECTOR_MISMATCH | executed externally | PASS
TCWS_MISSING_ECONOMIC_BRIDGE_REJECTED | rejection | {"remove_field":"module_value_distribution_assumption_id"} | rejected | null | SELECTOR_REQUIRED | executed externally | PASS
TCWS_EXTRA_EXPOSURE_REJECTED | rejection | {"at_risk_fraction":0.5} | rejected | null | EXTRA_EXPOSURE_FRACTION_PROHIBITED | executed externally | PASS
TCWS_VALUE_INPUT_REJECTED | rejection | {"direct_replacement_value_usd":1000000} | rejected | null | SCENARIO_LOSS_WITHHELD_NONCANONICAL_PROPOSAL | executed externally | PASS
TCWS_WRONG_PATHWAY_REJECTED | rejection | {"pathway_id":"strong_wind"} | rejected | null | UNSUPPORTED_PATHWAY_ID | executed externally | PASS
TCWS_GENERIC_MODULE_WITHHELD | withheld_unit | PV_FIXED_TILT_MODULE_FIELD | withheld | null | SOURCE_SPECIFIC_ATOM_NOT_GENERIC_MODULE_FIELD | executed externally | PASS
TCWS_TRACKER_MODULE_WITHHELD | withheld_unit | PV_TRACKER_MODULE_FIELD | withheld | null | TRACKER_POPULATION_NOT_SUPPORTED | executed externally | PASS
TCWS_SUPPORT_WITHHELD | withheld_unit | PV_FIXED_TILT_SUPPORT_STRUCTURE | withheld | null | NO_RUNTIME_CURVE_FOR_PATHWAY_UNIT | executed externally | PASS
TCWS_GSU_WITHHELD | withheld_unit | PV_GSU_SUBSTATION | withheld | null | FACILITY_LEVEL_SHARED_SUBASSET_REQUIRES_CELL_LOCAL_BINDING | executed externally | PASS

## Source_Register
Source register
Every source has a locator plus permitted and prohibited inference
Source ID | Citation | URL/path | Locator | Role | Tier | Endpoint | Permitted | Prohibited | Decision | Status | Notes
TCWS-S001 | NOAA/National Hurricane Center. Glossary of NHC Terms: Maximum Sustained Surface Wind. | https://www.nhc.noaa.gov/aboutgloss.shtml | entry: Maximum Sustained Surface Wind | axis_boundary | T2_public_lab_standard_or_physics | one-minute wind at 10 m in unobstructed exposure | Demonstrate that NHC sustained wind is not the Perry dataset gust field. | Alias NHC sustained wind to the Perry axis or apply an undocumented gust bridge. | adopt_with_limits | reviewed | No numeric parameter is transferred.
TCWS-S002 | Ceferino, L.; Lin, N.; Xi, D. Bayesian updating of solar panel fragility curves and implications of higher panel strength for solar generation resilience. Reliability Engineering & System Safety 229, 108896 (2023). DOI 10.1016/j.ress.2022.108896. | https://par.nsf.gov/servlets/purl/10481168 | Section 2.1; Eq. 1; supplementary site table | audit_comparator | T1_claims_or_field_calibrated | site-level probability of extensive clip or racking failure | Use as an audit comparator for tropical-cyclone solar damage occurrence. | Convert probability of a composite extensive-failure state to module economic DR. | audit_only | reviewed | Not used in the v1 fitted curve.
TCWS-S003 | Perry, K.; Jordan, D. C.; Nguyen, Q. Assessing the Impacts of Extreme Weather Events on Photovoltaic Installations Using Remote Sensing Imagery. Progress in Photovoltaics 33(9), 1012-1023 (2025). DOI 10.1002/pip.70001; NREL/JA-5K00-92873. | https://www.osti.gov/pages/biblio/2574727 | Sections 2.1 and 2.4; Section 3.1; Figures 4-5; Table 2 | endpoint_and_population_context | T1_claims_or_field_calibrated | visible PV damage fractions after hurricanes joined to third-party gust estimates | Support the source-native visible-module endpoint and dataset method with all stated limits. | Infer hidden damage, fixed-versus-tracker population fragility, repair cost, or whole-site loss. | adopt_with_limits | reviewed | The DOI dataset supplies the row-level fields used by the proposal.
TCWS-S005 | ASCE/SEI 7-22. Minimum Design Loads and Associated Criteria for Buildings and Other Structures. | https://www.asce.org/publications-and-news/asce-7/ | wind definitions and ground-mounted PV provisions | axis_and_design_boundary | T2_public_lab_standard_or_physics | design wind and demand definitions | Require an explicit bridge before any ASCE design wind enters this source-native curve. | Treat design wind as observed event gust or failure capacity. | adopt_with_limits | reviewed | No licensed normative text or numeric coefficient is copied.
TCWS-S006 | FM. Property Loss Prevention Data Sheet 7-106: Ground-Mounted Solar Photovoltaic Power (April 2026). | https://www.fm.com/-/media/project/publicwebsites/fmglobal/documentum-new/data-sheet-individual/07-hazards/fmds07106.pdf | Sections 2.1.2.1-2.1.2.4 and 3.1.1-3.1.2 | architecture_boundary | T2_public_lab_standard_or_physics | distinct fixed-tilt and tracker qualification and control considerations | Keep tracker and fixed-tilt routes separate. | Apply the proposed fixed-tilt source-cohort curve to trackers or infer a stow credit. | adopt_with_limits | reviewed | No FM threshold becomes a damage ordinate.
TCWS-S013 | NLR. U.S. Solar Photovoltaic System and Energy Storage Cost Benchmark: Q1 2025. | https://www.nrel.gov/docs/libraries/solar/2025-us-solar-photovoltaic-system-and-energy-storage-cost-benchmarks-with-minimum-sustainable-price-analysis-q1-2025.pdf | utility-scale PV module hardware benchmark as mapped in docs/method/value_basis/solar_wind_value_breakdown.xlsx | value_anatomy_only | T2_public_lab_standard_or_physics | reference module hardware value anatomy | Reconcile module hardware as a separate value bucket. | Use a benchmark as an unobserved site value or multiply the curve by full plant TIV. | adopt_with_limits | reviewed | Scenario loss remains withheld in this noncanonical proposal.
TCWS-S020 | NLR/NREL. Satellite Imagery of PV Site Storm Damage. Dataset DOI 10.21948/2562917 (2025). | https://www.osti.gov/biblio/2562917 | manual CSV file id f6eb09a0-4a12-4ef8-b2d9-8aa9e70f4008; columns mounting_type, tracking, max_wind_gust_(m/s), pct_modules_damaged (%); SHA256 edb34e74cc078bba1fdbe34463abadc794fd416caa66eb64ac3d0ed176ac5e00; aggregated CSV file id f5355652-f2e1-4bdb-8ff2-3623ce15a1d4; cross-method audit lines 7, 74, 242, 257; SHA256 c1ab48731f875142c571efcfd6323d7e048b35b2d2525418e25e6fefb3487062 | curve_fit_shape | T1_claims_or_field_calibrated | 47 manually labeled sites; 37 ground; 35 ground non-tracking; percent visibly damaged module area and event maximum gust | Filter ground plus tracking false; convert percent to fraction; fit an unweighted monotone source-cohort screening relationship. Use the four pinned aggregate rows only for the governed apparent-coordinate cross-method audit. | Claim utility-scale representativeness, local 3-second gust semantics, causal purity, hidden damage, disposition, or repair cost from the raw fields. Treat coordinate proximity as an authoritative identity join. | adopt_with_limits | reviewed | Raw files are not redistributed because repository metadata states no license; DOI, file IDs, schemas, and hashes are pinned. The manual CSV alone enters the PAVA fit; aggregate rows are audit-only and never enter runtime fitting.
TCWS-S021 | NLR/NREL. Extreme Weather Data Description, file in Satellite Imagery of PV Site Storm Damage dataset DOI 10.21948/2562917. | https://www.osti.gov/biblio/2562917 | data-description PDF file id f3736640-1433-42f6-bd0b-3e2bf9b2951e; pp. 1-2; SHA256 852ff0128c99e188127a3d789ab217f55c98dba4952db590e07c140bf45219d5 | endpoint_definition | T1_claims_or_field_calibrated | manual site/damage polygons and aggregate percentage of modules blown away; Visual Crossing is documented for the aggregate Irma/Maria weather map but full manual-cohort weather-provider semantics remain unresolved | Define the observed physical fraction while preserving unresolved full-cohort weather-product lineage. | Invent gust provider, station, averaging period, height, exposure standard, module disposition, or economic denominator for the full manual cohort. | adopt_with_limits | reviewed | The manual and aggregate methods differ; the runtime fit uses only the manual CSV.
TCWS-S022 | Ceferino, L.; Lin, N.; Xi, D. Supplementary Information to Bayesian Updating of Solar Panel Fragility Curves and Implications of Higher Panel Strength for Solar Generation Resilience (2023). | https://ars.els-cdn.com/content/image/1-s2.0-S0951832022005117-mmc1.docx | Supplementary Table 2 p. 4; SHA256 6a9e9f36e8e13ae2d9ea266258608a031fe6489bd31155f27b784f1ac7e06756 | cross_source_endpoint_audit | T1_claims_or_field_calibrated | approximate percent of panels damaged at 14 Caribbean ground-mounted sites based mainly on reports and websites with visual satellite verification | Use as a cross-method same-event and same-site endpoint discrepancy and uncertainty challenge. | Pool with Perry, treat the approximate values as same-method or independent labels, or convert them to repair cost. | audit_only | reviewed | Matched-site values differ materially from Perry; the evidence is correlated by site/event and the supplement carries no paired site-level source gust table or same-unit cost.
GOVERNANCE_CONTRACT | InfraSure damage-modeling foundations, cell-package, evidence, versioning, and capability standards. | docs/method/standards/02_cell_package_standard.md | docs/method/standards and docs/contracts/standards | method_and_release_governance | T4_placeholder_or_expert_judgment | rules for failure-unit atom alignment, provenance, withholding, versioning, and noncanonical release | Govern explicit screening assumptions and fail-closed scope. | Treat governance as empirical evidence or use it to fill a missing physical parameter. | adopt | current | Pseudo-source ID resolves governance decisions; it is not scientific evidence.

## Claim_Register
Claim register
No load-bearing claim may outrun its source; the strict-gate dissent is retained
Claim ID | Claim | Type | Source IDs | Locator | Tier | Rule | Status | Permitted | Prohibited | Reasoning | Update trigger
TCWS-C101 | The Perry manual dataset contains 47 records, including 37 ground-mounted and 35 ground-mounted records explicitly marked tracking false. | direct_observation | TCWS-S020 | manual CSV filter counts pinned to source SHA | T1_claims_or_field_calibrated | source_cohort_count | adopt | Freeze the exact source-cohort selection. | Call all 35 records utility-scale or representative of a named modern fleet. | System size is missing for part of the cohort and the source does not declare one target utility archetype. | A licensed revised source file or corrected schema changes the counts.
TCWS-C102 | The manual endpoint is percent modules visibly damaged based on post-event imagery and labeled site/damage polygons. | direct_observation | TCWS-S003;TCWS-S020;TCWS-S021 | paper method and data-description pp. 1-2 | T1_claims_or_field_calibrated | source_response_endpoint | adopt_with_limits | Use the visible module fraction as a graded physical response. | Infer hidden electrical or structural damage, disposition, labor, or whole-site cost. | Remote sensing observes exterior visible damage only. | A source revision adds inspected disposition and same-unit cost.
TCWS-C103 | Under uniform per-module hardware value and full replacement of every visible or missing module, visible module fraction equals a same-unit module-hardware material replacement proxy DR. | governance_assumption | TCWS-S020;TCWS-S021;GOVERNANCE_CONTRACT | v1 ordinate bridge derivation | T4_placeholder_or_expert_judgment | uniform_value_and_full_replacement_bridge | adopt_with_limits | Emit a source-specific module-hardware screening DR only when both assumptions are explicitly acknowledged. | Describe the result as observed economic loss, claims-calibrated DR, installed replacement cost, or full module-field all-damage DR. | The physical numerator and denominator align only because the two economic bridge assumptions are imposed. | Disposition or module-level value evidence replaces either assumption.
TCWS-C104 | The source x field is the dataset-reported event maximum gust in m/s; provider, station, height, averaging period, exposure, and query semantics are not pinned for the full manual multi-hurricane cohort. | direct_observation | TCWS-S020;TCWS-S021 | manual CSV max_wind_gust_(m/s) and data-description weather notes | T1_claims_or_field_calibrated | hazard_axis | adopt_with_limits | Require the exact dataset-reported axis identifier. | Alias NHC sustained wind, ASCE 3-second gust, array-height wind, Visual Crossing generally, or another gust product. | A numeric gust without complete source semantics is not universally transferable. | The archive publishes exact full-cohort weather-query semantics or an approved bridge is validated.
TCWS-C105 | The runtime fit uses 34 source-cohort records from 17.4 through 39.1 m/s. | derived_result | TCWS-S020;GOVERNANCE_CONTRACT | ground and tracking=false; x<=39.1 filter | T3_engineering_proxy_or_adjacent_empirical | fit_population_and_range | adopt | Evaluate only inside the governed source-bounded range. | Extrapolate below 17.4 or above 39.1 m/s. | The next observed point is a lone severe-tail record separated by a 9.1 m/s gap. | A sufficiently populated tail dataset supports a revised range.
TCWS-C106 | The one 48.2 m/s source-cohort record has visible damage fraction 0.4142383192 and is audit-only. | direct_observation | TCWS-S020 | manual CSV source cohort sparse-tail record | T1_claims_or_field_calibrated | sparse_tail_audit | withhold_runtime | Retain the point in evidence QA and tail-influence discussion. | Use it as a runtime knot or interpolate the 39.1-48.2 m/s gap. | One clustered observation cannot stabilize the severe tail. | Additional architecture-matched observations close the gap and tail.
TCWS-C107 | The runtime curve is an unweighted site-level monotone PAVA fit linearized at pooled-block edges. | method_decision | TCWS-S020;GOVERNANCE_CONTRACT | FIT_SUFFICIENT_STATISTICS and derivation script | T3_engineering_proxy_or_adjacent_empirical | fit_method | adopt_with_limits | Reproduce deterministic nondecreasing block means and linear interpolation between recorded edges. | Claim a source-published curve, iid confidence interval, claims calibration, or causal parametric fragility. | Site weighting avoids inventing module counts; monotonic pooling is transparent for sparse zero-inflated observations. | A reviewed cluster-aware predictive method supersedes the screening fit.
TCWS-C108 | No curve-intrinsic uncertainty distribution is carried. | governance_decision | TCWS-S020;GOVERNANCE_CONTRACT | FIT_EVENT_SENSITIVITY_tropical_cyclone_wind_solar__model_v1_0__docs_r1.csv | T4_placeholder_or_expert_judgment | uncertainty_status | withhold | Flag event clustering and fit sensitivity. | Treat row count as iid evidence or construct unsupported confidence bands. | Events and sites are clustered; leave-Maria-out reduces the highest fitted block by about 5.41 times and the severe tail is sparse. | A hierarchical event-aware uncertainty model passes review.
TCWS-C109 | The observed site fraction already contains realized spatial extent and must not be multiplied by a second array exposure fraction. | governance_decision | TCWS-S003;TCWS-S020;TCWS-S021 | source endpoint definition | T3_engineering_proxy_or_adjacent_empirical | exposure_rule | adopt | Apply the DR once to the exact compatible module-hardware subject value. | Apply an additional at-risk fraction or site overlap multiplier to the same response. | A second fraction would double-attenuate the observed response. | A future local-demand model changes the response grain.
TCWS-C110 | The source does not isolate pure aerodynamic uplift from cascade or debris-related visible module loss. | source_interpretation | TCWS-S003;TCWS-S020;TCWS-S021 | paper discussion and dataset fields | T3_engineering_proxy_or_adjacent_empirical | causal_scope_acknowledgement | adopt_with_limits | Label output SOURCE_COMPOSITE_HURRICANE_MODULE_LOSS. | Present the proxy as pure wind-pressure fragility or combine it with a debris module curve without overlap review. | Post-event imagery does not identify the causal mechanism of each damaged module. | Mechanism-labeled event observations become available.
TCWS-C111 | Tracker modules and tracker SBOS are unsupported by this curve. | governance_decision | TCWS-S006;TCWS-S020 | manual cohort has only two ground tracking=true records | T2_public_lab_standard_or_physics | architecture_selector | withhold | Route tracking=false source-cohort screening only. | Fallback from tracker to fixed tilt or infer stow benefit. | Two tracker records cannot support a tracker route and tracker controls change response. | A qualified tracker dataset passes the full evidence chain.
TCWS-C112 | Racking, foundations, power conversion, collection, GSU, SCADA, civil, fieldwork, logistics, and hidden damage remain withheld rather than zero. | governance_decision | TCWS-S003;TCWS-S006;TCWS-S020;GOVERNANCE_CONTRACT | failure-unit coverage audit | T4_placeholder_or_expert_judgment | partial_coverage | withhold | Emit explicit null results and reason codes. | Transfer the module proxy, assume zero loss, or multiply by plant TIV. | The source endpoint and value bridge cover visible module hardware only. | Failure-unit-specific evidence and value chains pass review.
TCWS-C113 | Scenario dollar loss and all annual or tail metrics are withheld before canonical promotion. | governance_decision | TCWS-S013;GOVERNANCE_CONTRACT | capability and value-linkage gate | T4_placeholder_or_expert_judgment | loss_capability | withhold | Review scalar source-unit DR independently of financial output. | Use the NLR benchmark, full TIV, EAL, PML, VaR, or TVaR from this proposal. | The proposal is noncanonical and has partial physical and value coverage. | Canonical promotion plus exact site module-hardware value and consumer validation.
TCWS-C114 | Raw DOI files are hash-pinned but not redistributed in-repository because the archive metadata reports no license. | governance_decision | TCWS-S020;TCWS-S021 | DOI resource metadata and pinned file hashes | T4_placeholder_or_expert_judgment | source_file_handling | adopt | Publish sufficient statistics and a reproducible derivation script that requires a user-supplied DOI download. | Commit the raw CSV or PDF as if reuse permission were granted. | A public download is not the same as an explicit redistribution license. | The archive supplies a compatible license or written permission.
TCWS-C115 | Ceferino Supplementary Table 2 and Perry report materially different damage percentages at four apparent coordinate-nearest Caribbean matches and must not be pooled as one measurement system. | cross_source_discrepancy | TCWS-S003;TCWS-S020;TCWS-S022 | CROSS_METHOD_MATCH_AUDIT_tropical_cyclone_wind_solar__model_v1_0__docs_r1.csv; Ceferino Supplementary Table 2 p. 4; Perry aggregate CSV lines 7, 74, 242, 257 | T3_engineering_proxy_or_adjacent_empirical | cross_method_same_event_endpoint_challenge | adopt_as_limitation | Treat the disagreement as correlated cross-method evidence of measurement and endpoint uncertainty and block canonical promotion. | Average, pool, treat the values as independent labels, assert an authoritative identity join, or use Ceferino/Perry aggregate values in the Perry manual-cohort PAVA fit. | The analyst-derived nearest-coordinate rule finds four same-event utility/ground records within 500 m, but no authoritative shared site identifier adjudicates identity; the sources use different labeling methods and do not establish one common endpoint. | A reconciled site-level adjudication establishes shared identity and common endpoint semantics.
TCWS-C116 | Under the strict evidence-earned economic-DR gate, current evidence supports a docs-only v0.1 update rather than a numerical model v1. | independent_review_finding | TCWS-S020;TCWS-S021;TCWS-S022;GOVERNANCE_CONTRACT | independent primary-source and repo audits dated 2026-07-29 | T4_placeholder_or_expert_judgment | strict_gate_outcome | adopt_as_limitation | Label model v1 as a deliberate coverage-first noncanonical screening exception only. | Describe model v1 as evidence-earned, canonical, field-calibrated economic DR, or ready for Hazard cutover. | The T4 ordinate bridge, population transfer, source-axis ambiguity, endpoint conflict, clustering, and sparse tail remain unresolved. | All strict promotion gates pass.
TCWS-C117 | The released manual CSV has 47 rows and omits the paper-described site_type field, so the governed cohort follows the released file rather than the paper's narrative count/schema. | source_release_discrepancy | TCWS-S003;TCWS-S020 | paper Methods/Data Availability compared with manual CSV header and row count | T1_claims_or_field_calibrated | source_release_schema_qa | adopt_as_limitation | Pin 47 rows, the released columns, and the exact SHA for reproducibility. | Silently assume a 48th row, infer site type from missing fields, or call the 35-row cohort utility-scale. | The public artifact and narrative do not fully align; the released file is the reproducible numerical object. | Authors publish a corrected/versioned data release and change log.
TCWS-C118 | Ceferino's paper defines extensive failure using a strict greater-than-50-percent threshold, but Supplementary Table 2 contains one site at exactly 50 percent: the table yields 4/14 under greater-than 50 percent, while the reported 36 percent corresponds to 5/14 only when 50 percent is included. | source_internal_threshold_discrepancy | TCWS-S002;TCWS-S022 | paper Section 2.1 and Supplementary Table 2 p. 4 | T1_claims_or_field_calibrated | ceferino_binary_endpoint_reproduction | adopt_as_limitation | Retain the discrepancy as a governed endpoint-semantics warning and do not independently reproduce the binary calibration count from the supplement. | Silently classify the 50-percent row, claim that the supplement exactly reproduces the reported binary sample, or use either count in the Perry fit. | The strict textual threshold and the reported proportion cannot both be reproduced from the tabulated percentages without an inclusion convention or author clarification. | Authors publish a corrected threshold, exact binary labels, or a site-level calibration table.

## Parameter_Tiers
Parameter and rule tiers
Physical observations are Tier 1; fit and economic conversion remain screening/Tier 3-4
Parameter | Pathway | Curve | Value/rule | Role | Tier | Sources | Reasoning | Status | Update trigger
runtime_curve_count | tropical_cyclone_wind | TCWS_PERRY_GROUND_FIXED_VISIBLE_REPLACEMENT_PROXY_V1 | 1 | capability | T4_placeholder_or_expert_judgment | GOVERNANCE_CONTRACT | One narrow noncanonical source-unit curve passes the screening gate. | adopt | Promotion or model revision.
source_manual_csv_sha256 | tropical_cyclone_wind | TCWS_PERRY_GROUND_FIXED_VISIBLE_REPLACEMENT_PROXY_V1 | edb34e74cc078bba1fdbe34463abadc794fd416caa66eb64ac3d0ed176ac5e00 | provenance_pin | T1_claims_or_field_calibrated | TCWS-S020 | Pins the exact reviewed source file. | adopt | Source file changes.
source_cohort_filter | tropical_cyclone_wind | TCWS_PERRY_GROUND_FIXED_VISIBLE_REPLACEMENT_PROXY_V1 | mounting_type=ground AND tracking=false | selector | T1_claims_or_field_calibrated | TCWS-S020 | Separates the only adequately populated explicit architecture cohort. | adopt_with_limits | Architecture labels or source population changes.
source_cohort_n | tropical_cyclone_wind | TCWS_PERRY_GROUND_FIXED_VISIBLE_REPLACEMENT_PROXY_V1 | 35 | sample_size | T1_claims_or_field_calibrated | TCWS-S020 | All fixed ground source-cohort records including the tail audit point. | adopt | Source changes.
runtime_fit_n | tropical_cyclone_wind | TCWS_PERRY_GROUND_FIXED_VISIBLE_REPLACEMENT_PROXY_V1 | 34 | sample_size | T3_engineering_proxy_or_adjacent_empirical | TCWS-S020;GOVERNANCE_CONTRACT | Excludes the single 48.2 m/s sparse-tail observation. | adopt_with_limits | Tail evidence improves.
source_axis_id | tropical_cyclone_wind | TCWS_PERRY_GROUND_FIXED_VISIBLE_REPLACEMENT_PROXY_V1 | PERRY_DATASET_REPORTED_EVENT_MAX_GUST_MPS | axis | T1_claims_or_field_calibrated | TCWS-S020;TCWS-S021 | Preserves the dataset-reported field without attributing one provider or inventing averaging, height, station, or query semantics for the full manual cohort. | adopt_with_limits | Source documentation clarifies the full manual-cohort weather lineage.
valid_range_mps | tropical_cyclone_wind | TCWS_PERRY_GROUND_FIXED_VISIBLE_REPLACEMENT_PROXY_V1 | 17.4¦39.1 | boundary_or_cap | T3_engineering_proxy_or_adjacent_empirical | TCWS-S020;GOVERNANCE_CONTRACT | Source-bounded fit domain before the isolated severe-tail gap. | adopt_with_limits | Tail evidence improves.
fit_method | tropical_cyclone_wind | TCWS_PERRY_GROUND_FIXED_VISIBLE_REPLACEMENT_PROXY_V1 | unweighted_site_PAVA_then_block_edge_linearization | curve_fit_shape | T3_engineering_proxy_or_adjacent_empirical | TCWS-S020;GOVERNANCE_CONTRACT | Transparent monotone pooling without invented module weights. | adopt_with_limits | Reviewed predictive method replaces screening fit.
interpolation_policy | tropical_cyclone_wind | TCWS_PERRY_GROUND_FIXED_VISIBLE_REPLACEMENT_PROXY_V1 | linear_between_source_knots | curve_fit_shape | T3_engineering_proxy_or_adjacent_empirical | GOVERNANCE_CONTRACT | Continuous deterministic interpolation between governed block edges. | adopt_with_limits | Method revision.
extrapolation_policy | tropical_cyclone_wind | TCWS_PERRY_GROUND_FIXED_VISIBLE_REPLACEMENT_PROXY_V1 | withhold outside 17.4-39.1 m/s | boundary_or_cap | T4_placeholder_or_expert_judgment | GOVERNANCE_CONTRACT | No source-supported tail or low-end extrapolation. | adopt | New evidence expands range.
ordinate_percent_conversion | tropical_cyclone_wind | TCWS_PERRY_GROUND_FIXED_VISIBLE_REPLACEMENT_PROXY_V1 | damage_ratio=pct_modules_damaged/100 | ordinate_bridge | T1_claims_or_field_calibrated | TCWS-S020;TCWS-S021 | Exact unit conversion from percent to fraction. | adopt | Source units change.
uniform_module_value | tropical_cyclone_wind | TCWS_PERRY_GROUND_FIXED_VISIBLE_REPLACEMENT_PROXY_V1 | required_true | value_bridge | T4_placeholder_or_expert_judgment | GOVERNANCE_CONTRACT | Makes module-count or equal-area fraction align with module-hardware value fraction. | adopt_with_limits | Observed module value distribution replaces assumption.
full_replacement_if_visible | tropical_cyclone_wind | TCWS_PERRY_GROUND_FIXED_VISIBLE_REPLACEMENT_PROXY_V1 | required_true | disposition_bridge | T4_placeholder_or_expert_judgment | GOVERNANCE_CONTRACT | Maps visible or missing module physical fraction to material replacement proxy. | adopt_with_limits | Inspected repair-versus-replace data replaces assumption.
extra_exposure_fraction | tropical_cyclone_wind | TCWS_PERRY_GROUND_FIXED_VISIBLE_REPLACEMENT_PROXY_V1 | prohibited | exposure_modifier | T3_engineering_proxy_or_adjacent_empirical | TCWS-S020;TCWS-S021 | The site response already measures realized affected fraction. | adopt | Response grain changes.
curve_intrinsic_spread | tropical_cyclone_wind | TCWS_PERRY_GROUND_FIXED_VISIBLE_REPLACEMENT_PROXY_V1 | not_carried | uncertainty | T4_placeholder_or_expert_judgment | GOVERNANCE_CONTRACT | Cluster-aware uncertainty is not identified by the sparse event sample. | withhold | Validated hierarchical uncertainty model.
tail_audit_point | tropical_cyclone_wind | TCWS_PERRY_GROUND_FIXED_VISIBLE_REPLACEMENT_PROXY_V1 | 48.2 m/s¦0.4142383192 DR¦n=1 | audit_only | T1_claims_or_field_calibrated | TCWS-S020 | Retains the severe observation without granting runtime interpolation. | withhold_runtime | Tail cohort grows.
model_grade | tropical_cyclone_wind | TCWS_PERRY_GROUND_FIXED_VISIBLE_REPLACEMENT_PROXY_V1 | screening_remote_sensing_labeled_visible_fraction_with_T4_economic_bridge | release_state | T4_placeholder_or_expert_judgment | TCWS-S020;GOVERNANCE_CONTRACT | Separates remote-sensing-labeled visible physical severity from assumed economic disposition. | adopt | Evidence chain improves.

## QA
Workbook QA
Formula assertions; external validator also executes schemas, evaluator KATs, source derivation, links, and canonical-index checks
Check | Status formula | Expected | Scope | Why it matters
Runtime fit site count | PASS | 34 | Cohort_Fit | Exact fit cohort
Sparse tail audit count | PASS | 1 | Cohort_Fit | Tail not discarded
Sufficient-stat deltas zero | PASS | 0 | Cohort_Fit | Mean reproduction
Runtime knot count | PASS | 13 | PAVA_Curve | Exact artifact knots
All runtime knots monotone | PASS | 13 | PAVA_Curve | No decreasing x or DR
Interpolation deltas zero | PASS | 0 | PAVA_Curve | Representative KATs
Event rows sum to fit count | PASS | 34 | Event_Sensitivity | Cluster accounting
Source register exact count | PASS | 10 | Source_Register | All governed sources
Claim register exact count | PASS | 18 | Claim_Register | All governed claims
Parameter table exact count | PASS | 17 | Parameter_Tiers | All governed parameters
Value crosswalk exact count | PASS | 11 | Value_Crosswalk | No dropped value row
Failure unit exact count | PASS | 11 | Failure_Units | Complete unit inventory
One primary source atom | PASS | 1 | Failure_Units | Partial coverage only
Supported atom present once | PASS | 1 | Failure_Units | No genericization
KAT rows complete | PASS | 21 | KATs | Every fixture represented
Proposal remains noncanonical | PASS | FALSE | README | No runtime cutover
Package remains excluded | PASS | not_included | README | No silent release
Ceferino conflict source present | PASS | 1 | Source_Register | Cross-method challenge retained