## README
Flood × wind — governed audit workbook
Model v0.1 / docs r1 · proposed · noncanonical · zero runtime curves · candidates shown for audit only
Control field | Value | Central decision
cell_id | flood_wind | Exactly matched GSU/substation equipment may share one intrinsic flood response across solar and wind. Component presence, local exposure, owner, value, instance, capability, and release remain cell-local. No numeric response is approved in this scaffold.
semantic model | model v0.1
documentation | docs r1
canonical_runtime_artifact | FALSE
curve_records | 0 | Deep-curation priority
runtime reason | NO_RUNTIME_CURVE | 1 | GSU switchgear + protection/control/DC inventory and cost endpoint
pathway | flood_inundation_contact | 2 | Main transformer versus auxiliaries/controls dependency-safe split
axis method | h_i=max(0,WSE-z_i_crit) | 3 | Turbine-base and pad/turbine step-up equipment
|  | 4 | Wind MV collection terminations, joints, pull boxes, and pathways
Reference value row | 2023 USD/kW | 5 | Civil/access/drainage and foundation scour as separate pathways
Elevated turbine equipment | 1090 | 6 | Elevated turbine equipment only where a real water path exists
Foundation | 120
Mixed civil | 47
Mixed external electrical | 72
Support allocated once | 294
Physical reference total | 1623
Excluded soft/sunk/nonphysical | 345
Installed reference total | 1968
Audit-only workbook: runtime truth is the JSON artifact. Candidate ordinates and legacy formulas below must not populate a damage emit or serve as fallback.

## Seven_Steps
Seven-step audit
The physical and economic chain must close before a curve can ship.
Step | Question | Current result | Gate | Next evidence
1 | Define asset | Wind facility + zero/one associated facility GSU | PASS scaffold | Site inventory and demarcation
2 | Decompose what fails | 14 governed physical/support subjects | PARTIAL | OEM/SOV same-unit anatomy
3 | Define ordinate | Same-unit direct repair/replacement cost ratio | DEFINITION PASS | Economic endpoint calibration
4 | Split source value rows | 72 USD/kW electrical rollup remains mixed | BLOCKED | Component split
5 | Allocate physical value | Ownership, count, SOV/BOM required | BLOCKED | Site agreement + value schedule
6 | Specify site adapter | Local component-datum depth; no missing-to-dry | METHOD PASS | Observed local fields
7 | Apply curves or withhold | No candidate passes all gates | WITHHOLD | Reviewed output-bearing record

## Shared_Substrate
Shared flood-electrical substrate crosswalk
Definition, axis, and evidence reuse are separate from numeric runtime approval.
shared_failure_unit_id | flood_wind_failure_unit_id | flood_solar_source_record | source_pin | source_artifact_sha256 | reuse_definition | reuse_axis | reuse_evidence | reuse_numeric_candidate | current_decision | runtime_approved | compatibility_blocker
FE_SUBSTATION_SWITCHGEAR | FW_GSU_SWITCHGEAR | FS_SWG | flood_solar@model_v1_0__docs_r4 | a08e77ef034e1ecea3e7cd05d13c825921b54d610fca9de8651ebda8e857082d | TRUE | TRUE | TRUE | TRUE | pinned_candidate_only | FALSE | exact switchgear population/selectors and economic validation
FE_GSU_TRANSFORMER_MAIN | FW_GSU_TRANSFORMER_MAIN | FS_XFMR | flood_solar@model_v1_0__docs_r4 | a08e77ef034e1ecea3e7cd05d13c825921b54d610fca9de8651ebda8e857082d | TRUE | TRUE | TRUE | FALSE | reject_direct_numeric_reuse | FALSE | main-transformer denominator is mixed with control/terminal datum
FE_GSU_TRANSFORMER_AUX_CONTROLS | FW_GSU_TRANSFORMER_AUX_CONTROLS | FS_XFMR_PARTIAL | flood_solar@model_v1_0__docs_r4 | a08e77ef034e1ecea3e7cd05d13c825921b54d610fca9de8651ebda8e857082d | TRUE | TRUE | TRUE | FALSE | decomposition_required | FALSE | auxiliary/control inventory value and disposition not separated
FE_PROTECTION_SCADA_CONTROL | FW_GSU_PROTECTION_SCADA | FS_SCADA_PARTIAL | flood_solar@model_v1_0__docs_r4 | a08e77ef034e1ecea3e7cd05d13c825921b54d610fca9de8651ebda8e857082d | TRUE | TRUE | TRUE | FALSE | partial_semantic_match | FALSE | plant monitoring versus protection relay control and communications
FE_STATION_SERVICE_DC | FW_GSU_STATION_SERVICE_DC | NONE | flood_solar@model_v1_0__docs_r4 | a08e77ef034e1ecea3e7cd05d13c825921b54d610fca9de8651ebda8e857082d | TRUE | TRUE | TRUE | FALSE | new_common_concept | FALSE | no solar record and no same-unit cost response
FE_CABLE_TERMINATIONS | FW_GSU_CABLE_TERMINATIONS | FS_CABLE_PARTIAL | flood_solar@model_v1_0__docs_r4 | a08e77ef034e1ecea3e7cd05d13c825921b54d610fca9de8651ebda8e857082d | TRUE | FALSE | TRUE | FALSE | mechanism_only | FALSE | axis construction and cable/termination value subjects unresolved

## Failure_Units
Flood-wind failure-unit plan
Withheld is not DR = 0. Support rows are allocation subjects, not independent curves.
failure_unit_id | subsystem | component | pathway | coverage_role | treatment | ordinate_status | exposure_grain | main_blocker | shared_failure_unit_id
FW_GSU_SWITCHGEAR | FACILITY_GSU_SUBSTATION | SWITCHGEAR | flood_inundation_contact | primary_candidate | pinned_neighbor_candidate_no_curve | withheld | facility_component_point_or_polygon | equipment applicability and same-unit economic validation | FE_SUBSTATION_SWITCHGEAR
FW_GSU_TRANSFORMER_MAIN | FACILITY_GSU_SUBSTATION | PLANT_GSU_MAIN_TRANSFORMER | flood_inundation_contact | primary_candidate | dependency_safe_state_model_required_no_curve | withheld | facility_component_point_or_polygon | main versus auxiliary exposure disposition and value split | FE_GSU_TRANSFORMER_MAIN
FW_GSU_TRANSFORMER_AUX_CONTROLS | FACILITY_GSU_SUBSTATION | TRANSFORMER_AUXILIARIES_AND_CONTROLS | flood_inundation_contact | primary_candidate | decomposition_required_no_curve | withheld | facility_component_or_dependency_safe_assembly | inventory disposition and same-unit value | FE_GSU_TRANSFORMER_AUX_CONTROLS
FW_GSU_PROTECTION_SCADA | FACILITY_GSU_SUBSTATION | PROTECTION_RELAY_CONTROL_SCADA_COMMUNICATIONS | flood_inundation_contact | primary_candidate | partial_neighbor_match_no_curve | withheld | control_room_cabinet_or_dependency_safe_assembly | equipment crosswalk and direct cost endpoint | FE_PROTECTION_SCADA_CONTROL
FW_GSU_STATION_SERVICE_DC | FACILITY_GSU_SUBSTATION | STATION_SERVICE_AND_DC_POWER | flood_inundation_contact | primary_candidate | new_common_concept_no_curve | withheld | station_service_or_dc_component | same-unit flood disposition and value | FE_STATION_SERVICE_DC
FW_GSU_CABLE_TERMINATIONS | FACILITY_GSU_SUBSTATION | CABLE_TERMINATIONS_PULL_BOXES_AND_WATER_PATHS | flood_inundation_contact | secondary_candidate | mechanism_only_neighbor_no_curve | withheld | termination_point_or_pathway_segment | construction disposition and value subject | FE_CABLE_TERMINATIONS
FW_TURBINE_BASE_ELECTRICAL | REPEATED_TURBINE_ELECTRICAL | BASE_CABINET_CONVERTER_SWITCHGEAR_OR_CONTROL | flood_inundation_contact | primary_candidate | wind_specific_inventory_required_no_curve | withheld | per_turbine_or_verified_cluster_point | equipment inventory local datum disposition and value
FW_PADMOUNT_STEPUP_TRANSFORMER | REPEATED_TURBINE_ELECTRICAL | PAD_OR_TURBINE_STEPUP_TRANSFORMER | flood_inundation_contact | primary_candidate | wind_specific_inventory_required_no_curve | withheld | per_transformer_or_verified_cluster_point | construction count ownership disposition and value
FW_COLLECTION_CABLE_TERMINATIONS | PLANT_COLLECTION | MV_CABLE_JOINT_TERMINATION_PULL_BOX_OR_CONDUIT_PATH | flood_inundation_contact | secondary_candidate | network_decomposition_required_no_curve | withheld | point_and_line_network | segment construction exposure disposition and value
FW_TURBINE_FOUNDATION | FOUNDATION | TURBINE_FOUNDATION_AND_SUPPORTING_SOIL | flood_scour_erosion | out_of_primary_pathway | separate_pathway_required_no_curve | withheld | per_turbine_hydraulic_geotechnical_point | separate hydraulic geotechnical response
FW_CIVIL_ACCESS_DRAINAGE | PLANT_CIVIL | ROADS_PADS_DRAINAGE_BUILDINGS_AND_FENCES_MIXED | flood_scour_erosion | out_of_primary_pathway | split_and_separate_pathway_required_no_curve | withheld | line_network_and_polygon_split | mixed subjects values and mechanisms
FW_ELEVATED_TURBINE_EQUIPMENT | REPEATED_TURBINE | ELEVATED_ROTOR_NACELLE_AND_TOWER_EQUIPMENT | flood_inundation_contact | geometry_screened | withheld_not_universal_zero | withheld | per_turbine | site-specific water path and vulnerable elevation
SUPPORT_FIELDWORK | SUPPORT | ASSEMBLY_AND_INSTALLATION | all_shared | support_once | post_disposition_allocation_no_curve | not_applicable | post_damage_repair_scope | claims-backed allocation rule
SUPPORT_TRANSPORT_LOGISTICS | SUPPORT | WIND_TURBINE_TRANSPORT_AND_LOGISTICS | all_shared | support_once | post_disposition_allocation_no_curve | not_applicable | post_damage_replacement_scope | distance crane access and replacement rule

## Exposure_Value
Exposure and value assembly
Illustrative class-template calculations only; local depth does not authorize a damage ratio.
case_id | provenance | failure_unit_id | WSE_m | component_zcrit_m | WSE_datum | component_datum | derived_local_depth_m | same_unit_value_USD | exposure_fraction | at_risk_value_USD
ILLUSTRATIVE_SHALLOW_SWITCHGEAR | class_template | FW_GSU_SWITCHGEAR | 101.2 | 101 | NAVD88 | NAVD88 | 0.2 | 500000 | 100% | 500000
ILLUSTRATIVE_ELEVATED_EQUIPMENT | class_template | FW_ELEVATED_TURBINE_EQUIPMENT | 101.2 | 120 | NAVD88 | NAVD88 | 0 | 1000000 | 100% | 1000000
ILLUSTRATIVE_DATUM_MISMATCH | class_template | FW_GSU_SWITCHGEAR | 101.2 | 101 | NAVD88 | LOCAL_GRADE |  | 500000 | 100% | 500000
MISSING_COMPONENT_DATUM | unknown | FW_GSU_SWITCHGEAR | 101.2 |  | NAVD88 | NAVD88 |  | 500000 | 100% | 500000

## Value_Crosswalk
Row-level value crosswalk
Reference values reconcile the archetype; blank site values are intentional promotion blockers.
value_source_id | source_location | row_or_bucket_id | row_or_bucket_label | value | unit | financial_class | failure_unit_id | applicable_pathway_ids | role_in_loss | include_in_direct_denominator | allocation_rule | double_count_guardrail | status | notes
NREL_CWER_2024 | docs/method/value_basis/solar_wind_value_breakdown.xlsx::Wind_Map!12 | WIND_VALUE_012_ELECTRICAL | Electrical infrastructure | 72 | 2023_USD_per_kW | mixed_direct_hardware | FW_ELECTRICAL_ROLLUP_UNSPLIT | flood_inundation_contact | split_required | FALSE | Split among turbine-base/pad/collection/substation components using site/OEM schedule before loss. | Do not add 9% electrical plus 9% substation or repeat one GSU per turbine. | withheld_split_required | Reference rollup only.
NREL_CWER_2024 | Wind_Map!12 | FW_VALUE_GSU_SWITCHGEAR | Substation switchgear |  | site_USD_required | direct_hardware | FW_GSU_SWITCHGEAR | flood_inundation_contact | direct_vulnerable_value | FALSE | Site component value and ownership required. | Do not apply DR to full 72 USD/kW rollup or project TIV. | withheld_value_and_ownership | No public split.
NREL_CWER_2024 | Wind_Map!12 | FW_VALUE_GSU_TRANSFORMER_MAIN | Plant GSU main transformer |  | site_USD_required | direct_hardware | FW_GSU_TRANSFORMER_MAIN | flood_inundation_contact | direct_vulnerable_value | FALSE | Site component value and ownership required. | Do not use control exposure against full transformer value without dependency-safe state. | withheld_value_and_ownership | No public split.
NREL_CWER_2024 | Wind_Map!12 | FW_VALUE_GSU_TRANSFORMER_AUX | GSU auxiliaries and controls |  | site_USD_required | direct_hardware | FW_GSU_TRANSFORMER_AUX_CONTROLS | flood_inundation_contact | direct_vulnerable_value | FALSE | Separate SOV/BOM or dependency-safe assembly. | Do not duplicate value inside main transformer and auxiliaries. | withheld_value_and_ownership | No public split.
NREL_CWER_2024 | Wind_Map!12 | FW_VALUE_GSU_PROTECTION | Protection SCADA and control |  | site_USD_required | direct_hardware | FW_GSU_PROTECTION_SCADA | flood_inundation_contact | direct_vulnerable_value | FALSE | Separate physical equipment value from outage consequence. | Do not convert MW outage to value or add plant BI. | withheld_value_and_ownership | No public split.
NREL_CWER_2024 | Wind_Map!12 | FW_VALUE_GSU_STATION_DC | Station service and DC power |  | site_USD_required | direct_hardware | FW_GSU_STATION_SERVICE_DC | flood_inundation_contact | direct_vulnerable_value | FALSE | Site equipment schedule required. | Do not include twice through protection/control value. | withheld_value_and_ownership | No public split.
NREL_CWER_2024 | Wind_Map!12 | FW_VALUE_GSU_TERMINATIONS | GSU cable terminations and pathways |  | site_USD_required | direct_hardware | FW_GSU_CABLE_TERMINATIONS | flood_inundation_contact | direct_vulnerable_value | FALSE | Separate cable body joints terminations pull boxes and conduits. | Do not apply a full cable-rollup DR to pathway damage. | withheld_value_and_ownership | No public split.
NREL_CWER_2024 | Wind_Map!12 | FW_VALUE_TURBINE_BASE | Turbine-base power electronics and switchgear |  | site_USD_required | direct_hardware | FW_TURBINE_BASE_ELECTRICAL | flood_inundation_contact | direct_vulnerable_value | FALSE | Split per turbine/cluster and use local equipment value. | Do not use solar inverter value or full electrical rollup. | withheld_split_required | Wind-specific inventory.
NREL_CWER_2024 | Wind_Map!12 | FW_VALUE_PAD_TRANSFORMER | Pad or turbine step-up transformer |  | site_USD_required | direct_hardware | FW_PADMOUNT_STEPUP_TRANSFORMER | flood_inundation_contact | direct_vulnerable_value | FALSE | Split by installed units and ownership. | Do not include inside turbine equipment and external electrical twice. | withheld_split_required | Wind-specific inventory.
NREL_CWER_2024 | Wind_Map!12 | FW_VALUE_COLLECTION_TERMINATIONS | Wind MV collection cable terminations |  | site_USD_required | direct_hardware | FW_COLLECTION_CABLE_TERMINATIONS | flood_inundation_contact | direct_vulnerable_value | FALSE | Segment/termination schedule and line-network exposure required. | Do not allocate by turbine count alone. | withheld_split_required | Wind-specific inventory.
NREL_CWER_2024 | Wind_Map!10 | WIND_VALUE_010_FOUNDATION | Foundation | 120 | 2023_USD_per_kW | direct_hardware | FW_TURBINE_FOUNDATION | flood_scour_erosion | withheld_separate_pathway | FALSE | Site foundation type/value and hydraulic/geotech response required. | Do not use legacy depth logistic or treat missing response as zero. | withheld | Reference value only.
NREL_CWER_2024 | Wind_Map!11 | WIND_VALUE_011_CIVIL | Site access staging and facilities | 47 | 2023_USD_per_kW | mixed_civil | FW_CIVIL_ACCESS_DRAINAGE | flood_scour_erosion | split_required | FALSE | Split roads pads drainage buildings and fences before exposure/value. | Do not apply one civil depth curve to the mixed row. | withheld | Reference value only.
NREL_CWER_2024 | Wind_Map!2:9 | WT_ELEVATED_EQUIPMENT_TOTAL | Elevated turbine equipment | 1090 | 2023_USD_per_kW | direct_hardware | FW_ELEVATED_TURBINE_EQUIPMENT | flood_inundation_contact | reconciliation_geometry_screen | FALSE | Include only if water reaches a documented vulnerable path/component; otherwise geometry-screened. | Do not declare universal immunity or use the share as a DR cap. | withheld_geometry_dependent | Rotor nacelle tower/equipment reference rollup.
NREL_CWER_2024 | Wind_Map!13 | WIND_VALUE_013_FIELDWORK | Assembly and installation | 100 | 2023_USD_per_kW | support_logistics | SUPPORT_FIELDWORK | all_shared | support_once | FALSE | Allocate once after qualified repair scope. | No independent fragility or automatic proportional add-on. | mapped_support_rule_open | Reference only.
NREL_CWER_2024 | Wind_Map!14 | WIND_VALUE_014_TRANSPORT | Wind turbine transport | 194 | 2023_USD_per_kW | support_logistics | SUPPORT_TRANSPORT_LOGISTICS | all_shared | support_once | FALSE | Allocate once when replacement and logistics require it. | Do not include in intrinsic DR denominator and add again. | mapped_support_rule_open | Reference only.
SUMMARY | Wind_Map!2:14 | PHYSICAL_REFERENCE_TOTAL | Physical reference basis | 1623 | 2023_USD_per_kW | reconciliation | REFERENCE_DENOMINATOR_ONLY | all_shared | reference | FALSE | 1090 equipment + 120 foundation + 47 civil + 72 electrical + 294 support. | No pooled physical-base DR. | reconciled | Reference reporting denominator only.
SUMMARY | Wind_Map!15:19 | EXCLUDED_TOTAL | Excluded soft sunk nonphysical | 345 | 2023_USD_per_kW | reconciliation | OUTSIDE_PHYSICAL_CELL | all_shared | excluded | FALSE | Exclude from direct physical destruction by default. | Do not reintroduce through damage or support scaling. | reconciled | Installed minus physical.
SUMMARY | Wind_Map!2:19 | INSTALLED_REFERENCE_TOTAL | Installed reference basis | 1968 | 2023_USD_per_kW | reconciliation | REFERENCE_REPORTING_DENOMINATOR | all_shared | reference | FALSE | Reference reporting denominator only. | No implicit full-TIV curve or scenario loss. | reconciled | Physical 1623 plus excluded 345.

## Candidate_Audit
Pinned neighboring-cell numerical candidates
Exact flood-solar ordinates are shown for reproducibility; runtime_approved is false for every candidate.
depth_m | FS_SWG_DR | Δ SWG | FS_XFMR_DR | Δ XFMR | FS_SCADA_DR | Δ SCADA | FS_CABLE_DR | Δ CABLE | candidate | decision | runtime_approved
0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | FS_SWG | pinned_candidate_only | FALSE
0.02 | 0.1 | 0.1 | 0.03 | 0.03 | 0.15 | 0.15 | 0.02 | 0.02 | FS_XFMR | reject_direct_reuse | FALSE
0.05 | 0.4 | 0.3 | 0.1 | 0.07 | 0.45 | 0.3 | 0.05 | 0.03 | FS_SCADA | partial_semantic_match | FALSE
0.15 | 0.85 | 0.45 | 0.25 | 0.15 | 0.9 | 0.45 | 0.1 | 0.05 | FS_CABLE | mechanism_only | FALSE
0.3 | 1 | 0.15 | 0.45 | 0.2 | 1 | 0.1 | 0.15 | 0.05
0.6 | 1 | 0 | 0.65 | 0.2 | 1 | 0 | 0.25 | 0.1
1 | 1 | 0 | 0.8 | 0.15 | 1 | 0 | 0.4 | 0.15
1.5 | 1 | 0 | 0.95 | 0.15 | 1 | 0 | 0.55 | 0.15
2 | 1 | 0 | 1 | 0.05 | 1 | 0 | 0.65 | 0.1
Negative increments | 0
Runtime-approved candidates | 0
Pinned source SHA-256 | a08e77ef034e1ecea3e7cd05d13c825921b54d610fca9de8651ebda8e857082d

## Legacy_Audit
Hazard legacy flood/wind characterization
Regression fixtures only. The anchored logistic subtracts raw(0) without renormalizing.
bucket | L stated | k | x0_ft | project_share | raw_at_zero | actual_asymptote | max_TIV_contribution | runtime decision
electrical | 0.9 | 3 | 0.75 | 0.09 | 0.085815 | 0.81419 | 0.073277 | reject_regression_only
substation | 0.95 | 2.5 | 1.5 | 0.09 | 0.021829 | 0.92817 | 0.083535 | reject_regression_only
civil | 0.7 | 1.2 | 2 | 0.07 | 0.058221 | 0.64178 | 0.044925 | reject_regression_only
foundation | 0.4 | 0.8 | 3 | 0.12 | 0.033269 | 0.36673 | 0.044008 | reject_regression_only
Combined maximum TIV contribution | [6 empty] | 0.24574
Electrical + substation maximum TIV contribution | [6 empty] | 0.15681
Frozen pins: Hazard commit d876ef7190ef6baf7339cb32cb95a77bde89af4d; M3 SHA b45fba70544d348638be4f3ad6af65193a272bbe2b4b25098128fa8b810a159e; M4 SHA 7f91344b4495a2899be6475350728dd8d5f114052270f6221e2c4c7b82f7adfa.

## Site_Adapter
Site-condition adapter contract
Separate identity, exposure, fixed selectors, event conditioners, ownership, and value.
Layer | Required field or group | Role | Missing/invalid behavior | Numeric effect in v0.1
identity | event_id; event_family_id; pathway_id; source_peril_id | occurrence and routing | reject | none
component identity | asset_id; component_instance_id; failure_unit_id | same-unit subject | reject aggregate/placeholder | none
exposure | WSE; component zcrit; shared vertical datum; geometry | derive local contact depth | withhold, not dry | axis only
fixed selectors | construction; voltage; enclosure; transformer/cable type | future response compatibility | preserve unknown | none
event conditioners | duration; water quality; energized/isolation; water path | future state selection/modification | no favorable default | none
ownership | owner; project_owned; insured inclusion | baseline project value boundary | withhold baseline loss | none
value | same-unit replacement value; quantity; exposure fraction | future physical loss | withhold scenario loss | none
support | fieldwork/transport allocation rule | add once after disposition | do not allocate | none
neighbor pathway | scour/erosion; debris; wave loading | separate mechanism | reject/no fallback | none

## Claim_Register
Claim and parameter register
Every load-bearing inference carries sources, exact limits, and an update trigger.
claim_id | pathway_id | claim_text | claim_type | source_ids | exact_locator | evidence_tier | parameter_or_rule | adoption_status | permitted_inference | prohibited_inference | reasoning | update_trigger
FW-C001 | all_shared | Typical wind and solar generation facilities can use the same facility-level Plant GSU role and collection-bus-to-interconnection architecture. | direct_observation | FW-S001 | pp. 2-3 | T2_public_lab_standard_or_physics | shared_asset_anatomy | adopt | Define asset-neutral GSU/substation component concepts. | Assume identical site configuration ownership value or vulnerability. | FERC describes both technology configurations explicitly. | FERC configuration guidance or class scope changes.
FW-C002 | flood_inundation_contact | The intrinsic flood axis is local water depth above the component vulnerable datum: h_i=max(0,WSE-z_i_crit). | engineering_inference | FW-S005;FW-S006;FW-S007;FW-S010 | elevation/critical-depth method and canonical flood_solar axis | T2_public_lab_standard_or_physics | axis_transform | adopt | Use when WSE and component datum share a vertical reference. | Use grade depth without a component transform or mix datums. | Flood contact begins at the vulnerable component elevation rather than at a universal site grade. | A stronger equipment-specific demand measure is validated.
FW-C003 | flood_inundation_contact | Asset label solar versus wind is not an intrinsic selector for materially identical equipment and delivered exposure. | governance_decision | FW-S001;GOVERNANCE_CONTRACT;SHARED_SUBSTRATE | method standard 20 compatibility key | T4_placeholder_or_expert_judgment | curve_selection_rule | adopt | Share a response after exact compatibility passes. | Ignore equipment construction selectors or copy exposure/value. | The physical component sees water and its own state not the upstream generation label. | Evidence shows technology context changes intrinsic response after controls.
FW-C004 | flood_inundation_contact | Switchgear main transformer auxiliaries controls station service and terminations require separate failure-unit identities. | source_interpretation | FW-S002;FW-S003;FW-S004;SHARED_SUBSTRATE | equipment categories and case endpoints | T3_engineering_proxy_or_adjacent_empirical | failure_unit_decomposition | adopt | Build separate subjects/datums/values or a dependency-safe assembly. | Apply one aggregated substation DR to all value. | Sources describe different equipment functions and disposition paths. | Claims/OEM data prove a same-replacement-unit assembly.
FW-C005 | flood_inundation_contact | NERC shallow relay-room flooding demonstrates operational sensitivity but does not calibrate physical DR. | direct_observation | FW-S003 | approximately 8 inches and 495 MW operational consequence | T3_engineering_proxy_or_adjacent_empirical | endpoint_boundary | adopt_with_limits | Prioritize controls/protection curation and route outage downstream. | Use MW removed from service as repair-cost ratio. | The source reports operations and unavailable equipment rather than same-unit cost. | A source publishes component disposition and cost for the event.
FW-C006 | flood_inundation_contact | FS_SWG is the strongest pinned common numerical candidate but remains T3 and audit-only for flood_wind. | governance_decision | FW-S010 | FS_SWG and parameter tier table | T3_engineering_proxy_or_adjacent_empirical | FS_SWG_candidate | withhold | Retain exact source pin/ordinates for future review. | Populate a flood_wind emit or call it claims-calibrated. | Definition/axis align, but numeric transfer and KATs are not approved. | Exact equipment applicability and economic validation pass.
FW-C007 | flood_inundation_contact | FS_XFMR cannot transfer directly because its datum/control semantics and main-transformer value denominator are mixed. | source_interpretation | FW-S010 | FS_XFMR record plus dossier/metadata wording | T3_engineering_proxy_or_adjacent_empirical | FS_XFMR_candidate | reject_direct_reuse | Use as a decomposition prompt only. | Apply control-water depth to full main-transformer value. | Same-unit denominator and exposed vulnerable parts are not aligned. | A dependency-safe transformer state/cost model is validated.
FW-C008 | flood_inundation_contact | FS_SCADA and FS_CABLE are partial concept/mechanism matches only. | source_interpretation | FW-S007;FW-S010 | FS_SCADA and FS_CABLE semantics | T3_engineering_proxy_or_adjacent_empirical | neighbor_candidate_reuse | withhold | Crosswalk equipment and pathways. | Equate plant SCADA with protection/control or solar AC/DC cable with wind MV inventory. | The existing records aggregate different subjects. | Qualified equipment and value crosswalks pass.
FW-C009 | all_shared | The CWER wind electrical value is one mixed 72 2023 USD/kW bucket and does not support a standalone 9% substation allocation. | source_interpretation | FW-S008 | land-based reference breakdown and local Wind_Map row 12 | T2_public_lab_standard_or_physics | value_rollup | adopt_with_limits | Preserve the 72 USD/kW reconciliation row and require a component split. | Use 9% GSU plus 9% electrical or treat the row as a site appraisal. | The source ledger does not split collection and substation. | Site/OEM/insured schedule supplies component values.
FW-C010 | all_shared | Functional association or mapped generation-substation role does not prove project ownership or insured inclusion. | governance_decision | FW-S009;LEG-FW-001;GOVERNANCE_CONTRACT | LGIA demarcation definitions and Hazard ownership audit | T3_engineering_proxy_or_adjacent_empirical | ownership_value_rule | adopt | Withhold baseline project physical loss and permit labeled dependency/sensitivity treatment. | Price unknown or utility-owned POI equipment as project value. | Ownership and demarcation are agreement/site specific. | Executed agreement one-line and value schedule resolve the boundary.
FW-C011 | flood_inundation_contact | Riverine pluvial and coastal sources may share a contact response only for the same delivered exposure and conditioner vector. | governance_decision | FW-S002;FW-S005;GOVERNANCE_CONTRACT | pathway and binding rules | T3_engineering_proxy_or_adjacent_empirical | source_peril_routing | adopt | Preserve source provenance event identity duration water quality and local depth. | Treat equal grade depth as equal damage under salinity debris velocity or duration differences. | Source label alone is not mechanism equivalence. | Validated source-specific variants or equivalence tests pass.
FW-C012 | flood_scour_erosion | Scour erosion and saturated-soil support loss are separate from direct inundation contact. | governance_decision | FW-S005;GOVERNANCE_CONTRACT | method standard 18 and discussion boundary | T4_placeholder_or_expert_judgment | pathway_split | adopt | Defer to hydraulic/geotechnical pathway. | Use cabinet-depth curves or the legacy foundation logistic. | Axes mechanisms and site dependence differ. | Qualified scour pathway is released.
FW-C013 | flood_inundation_contact | The legacy M3 anchored logistics are regression fixtures and contain a non-renormalized asymptote discrepancy. | direct_observation | LEG-FW-001 | dr() and hardcoded CAPEX/curves | T4_placeholder_or_expert_judgment | legacy_curve | reject | Reproduce old characterization values only. | Use L as actual asymptote x0 as emitted midpoint or accept the 0.37 ceiling as curve saturation. | Subtracting raw(0) anchors but does not renormalize. | Legacy code is retired after pinned migration.
FW-C014 | flood_inundation_contact | Replacing Hazard M3 alone does not remove the M4 coastal hardcoded bypass. | direct_observation | LEG-FW-002 | CAPEX7 and SURGE_CURVE reconstruction | T4_placeholder_or_expert_judgment | consumer_migration_scope | adopt | Require one pinned loader for M3 and coastal M4. | Declare migration complete after M3-only replacement. | M4 independently reconstructs the provisional response. | Consumer dual-read and bypass KAT pass.
FW-C015 | flood_inundation_contact | Missing ground/elevation data and synthetic centroid fallback cannot become dry or a priced substation. | governance_decision | LEG-FW-001;GOVERNANCE_CONTRACT | legacy audit and missing-state rules | T4_placeholder_or_expert_judgment | missing_exposure_policy | adopt | Preserve missing/placeholder state and withhold. | Convert invalid elevation to zero depth or price a centroid as a 9% GSU. | Unknown exposure and absent physical identity are not observations. | Observed component identity geometry and datum become available.
FW-C016 | all_shared | Support fieldwork and transport are allocated once after direct damaged units and disposition are known. | governance_decision | FW-S008;GOVERNANCE_CONTRACT | Wind_Map rows 13-14 and value standard | T4_placeholder_or_expert_judgment | support_once_rule | adopt_with_limits | Preserve 294 USD/kW reference reconciliation and require explicit allocation. | Give support an independent flood curve or add it twice. | Support is repair-scope dependent not vulnerable hardware. | Claims-backed support allocation is approved.
FW-C017 | flood_inundation_contact | No bounded public evidence chain was found from representative component-local flood state to inspected disposition and same-unit direct cost. | governance_decision | FW-S002;FW-S003;FW-S004;BOUNDED_SEARCH_LOG | bounded endpoint review | T3_engineering_proxy_or_adjacent_empirical | runtime_curve_gate | withhold | Support the recorded NO_RUNTIME_CURVE decision. | Claim universal absence or ignore private/OEM/claims evidence. | Available sources stop at mechanism case operations method or engineered proxies. | Matched evidence or governed structured elicitation closes the chain.
FW-C018 | flood_inundation_contact | All numeric damage and loss outputs are withheld in model v0.1. | governance_decision | GOVERNANCE_CONTRACT | decision D-FW-08 and capability declaration | T4_placeholder_or_expert_judgment | capability | withhold | Return null with NO_RUNTIME_CURVE. | Return zero or a solar/legacy fallback. | No numeric record passed promotion gates. | Reviewed model v1.0 behavior change.

## Source_Register
Source register
URLs are plain text for auditability; permitted and prohibited inferences are explicit.
source_id | citation | url | accessed_on | exact_locator | source_type | source_role | pathway_ids | evidence_tier | target_asset_match | target_failure_unit_match | measured_or_modeled_endpoint | permitted_inference | prohibited_inference | decision | status | notes
FW-S001 | Federal Energy Regulatory Commission, Order on accounting for renewable generating assets, 174 FERC 61,033 (2021). | https://www.ferc.gov/sites/default/files/2021-01/E-7-011921.pdf | 2026-07-28 | pp. 2-3, wind items a-e and solar items a-g | government order | asset_anatomy | all_shared | T2_public_lab_standard_or_physics | direct | direct | typical wind and solar collection buses and high-voltage Plant GSU configuration | Define common Plant-GSU/substation anatomy across solar and wind. | Infer flood vulnerability, component value, ownership, quantity, or a universal site configuration. | adopt_with_limits | reviewed | Both technologies use a facility-substation collection bus and Plant GSU; upstream equipment remains technology-specific.
FW-S002 | National Electrical Manufacturers Association, NEMA GD 1-2016, Evaluating Water-Damaged Electrical Equipment. | https://www.nema.org/docs/default-source/secure-document-library/nema-gd-1-2016-evaluating-water-damaged-electrical-equipment-guide.pdf | 2026-07-28 | sections 4.3 Power Equipment and 4.4 Transformers | industry standard | mechanism_and_disposition | flood_inundation_contact | T2_public_lab_standard_or_physics | direct | direct | water-exposed switchgear/power equipment and transformer evaluation reconditioning replacement considerations | Separate equipment families and post-water disposition logic. | Derive continuous depth-DR ordinates or override OEM/manufacturer guidance. | adopt_with_limits | reviewed | Supports category-specific response; not a curve.
FW-S003 | North American Electric Reliability Corporation, Substation Flooding Events Highlight Potential Design Deficiencies (2022). | https://www.nerc.com/pa/rrm/ea/Lessons%20Learned%20Document%20Library/LL20220404_Substation_Flooding_Events_Highlight_Potential_Design_Deficiencies.pdf | 2026-07-28 | p. 1, approximately 8 inches at 250 VDC control connections and resulting operations | industry reliability lesson | case_study_severity | flood_inundation_contact | T3_engineering_proxy_or_adjacent_empirical | direct | direct | one relay-room flood case causing false breaker operations and removal of two circuits and six generating units | Confirm shallow control/protection inundation can be operationally material and motivate separate control/DC units. | Treat 495 MW removed from service as direct physical DR or repair cost. | adopt_with_limits | reviewed | Operational consequence is downstream; no same-unit cost endpoint.
FW-S004 | North American Electric Reliability Corporation, Severe Flooding Damages Transformer Substations (2015). | https://www.nerc.com/pa/rrm/ea/Lessons%20Learned%20Document%20Library/LL20150402_Severe_Flooding_Damages_Transformer_Substations_final.pdf | 2026-07-28 | problem statement, details, and corrective actions | industry reliability lesson | case_study_severity | flood_inundation_contact | T3_engineering_proxy_or_adjacent_empirical | adjacent | direct | telecommunication protection and station-service damage and circuit unavailability at two substations | Support component decomposition and water-path/elevation fields. | Fit an economic damage curve or infer renewable-project ownership/value. | adopt_with_limits | reviewed | Transmission-station case; mechanism transfer only.
FW-S005 | Federal Emergency Management Agency, FEMA P-348, Protecting Building Utility Systems From Flood Damage, 2nd ed. (2017). | https://www.fema.gov/sites/default/files/2020-07/fema_p-348_protecting_building_utility_systems_from_flood_damage_2017.pdf | 2026-07-28 | section 5.2, electrical-system flood risk and mitigation | government guidance | axis_and_exposure | flood_inundation_contact | T2_public_lab_standard_or_physics | adjacent | direct | elevation/relocation/protection of transformers switchboards panels and feeders | Support local vulnerable datum and equipment-elevation fields. | Provide wind-farm ordinates or replacement percentages. | adopt_with_limits | reviewed | Building-utility setting; used for method, not calibration.
FW-S006 | U.S. Army Corps of Engineers, HEC-FIA Technical Reference, Depth-Percent Damage Relationships. | https://www.hec.usace.army.mil/confluence/fiadocs/fiatechref/latest/direct-damage/depth-percent-damage-relationships-direct-damage | 2026-07-28 | direct damage, depth-percent relationship and linear interpolation | government technical reference | curve_form | flood_inundation_contact | T2_public_lab_standard_or_physics | adjacent | none | tabular depth-percent relationship and interpolation method | Support transparent piecewise/tabular curve form and critical-elevation semantics. | Supply electrical-component ordinates. | adopt_with_limits | reviewed | Form precedent only.
FW-S007 | U.S. Department of Energy FEMP, Preventing and Mitigating Flood Damage to Solar Photovoltaic Systems. | https://www.energy.gov/cmei/femp/preventing-and-mitigating-flood-damage-solar-photovoltaic-systems | 2026-07-28 | total submersion, equipment elevation, conduit-water pathway, and electrical enclosure sections | government guidance | mechanism_and_exposure | flood_inundation_contact | T2_public_lab_standard_or_physics | adjacent | partial | solar-site observations and guidance for submerged electrical equipment and conduit water transport | Support shared electrical water-path/elevation concepts where equipment matches. | Infer wind-specific values or universal numeric curves. | adopt_with_limits | reviewed | Solar-specific adjacent source; no wind curve.
FW-S008 | Stehly, T.; Duffy, P.; Mulas Hernando, D. Cost of Wind Energy Review: 2024 Edition. NREL/TP-5000-91775. | https://www.nrel.gov/docs/fy25osti/91775.pdf | 2026-07-28 | land-based reference plant capital-cost breakdown | government technical report | exposure_or_value | all_shared | T2_public_lab_standard_or_physics | direct | partial | 2023-USD wind component and balance-of-system reference values | Use the row-level reference ledger and identify the mixed 72 USD/kW electrical bucket. | Infer a 9% substation share, fragility, ownership, or site replacement value. | adopt_with_limits | reviewed | Value archetype only; substation and collection are not split.
FW-S009 | Federal Energy Regulatory Commission, pro forma Large Generator Interconnection Agreement. | https://www.ferc.gov/sites/default/files/2020-04/LGIA.pdf | 2026-07-28 | definitions of Point of Change of Ownership and Point of Interconnection; Appendix A dependency | government contract template | ownership_boundary | all_shared | T2_public_lab_standard_or_physics | direct | partial | contract-defined ownership/interconnection demarcations | Require site agreement/one-line evidence for project versus transmission-owner inclusion. | Assume ownership from physical role or map proximity. | adopt_with_limits | reviewed | Template establishes that demarcation is agreement-specific.
FW-S010 | Canonical Damage Modeling flood_solar artifact, flood_solar@model_v1_0__docs_r4. | docs/cells/flood_solar/current/flood_solar__model_v1_0__docs_r4__curve_artifact.json | 2026-07-28 | FS_SWG, FS_XFMR, FS_SCADA, FS_CABLE; artifact SHA a08e77ef034e1ecea3e7cd05d13c825921b54d610fca9de8651ebda8e857082d | canonical neighboring cell | candidate_curve_and_method | flood_inundation_contact | T3_engineering_proxy_or_adjacent_empirical | adjacent | partial | deterministic T3 electrical depth-damage records and T2 local-datum transform | Reuse axis/method and retain exact ordinates as pinned audit candidates under explicit crosswalk. | Silently copy numerics into flood_wind or call them claims-calibrated asset-neutral curves. | defer_candidate_only | reviewed | Canonical inside flood_solar; not runtime-approved for flood_wind.
LEG-FW-001 | Hazard Modeling flood/wind M3 greenfield consumer implementation. | Hazard_modeling/Notebooks/flood/wind_farm/m3_damage/01_damage.py | 2026-07-28 | lines 65-84, dr(), loss assembly, vendored object | consumer code | rejected | flood_inundation_contact | T4_placeholder_or_expert_judgment | partial | none | four hardcoded anchored logistics and fixed seven-bucket project shares | Freeze formulas and vectors as migration characterization fixtures. | Use as scientific calibration, value basis, governed artifact, or fallback. | reject_runtime_retain_audit | reviewed | Hazard commit d876ef7190ef6baf7339cb32cb95a77bde89af4d; blob 1c50b845064a1f168090bfe3180bf23779375d90; SHA-256 b45fba70544d348638be4f3ad6af65193a272bbe2b4b25098128fa8b810a159e.
LEG-FW-002 | Hazard Modeling flood/wind M4 independent coastal flood reconstruction. | Hazard_modeling/Notebooks/flood/wind_farm/m4_loss_metrics/01_loss_metrics.py | 2026-07-28 | lines 204-245 and output/compound sections | consumer code | rejected | flood_inundation_contact | T4_placeholder_or_expert_judgment | partial | none | re-hardcoded CAPEX7 and SURGE_CURVE with aggregated max-combine logic | Include in future migration/bypass tests. | Assume replacing M3 alone removes local curves or validates compound aggregation. | reject_runtime_retain_audit | reviewed | Hazard commit d876ef7190ef6baf7339cb32cb95a77bde89af4d; blob 11a28fd72557847dd2fe12a48bdc5972d9f58352; SHA-256 7f91344b4495a2899be6475350728dd8d5f114052270f6221e2c4c7b82f7adfa.
GOVERNANCE_CONTRACT | Damage Modeling method, contracts, and damage-curve skill governance. | docs/method/standards/00_index.md | 2026-07-28 | standards 02, 07, 08, 18, 20; versioning and capability contracts; fail-closed workflow | internal governance control | governance_rule | all_shared | T4_placeholder_or_expert_judgment | direct | direct | cell structure provenance compatibility versioning and withholding rules | Control this package and release gates. | Serve as scientific calibration. | adopt | reviewed | Stable internal governance source.
SHARED_SUBSTRATE | Flood-electrical non-runtime shared component substrate v0.1. | docs/method/shared_components/flood_electrical/README.md | 2026-07-28 | catalog and binding rules | internal method reference | component_identity_and_binding | all_shared | T4_placeholder_or_expert_judgment | direct | direct | asset-neutral vocabulary compatibility rules and non-runtime boundary | Bind proposed flood_wind failure units to common concepts. | Populate a curve emit or imply runtime approval. | adopt | reviewed | Governed by method standard 20.
BOUNDED_SEARCH_LOG | Bounded evidence search log for flood_wind model v0.1/docs r1. | docs/cells/flood_wind/proposed/BOUNDED_EVIDENCE_SEARCH_LOG_flood_wind__model_v0_1__docs_r1.md | 2026-07-28 | search surfaces endpoint tests limitations and refresh triggers | governed search record | negative_evidence_boundary | flood_inundation_contact | T3_engineering_proxy_or_adjacent_empirical | direct | direct | bounded result that no public matched depth/state-to-disposition-to-same-unit-cost chain was located | Support NO_RUNTIME_CURVE within the recorded search boundary. | Claim universal absence across private non-English unindexed or later evidence. | adopt_with_limits | reviewed | Negative finding is bounded.

## Parameter_Tiers
Parameter tier table
T2 method/value definitions, T3 candidates, and T4 governance/legacy controls remain distinct.
parameter | pathway_id | curve_id | value | param_role | tier | source_ids | reasoning | status | update_trigger
runtime_curve_count | flood_inundation_contact | none | 0 | capability | T4_placeholder_or_expert_judgment | GOVERNANCE_CONTRACT | No economic DR record passed the audit. | adopt | Reviewed model v1.0 release.
local_depth_formula | flood_inundation_contact | none | h_i=max(0,WSE-z_i_crit) | axis_bridge | T2_public_lab_standard_or_physics | FW-S005;FW-S006;FW-S007;FW-S010 | Component elevation and critical-depth method are source-supported. | adopt | A stronger equipment-specific demand measure is validated.
runtime_axis_valid_range_m | flood_inundation_contact | none | WITHHELD_NO_RUNTIME_CURVE | axis | T3_engineering_proxy_or_adjacent_empirical | GOVERNANCE_CONTRACT | The candidate solar grid spans 0-2 m but flood_wind has no approved response domain. | withhold | A numeric record is qualified.
FS_SWG_candidate_points_m_dr | flood_inundation_contact | FS_SWG_CANDIDATE_ONLY | [[0,0],[0.02,0.10],[0.05,0.40],[0.15,0.85],[0.30,1],[0.60,1],[1,1],[1.5,1],[2,1]] | curve_fit_shape | T3_engineering_proxy_or_adjacent_empirical | FW-S010 | Pinned canonical flood_solar engineering proxy; compatibility and economic validation remain open. | audit_only | Exact switchgear applicability and validation pass.
FS_XFMR_candidate_status | flood_inundation_contact | FS_XFMR_CANDIDATE_ONLY | REJECT_DIRECT_REUSE | curve_fit_shape | T3_engineering_proxy_or_adjacent_empirical | FW-S010 | Main value and control/terminal datum are not dependency-safe. | reject | Transformer main/auxiliary state model passes.
FS_SCADA_candidate_status | flood_inundation_contact | FS_SCADA_CANDIDATE_ONLY | PARTIAL_SEMANTIC_MATCH | curve_fit_shape | T3_engineering_proxy_or_adjacent_empirical | FW-S010 | Plant monitoring does not equal substation protection/control. | audit_only | Equipment crosswalk and cost evidence pass.
FS_CABLE_candidate_status | flood_inundation_contact | FS_CABLE_CANDIDATE_ONLY | MECHANISM_ONLY | curve_fit_shape | T3_engineering_proxy_or_adjacent_empirical | FW-S007;FW-S010 | Wind MV cable/terminations and solar AC/DC rollup differ. | audit_only | Construction-specific disposition/value evidence passes.
reference_external_electrical_value_usd_per_kw | all_shared | none | 72 | value_rollup | T2_public_lab_standard_or_physics | FW-S008 | CWER 2024 mixed collection/substation row. | adopt_with_limits | New value vintage or site split.
reference_foundation_value_usd_per_kw | all_shared | none | 120 | value_rollup | T2_public_lab_standard_or_physics | FW-S008 | CWER 2024 foundation row; no flood DR inferred. | adopt_with_limits | New value vintage or site appraisal.
reference_civil_value_usd_per_kw | all_shared | none | 47 | value_rollup | T2_public_lab_standard_or_physics | FW-S008 | CWER 2024 mixed civil row; split required. | adopt_with_limits | New value vintage or site split.
reference_support_value_usd_per_kw | all_shared | none | 294 | support_rollup | T2_public_lab_standard_or_physics | FW-S008 | Fieldwork 100 plus transport 194; allocate once. | adopt_with_limits | Claims-backed allocation or value vintage.
unknown_ownership_baseline_inclusion | all_shared | none | WITHHOLD | governance_rule | T4_placeholder_or_expert_judgment | FW-S009;GOVERNANCE_CONTRACT | Functional association is not ownership/value proof. | adopt | Executed agreement and value schedule resolve boundary.
missing_component_datum_behavior | flood_inundation_contact | none | WITHHOLD_NOT_DRY | governance_rule | T4_placeholder_or_expert_judgment | GOVERNANCE_CONTRACT | Unknown exposure cannot become zero depth. | adopt | A validated uncertainty/default policy is approved.

## QA_Checks
Workbook QA checks
Formula-driven checks validate structure, reconciliation, candidate isolation, and legacy reproduction.
Check | Actual | Expected | Status
Curve records | 0 | 0 | PASS
Canonical runtime artifact | FALSE | FALSE | PASS
Physical reference USD/kW | 1623 | 1623 | PASS
Installed reference USD/kW | 1968 | 1968 | PASS
Failure-unit row count | 14 | 14 | PASS
Source-register row count | 15 | 15 | PASS
Claim-register row count | 18 | 18 | PASS
Candidate negative increments | 0 | 0 | PASS
Candidate runtime approvals | 0 | 0 | PASS
Shared-crosswalk runtime approvals | 0 | 0 | PASS
Legacy combined maximum TIV | 0.24574 | 0.24574 | PASS
Illustrative local depth m | 0.2 | 0.2 | PASS
Datum mismatch/missing output blanks | 2 | 2 | PASS
Passed checks | 13
Total checks | 13
Overall | PASS