## README
Wind × onshore wind turbine — proposed model v2.0 / docs r1
NONCANONICAL SCREENING PROPOSAL · current model v1.0/docs r4 remains live · no hurricane curve · no annual loss metrics
What this workbook is | What this workbook is | What this workbook is | What this workbook is | What this workbook is | What this workbook is | What this workbook is | What this workbook is | What this workbook is
Item | Governed statement | Reviewer action
Purpose | Human-auditable derivation and QA view for two first-class pathways: straight_line_convective and tornado_direct_hit. | Use the JSON artifact for runtime payloads; use this workbook to trace assumptions, formulas, values, evidence, and comparisons.
Scientific grade | Screening engineering proxy. Straight-line load science is strong but load-to-cost calibration is absent; tornado anchors are field-supported but sparse. | Treat lower/central/upper resistance cases as unweighted epistemic scenarios, never confidence intervals.
Primary loss atom | One repeated turbine-equipment assembly: rotor + pitch + nacelle + power electronics + yaw + tower, denominator 1,090 2023 USD/kW. | Do not apply its damage ratio to foundation, collection/substation, civil, support, installed TIV, or BI.
Canonical status | canonical_runtime_artifact = false; package_release = unreleased; portable v2.5 and current v1 remain unchanged. | Promotion requires contract review, KATs, workbook verification, one pinned Hazard adapter, and corrected Hazard seams.
Workbook navigation | Workbook navigation | Workbook navigation | Workbook navigation | Workbook navigation | Workbook navigation | Workbook navigation | Workbook navigation | Workbook navigation
Sheet | Question answered | Authority
Scope_Pathways | Which mechanisms are in each pathway and which are excluded? | Scope/contract
Inputs | What numbers, scenarios, legacy parameters, and denominator totals drive formulas? | Input spine
Value_Crosswalk | Which source rows belong to which failure unit/value boundary? | Value ledger
State_Consequences | How do ordered states avoid component double counting? | Curve design
SLC_Curve | What does the convective screening envelope return? | Formula-derived
Tornado_Curve | What does the tornado screening envelope return? | Formula-derived
Old_vs_New | How do v1, v2, and the old Hazard hardcodes differ? | Diagnostic only
KATs | What must a downstream evaluator reproduce or reject? | Executable contract mirror
Source_Register | What sources were reviewed and what may they support? | Evidence governance
Claim_Register | Which claim/parameter is supported, withheld, or Tier 4? | Provenance
QA | Do formulas, probabilities, values, and scenario ordering reconcile? | Workbook checks
Semantic boundary | Semantic boundary | Semantic boundary | Semantic boundary | Semantic boundary | Semantic boundary | Semantic boundary | Semantic boundary | Semantic boundary
Delivered | Not delivered
Conditional per-turbine physical-destruction damage ratios and state probabilities for two explicit pathways. | Hurricane/tropical-cyclone curve; event frequency; turbine strike probability; EAL/PML/VaR/TVaR; BI; numerical foundation/external-plant curves; production promotion.

## Scope_Pathways
Scope and first-class pathway contract
pathway_id is required; it is not a selector, conditioner, Boolean flag, or inferred alias
Dimension | straight_line_convective | tornado_direct_hit | Governance implication
Included mechanisms | Downburst/microburst/macroburst; gust front; local derecho outflow | Direct tornado intersection after Hazard resolves local demand | One shared turbine/value substrate; independent evidence and axes
Excluded mechanisms | Tornado; nonconvective synoptic; tropical cyclone; downslope; hail; lightning | EF-only input; tropical cyclone; ordinary straight wind | Reject wrong pathway instead of shifting one curve
Preferred intensity | Rotor-effective 3-second horizontal gust divided by IEC Ve50 | Rotor-effective peak horizontal tornado speed, m/s | Axis identity travels with pathway
Permitted proxy | Hub-height 3-second gust, explicitly flagged | Hub-height tornado 3-second gust with profile/measurement provenance | No silent 10 m, EF, or derecho-label conversion
Evidence domain | 28–55 m/s load anchors; 55–70 high extrapolation; >70 withheld | Jacksboro rotor anchor ~51 m/s; Greenfield collapse bracket 65–69 m/s; >80 terminal-saturation extrapolation | Flags are part of the emit
Primary numeric unit | WT_TURBINE_EQUIPMENT_ASSEMBLY | WT_TURBINE_EQUIPMENT_ASSEMBLY | Per repeated turbine; same 1,090 USD/kW denominator
Withheld units | Foundation; external electrical; civil; replacement support allocation | Foundation; external electrical; civil; replacement support allocation | Withheld is not zero
Hazard owns | Event identity, footprint, local turbine speed, exposed turbine count, dependence | Track/footprint, turbine intersection, speed reconstruction, dependence | Damage Modeling does not generate frequency or exposure
Hurricane boundary | Excluded | Excluded | Create a separate tropical-cyclone workstream; reuse anatomy/value only after review
Required routing and rejection checks | Required routing and rejection checks | Required routing and rejection checks | Required routing and rejection checks | Required routing and rejection checks | Required routing and rejection checks | Required routing and rejection checks | Required routing and rejection checks | Required routing and rejection checks
Check | Required behavior
Missing pathway_id | Reject with PATHWAY_ID_REQUIRED; never default to straight-line.
Unknown pathway_id | Reject with PATHWAY_ID_UNKNOWN.
Record/path mismatch | Reject with PATHWAY_ID_MISMATCH.
Straight-line 10 m gust | Require named convective profile bridge; no ordinary ABL power-law default.
Tornado EF class only | Reject with EF_ONLY_INPUT_PROHIBITED; EF is damage-estimated context, not measured rotor wind.
Tropical-cyclone event | Reject from both pathways; no numerical hurricane curve is delivered.

## Inputs
Inputs, scenario medians, value basis, and legacy comparison parameters
Blue-font numeric entries are governed inputs; green cells are formulas; all Tier-4 curve shapes remain explicit
Core proposed inputs | Core proposed inputs | Core proposed inputs | Core proposed inputs | Core proposed inputs |  | Ordered-state consequences on the 1,090 USD/kW turbine-equipment denominator | Ordered-state consequences on the 1,090 USD/kW turbine-equipment denominator | Ordered-state consequences on the 1,090 USD/kW turbine-equipment denominator | Ordered-state consequences on the 1,090 USD/kW turbine-equipment denominator | Ordered-state consequences on the 1,090 USD/kW turbine-equipment denominator | Ordered-state consequences on the 1,090 USD/kW turbine-equipment denominator | Ordered-state consequences on the 1,090 USD/kW turbine-equipment denominator
Field | Value | Unit | Role | Source / limitation |  | State ID | Direct value numerator | Denominator | Cost ratio | Affected subsystem | Interpretation | Tier
semantic_model_version | model v2.0 | text | identity | Proposed; noncanonical |  | DS0_NO_DIRECT_DAMAGE | 0 | 1090 | 0 | — | No occurrence physical-destruction cost | T4
turbine_archetype | generic_modern_onshore_tubular_multi_mw_screening_v1 | text | selector | No default beyond exact supported archetype |  | DS1_CONTROL_PITCH_REPAIR_PROXY | 13 | 1090 | 0.011927 | Pitch system | Physical pitch/control repair proxy; grid loss alone excluded | T4
iec_ve50_mps | 59.5 | m/s | straight-line axis normalizer | IEC Class II example; consumer must supply actual documented Ve50 |  | DS2_ROTOR_ASSEMBLY_REPLACEMENT | 337 | 1090 | 0.30917 | Rotor + pitch | Blades, hub, and pitch assembly replacement | T4
slc_beta_ln | 0.1 | ln-dispersion | curve shape | Tier 4 engineering judgment |  | DS3_TERMINAL_TURBINE_EQUIPMENT_REPLACEMENT | 1090 | 1090 | 1 | Turbine equipment | Terminal tower/support failure; foundation/support remain separate | T4
slc_zero_below_ratio | 0.35 | V/Ve50 | hard near-zero boundary | Tier 4 screening boundary
slc_evidence_lower_mps | 28 | m/s | domain flag | Load-evidence region lower bound |  | Unweighted capacity scenarios | Unweighted capacity scenarios | Unweighted capacity scenarios | Unweighted capacity scenarios | Unweighted capacity scenarios | Unweighted capacity scenarios | Unweighted capacity scenarios
slc_evidence_upper_mps | 55 | m/s | domain flag | Above this is high extrapolation |  | Pathway | Scenario | DS1 median | DS2 median | DS3 median | Unit | Meaning
slc_max_delivered_mps | 70 | m/s | withhold boundary | Above this no DR is emitted |  | straight_line_convective | lower_resistance | 0.75 | 0.9 | 1.15 | V/Ve50 | Higher-damage engineering bound
tornado_beta_ln | 0.08 | ln-dispersion | curve shape | Tier 4 engineering judgment |  | straight_line_convective | central_screening | 0.9 | 1.05 | 1.3 | V/Ve50 | Central screening judgment; not fitted
tornado_zero_below_mps | 25 | m/s | hard near-zero boundary | Tier 4 screening boundary |  | straight_line_convective | upper_resistance | 1.05 | 1.2 | 1.45 | V/Ve50 | Lower-damage engineering bound
tornado_terminal_flag_mps | 80 | m/s | extrapolation flag | Above this is terminal-saturation extrapolation
tornado_max_valid_mps | 100 | m/s | schema domain | Screening axis maximum; not evidence of validated capacity |  | tornado_direct_hit | lower_resistance | 32 | 45 | 58 | m/s | Higher-damage bound; DOD-informed
[6 empty] | tornado_direct_hit | central_screening | 36 | 51 | 67 | m/s | Jacksboro rotor + Greenfield terminal bracket
[6 empty] | tornado_direct_hit | upper_resistance | 40 | 56 | 80 | m/s | Lower-damage bound; transfer uncertainty
Reference value basis — NREL CWER, 2023 USD/kW | Reference value basis — NREL CWER, 2023 USD/kW | Reference value basis — NREL CWER, 2023 USD/kW | Reference value basis — NREL CWER, 2023 USD/kW | Reference value basis — NREL CWER, 2023 USD/kW
Value bucket | USD/kW | Formula / source | Use | Guardrail
Installed CAPEX | 1968 | Wind_Map rows 2:19 | Reporting denominator only | Do not apply turbine DR to full installed value
Physical replaceable | 1623 | Wind_Map rows 2:14 | Reference physical basis | Contains separate direct/support rows
Turbine equipment direct | 1090 | Wind_Map rows 2:9 | Curve denominator | One repeated turbine
Withheld other direct | 239 | foundation + civil + external electrical | Separate units | Withheld is not zero
Replacement support | 294 | fieldwork + transport | Allocate once downstream | No independent fragility
Excluded soft/sunk/nonphysical | 345 | Wind_Map rows 15:19 | Outside physical destruction | Do not reintroduce by TIV scaling
Physical / installed | 0.8247 | B23 / B22 | Denominator conversion | Explicit only
Equipment / physical | 0.6716 | B24 / B23 | Reference share | Not an intrinsic cap
Equipment / installed | 0.55386 | B24 / B22 | Reference share | Not an intrinsic cap
Installed reconciliation residual | 0 | B23 + B27 - B22 | Must equal zero | Formula QA
Current v1.0 parameters reproduced for diagnostic comparison only | Current v1.0 parameters reproduced for diagnostic comparison only | Current v1.0 parameters reproduced for diagnostic comparison only | Current v1.0 parameters reproduced for diagnostic comparison only | Current v1.0 parameters reproduced for diagnostic comparison only | Current v1.0 parameters reproduced for diagnostic comparison only | Current v1.0 parameters reproduced for diagnostic comparison only
Failure unit | Physical-base share | max_DR | D50 ratio | k ratio | Tornado shift | Included in default aggregate
WT_BLADE_STRUCT | 0.173 | 1 | 1.38 | 12 | -0.1 | TRUE
WT_TOWER_STRUCT | 0.169 | 1 | 1.48 | 11 | -0.12 | TRUE
WT_NACELLE_CONSEQ | 0.345 | 0.85 | 1.44 | 10 | -0.1 | TRUE
WT_FOUNDATION_OT | 0.062 | 0.65 | 1.62 | 9 | -0.08 | TRUE
WT_POWER_ELEC_ACCEL | 0.037 | 0.3 | 1.2 | 8 | -0.05 | FALSE
Legacy Hazard hardcoded whole-asset curves — diagnostic, not a calibration target | Legacy Hazard hardcoded whole-asset curves — diagnostic, not a calibration target | Legacy Hazard hardcoded whole-asset curves — diagnostic, not a calibration target | Legacy Hazard hardcoded whole-asset curves — diagnostic, not a calibration target | Legacy Hazard hardcoded whole-asset curves — diagnostic, not a calibration target | Legacy Hazard hardcoded whole-asset curves — diagnostic, not a calibration target
Pathway | Subsystem | Whole-asset weight | x0 m/s | k per m/s | Source
strong_wind | rotor_blades | 0.26 | 60 | 0.3 | Hazard M3 legacy hardcode
strong_wind | nacelle_drivetrain | 0.21 | 66 | 0.28 | Hazard M3 legacy hardcode
strong_wind | substation | 0.09 | 62 | 0.28 | Hazard M3 legacy hardcode
strong_wind | electrical | 0.09 | 64 | 0.28 | Hazard M3 legacy hardcode
tornado | rotor_blades | 0.26 | 52 | 0.25 | Hazard M3 legacy hardcode
tornado | nacelle_drivetrain | 0.21 | 58 | 0.24 | Hazard M3 legacy hardcode
tornado | tower | 0.16 | 66 | 0.22 | Hazard M3 legacy hardcode
tornado | foundation | 0.12 | 80 | 0.2 | Hazard M3 legacy hardcode
tornado | substation | 0.09 | 54 | 0.24 | Hazard M3 legacy hardcode
tornado | electrical | 0.09 | 56 | 0.24 | Hazard M3 legacy hardcode
tornado | civil | 0.07 | 62 | 0.22 | Hazard M3 legacy hardcode

## Value_Crosswalk
Row-complete value crosswalk
Every source value row is mapped, withheld, allocated once, or excluded; no implicit full-TIV multiplier
value_source_id | source_location | row_or_bucket_id | row_or_bucket_label | value | unit | financial_class | failure_unit_id | role_in_loss | include_in_direct_denominator | allocation_rule | double_count_guardrail | status | notes
NREL_CWER_2024 | docs/method/value_basis/solar_wind_value_breakdown.xlsx::Wind_Map!2 | WIND_VALUE_002_BLADE | Blades | 282 | 2023_USD_per_kW | direct_hardware | WT_TURBINE_EQUIPMENT_ASSEMBLY | direct_vulnerable_value | true | Included in DS2 rotor replacement and DS3 total equipment replacement; three-blade state consequence is value-based. | Do not add an independent blade DR to the assembly state. | mapped | Direct CWER component row.
NREL_CWER_2024 | docs/method/value_basis/solar_wind_value_breakdown.xlsx::Wind_Map!3 | WIND_VALUE_003_PITCH | Pitch assembly | 13 | 2023_USD_per_kW | direct_hardware | WT_TURBINE_EQUIPMENT_ASSEMBLY | direct_vulnerable_value | true | Used as the transparent DS1 control/pitch repair proxy and included in higher states. | Pitch availability is also a conditioner; do not reduce exposure or value a second time. | mapped | CWER reports within rotor module.
NREL_CWER_2024 | docs/method/value_basis/solar_wind_value_breakdown.xlsx::Wind_Map!4 | WIND_VALUE_004_HUB | Hub assembly | 42 | 2023_USD_per_kW | direct_hardware | WT_TURBINE_EQUIPMENT_ASSEMBLY | direct_vulnerable_value | true | Included in DS2 rotor replacement and DS3 total equipment replacement. | No separate hub fragility in the assembly curve. | mapped | Direct CWER component row.
NREL_CWER_2024 | docs/method/value_basis/solar_wind_value_breakdown.xlsx::Wind_Map!5 | WIND_VALUE_005_NACELLE_STRUCTURE | Nacelle structural assembly | 76 | 2023_USD_per_kW | direct_hardware | WT_TURBINE_EQUIPMENT_ASSEMBLY | direct_vulnerable_value | true | Included only in terminal total-equipment state in v2 screening; direct subterminal nacelle DR is withheld. | Do not infer a nacelle curve from tower/rotor state. | mapped_with_withheld_substate | Direct CWER component row.
NREL_CWER_2024 | docs/method/value_basis/solar_wind_value_breakdown.xlsx::Wind_Map!6 | WIND_VALUE_006_DRIVETRAIN | Drivetrain assembly | 236 | 2023_USD_per_kW | direct_hardware | WT_TURBINE_EQUIPMENT_ASSEMBLY | direct_vulnerable_value | true | Included only in terminal total-equipment state in v2 screening; direct subterminal drivetrain DR is withheld. | Do not treat grid loss or rotor load as automatic drivetrain replacement. | mapped_with_withheld_substate | Gearbox and generator remain a public rollup.
NREL_CWER_2024 | docs/method/value_basis/solar_wind_value_breakdown.xlsx::Wind_Map!7 | WIND_VALUE_007_POWER_ELECTRONICS | Nacelle electrical assembly | 137 | 2023_USD_per_kW | direct_hardware | WT_TURBINE_EQUIPMENT_ASSEMBLY | direct_vulnerable_value | true | Included only in terminal total-equipment state; direct physical acceleration/electrical DR is withheld. | Grid outage/curtailment is not destruction and receives no DR. | mapped_with_withheld_substate | CWER nacelle electrical assembly.
NREL_CWER_2024 | docs/method/value_basis/solar_wind_value_breakdown.xlsx::Wind_Map!8 | WIND_VALUE_008_YAW | Yaw assembly | 28 | 2023_USD_per_kW | direct_hardware | WT_TURBINE_EQUIPMENT_ASSEMBLY | direct_vulnerable_value | true | Included only in terminal total-equipment state; yaw availability is a conditioner. | Do not count yaw impairment as both a conditioner shift and a separate default loss. | mapped_with_withheld_substate | Direct CWER component row.
NREL_CWER_2024 | docs/method/value_basis/solar_wind_value_breakdown.xlsx::Wind_Map!9 | WIND_VALUE_009_TOWER | Tower module | 276 | 2023_USD_per_kW | direct_hardware | WT_TURBINE_EQUIPMENT_ASSEMBLY | direct_vulnerable_value | true | Terminal collapse makes the turbine-equipment state DS3; no independent tower sum. | Tower collapse already carries consequential equipment replacement once. | mapped | Direct CWER subsystem row.
NREL_CWER_2024 | docs/method/value_basis/solar_wind_value_breakdown.xlsx::Wind_Map!10 | WIND_VALUE_010_FOUNDATION | Foundation | 120 | 2023_USD_per_kW | direct_hardware | WT_FOUNDATION | direct_vulnerable_value | false | Separate failure unit; v2 numeric DR withheld pending geotechnical/foundation evidence and post-collapse disposition. | Never assume terminal equipment loss automatically replaces the foundation. | withheld | Plant row allocated by capacity in source ledger.
NREL_CWER_2024 | docs/method/value_basis/solar_wind_value_breakdown.xlsx::Wind_Map!11 | WIND_VALUE_011_CIVIL | Site access, staging, and facilities | 47 | 2023_USD_per_kW | mixed_civil | WT_CIVIL_INFRA | split_required | false | Split road, staging, building and facility assets with area/point-specific exposure before damage modeling. | Do not scale by exposed turbine fraction or turbine DR. | withheld | Mixed plant-level physical rollup.
NREL_CWER_2024 | docs/method/value_basis/solar_wind_value_breakdown.xlsx::Wind_Map!12 | WIND_VALUE_012_ELECTRICAL | Electrical infrastructure | 72 | 2023_USD_per_kW | mixed_direct_hardware | WT_EXTERNAL_ELECTRICAL | split_required | false | Split collection-line and substation-point assets; v2 numeric DR withheld. | Do not apply one tornado/convective turbine footprint to cables and substation. | withheld | CWER does not split collection versus substation.
NREL_CWER_2024 | docs/method/value_basis/solar_wind_value_breakdown.xlsx::Wind_Map!13 | WIND_VALUE_013_FIELDWORK | Assembly and installation | 100 | 2023_USD_per_kW | support_logistics | SUPPORT_FIELDWORK | support_once | false | Allocate once to damaged units using a site/claims rule after direct states are evaluated. | No independent fragility and no automatic linear multiplication inside DR. | mapped_support_rule_open | Recurring replacement cost but not owned hardware.
NREL_CWER_2024 | docs/method/value_basis/solar_wind_value_breakdown.xlsx::Wind_Map!14 | WIND_VALUE_014_TRANSPORT | Wind turbine transport | 194 | 2023_USD_per_kW | support_logistics | SUPPORT_TRANSPORT_LOGISTICS | support_once | false | Allocate once when replacement scope requires transport; site distance/crane/logistics override reference. | Do not include in turbine denominator and then add again downstream. | mapped_support_rule_open | Included in physical reference because it recurs on major replacement.
NREL_CWER_2024 | docs/method/value_basis/solar_wind_value_breakdown.xlsx::Wind_Map!15 | WIND_VALUE_015_ENGINEERING_DEVELOPMENT | Engineering and development | 36 | 2023_USD_per_kW | excluded_soft_sunk_nonphysical | OUTSIDE_PHYSICAL_CELL | excluded | false | Excluded from physical destruction reference by default. | Never reintroduce through state or support scaling without an explicit insured-value override. | excluded | Source soft-cost row.
NREL_CWER_2024 | docs/method/value_basis/solar_wind_value_breakdown.xlsx::Wind_Map!16 | WIND_VALUE_016_PROJECT_MANAGEMENT | Project management | 14 | 2023_USD_per_kW | excluded_soft_sunk_nonphysical | OUTSIDE_PHYSICAL_CELL | excluded | false | Excluded from physical destruction reference by default. | Never reintroduce through state or support scaling without an explicit insured-value override. | excluded | Source soft-cost row.
NREL_CWER_2024 | docs/method/value_basis/solar_wind_value_breakdown.xlsx::Wind_Map!17 | WIND_VALUE_017_FINANCE | Construction finance | 111 | 2023_USD_per_kW | excluded_soft_sunk_nonphysical | OUTSIDE_PHYSICAL_CELL | excluded | false | Excluded from physical destruction reference. | Financial cost is not physical repair value. | excluded | Source soft-cost row.
NREL_CWER_2024 | docs/method/value_basis/solar_wind_value_breakdown.xlsx::Wind_Map!18 | WIND_VALUE_018_CONTINGENCY | Contingency | 54 | 2023_USD_per_kW | excluded_soft_sunk_nonphysical | OUTSIDE_PHYSICAL_CELL | excluded | false | Excluded from physical destruction reference; any claim contingency belongs to explicit downstream valuation. | Do not use as curve uncertainty or add to support automatically. | excluded | CWER contingency includes insurance, permitting, bonding and markup.
NREL_CWER_2024 | docs/method/value_basis/solar_wind_value_breakdown.xlsx::Wind_Map!19 | WIND_VALUE_019_WARRANTY | Wind turbine warranty | 130 | 2023_USD_per_kW | excluded_soft_sunk_nonphysical | OUTSIDE_PHYSICAL_CELL | excluded | false | Excluded from physical destruction reference. | Warranty value is not replacement damage. | excluded | Source soft-cost row.
SUMMARY | Wind_Map!2:9 | WT_TURBINE_EQUIPMENT_ASSEMBLY_TOTAL | Turbine equipment direct denominator | 1090 | 2023_USD_per_kW | reconciliation | WT_TURBINE_EQUIPMENT_ASSEMBLY | direct_vulnerable_value | true | One repeated turbine-equipment assembly; physical-base share 0.671595810227973; installed share 0.553861788617886. | Apply exposure per turbine and never call either share an intrinsic DR cap. | mapped | Rotor 337 + nacelle 477 + tower 276 = 1090.
SUMMARY | Wind_Map!10:12 | WITHHELD_DIRECT_OTHER_TOTAL | Foundation + civil + external electrical | 239 | 2023_USD_per_kW | reconciliation | MULTIPLE_WITHHELD_UNITS | split_required | false | Physical-base share 0.147258163894023; installed share 0.121443089430894. | Do not treat withheld as zero or inherit assembly DR. | withheld | Requires unit-specific curves and exposure.
SUMMARY | Wind_Map!13:14 | SUPPORT_TOTAL | Fieldwork + transport/logistics | 294 | 2023_USD_per_kW | reconciliation | SUPPORT_ONCE | support_once | false | Physical-base share 0.181146025878004; installed share 0.149390243902439. | Allocate once only after direct damaged units are known. | mapped_support_rule_open | No default proportional rule is authorized.
SUMMARY | Wind_Map!2:14 | PHYSICAL_REFERENCE_TOTAL | Physical replaceable reference basis | 1623 | 2023_USD_per_kW | reconciliation | REFERENCE_DENOMINATOR_ONLY | reference | false | 1090 turbine equipment + 239 withheld direct other + 294 support = 1623. | No pooled physical-base DR may bypass unit/exposure/support rules. | reconciled | Physical-to-installed ratio 0.824695121951220.
SUMMARY | Wind_Map!15:19 | EXCLUDED_TOTAL | Sunk/soft/nonphysical excluded | 345 | 2023_USD_per_kW | reconciliation | OUTSIDE_PHYSICAL_CELL | excluded | false | 36 + 14 + 111 + 54 + 130 = 345. | Do not reintroduce by convenience TIV scaling. | reconciled | Installed 1968 = physical 1623 + excluded 345.
SUMMARY | Wind_Map!2:19 | INSTALLED_REFERENCE_TOTAL | Installed CAPEX reference basis | 1968 | 2023_USD_per_kW | reconciliation | REFERENCE_REPORTING_DENOMINATOR | reference | false | Reference installed value for denominator conversion only. | No implicit value profile or full-TIV loss is published. | reconciled | 200 MW reference equals 393.6 million 2023 USD installed.

## State_Consequences
Ordered-state construction and dependency guardrails
Exact states are mutually exclusive; tower collapse is terminal for the equipment assembly; foundation and support remain separate
State | Cost ratio | Exact-state probability | Physical scope | Explicit exclusions | Why this avoids double counting
DS0_NO_DIRECT_DAMAGE | 0 | 1 - q1 | No direct equipment destruction | Outage; BI; fatigue | No independent component loss
DS1_CONTROL_PITCH_REPAIR_PROXY | 0.011927 | q1 - q2 | Pitch-system repair proxy | Grid loss alone; broad nacelle repair | Included once as the lowest nonzero state
DS2_ROTOR_ASSEMBLY_REPLACEMENT | 0.30917 | q2 - q3 | Blades + hub + pitch | Nacelle; tower; foundation; support | Rotor and pitch are one replacement state, not summed curves
DS3_TERMINAL_TURBINE_EQUIPMENT_REPLACEMENT | 1 | q3 | Rotor + nacelle + power/yaw + tower | Foundation; external plant; support; soft cost | Terminal state supersedes component replacement
Evaluation equation | Evaluation equation | Evaluation equation | Evaluation equation | Evaluation equation | Evaluation equation | Evaluation equation | Evaluation equation | Evaluation equation | Evaluation equation
Exceedance | q_j = Φ( ln(x / θ_j) / β_ln )
Exact probabilities | p0 = 1-q1; p1 = q1-q2; p2 = q2-q3; p3 = q3
Expected DR | E[DR ¦ x, scenario] = Σ p_j × r_j
Scenario rule | Evaluate lower_resistance, central_screening, and upper_resistance independently; no weights or averaging are authorized.
Disposition of non-equipment value | Disposition of non-equipment value | Disposition of non-equipment value | Disposition of non-equipment value | Disposition of non-equipment value | Disposition of non-equipment value | Disposition of non-equipment value | Disposition of non-equipment value | Disposition of non-equipment value | Disposition of non-equipment value
Unit | Status | Required next evidence / rule
WT_FOUNDATION | Withheld | Foundation/geotechnical damage calibration and post-collapse repair disposition
WT_EXTERNAL_ELECTRICAL | Withheld | Collection-line/substation split, distinct exposure objects, and unit-specific curves
WT_CIVIL_INFRA | Withheld | Road/staging/building split and area/point exposure
WT_REPLACEMENT_SUPPORT | Allocate once outside intrinsic DR | Claims/site rule for crane, fieldwork, transport, and mobilization

## SLC_Curve
straight_line_convective — formula-derived screening envelope
Example selector uses IEC Class II Ve50 = 59.5 m/s; replace with the actual documented turbine Ve50 before evaluation
Delivered rotor/hub 3s gust m/s | x = V / Ve50 | Lower resistance DR | Central screening DR | Upper resistance DR | Central P(DS0) | Central P(DS1) | Central P(DS2) | Central P(DS3) | Domain flag | Interpretation
20 | 0.33613 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | BELOW_28_MPS_NEAR_ZERO_EXTRAPOLATION | Conditional equipment DR only; unresolved control state preserves all scenarios.
25 | 0.42017 | 4.0944e-11 | 1.5426e-16 | 0 | 1 | 1.2934e-14 | 0 | 0 | BELOW_28_MPS_NEAR_ZERO_EXTRAPOLATION | Conditional equipment DR only; unresolved control state preserves all scenarios.
28 | 0.47059 | 1.8788e-08 | 5.3241e-13 | 5.9585e-18 | 1 | 4.4627e-11 | 4.996e-16 | 0 | EVIDENCE_LOAD_REGION | Conditional equipment DR only; unresolved control state preserves all scenarios.
35 | 0.58824 | 9.3312e-05 | 1.2698e-07 | 4.109e-11 | 0.99999 | 1.0558e-05 | 3.4327e-09 | 1.1102e-15 | EVIDENCE_LOAD_REGION | Conditional equipment DR only; unresolved control state preserves all scenarios.
40 | 0.67227 | 0.002158 | 2.2275e-05 | 5.0154e-08 | 0.99823 | 0.0017609 | 4.1196e-06 | 2.1319e-11 | EVIDENCE_LOAD_REGION | Conditional equipment DR only; unresolved control state preserves all scenarios.
45 | 0.7563 | 0.018549 | 0.00064237 | 6.748e-06 | 0.95903 | 0.040453 | 0.0005171 | 3.0341e-08 | EVIDENCE_LOAD_REGION | Conditional equipment DR only; unresolved control state preserves all scenarios.
50 | 0.84034 | 0.084228 | 0.006795 | 0.00020912 | 0.75362 | 0.23342 | 0.012953 | 6.4094e-06 | EVIDENCE_LOAD_REGION | Conditional equipment DR only; unresolved control state preserves all scenarios.
55 | 0.92437 | 0.20164 | 0.037547 | 0.0025572 | 0.39467 | 0.50406 | 0.10095 | 0.00032473 | EVIDENCE_LOAD_REGION | Conditional equipment DR only; unresolved control state preserves all scenarios.
59.5 | 1 | 0.32178 | 0.10617 | 0.013947 | 0.14603 | 0.54116 | 0.30846 | 0.0043498 | ABOVE_55_MPS_HIGH_EXTRAPOLATION | Tier-4 high-extrapolation screening; do not extend above 70 m/s.
60 | 1.0084 | 0.33643 | 0.1162 | 0.016367 | 0.12771 | 0.52927 | 0.33748 | 0.0055433 | ABOVE_55_MPS_HIGH_EXTRAPOLATION | Tier-4 high-extrapolation screening; do not extend above 70 m/s.
65 | 1.0924 | 0.51122 | 0.23432 | 0.061073 | 0.026329 | 0.31965 | 0.61305 | 0.040971 | ABOVE_55_MPS_HIGH_EXTRAPOLATION | Tier-4 high-extrapolation screening; do not extend above 70 m/s.
70 | 1.1765 | 0.71567 | 0.38103 | 0.14833 | 0.0036944 | 0.12401 | 0.71326 | 0.15903 | ABOVE_55_MPS_HIGH_EXTRAPOLATION | Tier-4 high-extrapolation screening; do not extend above 70 m/s.

## Tornado_Curve
tornado_direct_hit — formula-derived screening envelope
EF class alone is prohibited; local rotor-effective speed or a qualified hub/profile proxy is required
Delivered tornado effective speed m/s | Axis x m/s | Lower resistance DR | Central screening DR | Upper resistance DR | Central P(DS0) | Central P(DS1) | Central P(DS2) | Central P(DS3) | Domain flag | Interpretation
20 | 20 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | ZERO_BELOW_25_MPS | Conditional equipment DR; Hazard must supply turbine intersection and speed provenance.
25 | 25 | 1.2108e-05 | 3.0791e-08 | 2.5209e-11 | 1 | 2.5817e-06 | 0 | 0 | SCREENING_DOMAIN | Conditional equipment DR; Hazard must supply turbine intersection and speed provenance.
30 | 30 | 0.0025036 | 0.00013516 | 1.9268e-06 | 0.98867 | 0.011333 | 1.6463e-11 | 0 | SCREENING_DOMAIN | Conditional equipment DR; Hazard must supply turbine intersection and speed provenance.
32 | 32 | 0.0059663 | 0.00084049 | 3.15e-05 | 0.92953 | 0.070472 | 2.8365e-09 | 0 | SCREENING_DOMAIN | Conditional equipment DR; Hazard must supply turbine intersection and speed provenance.
36 | 36 | 0.011871 | 0.0059653 | 0.0011201 | 0.5 | 0.49999 | 6.6889e-06 | 4.1078e-15 | SCREENING_DOMAIN | Conditional equipment DR; Hazard must supply turbine intersection and speed provenance.
40 | 40 | 0.032844 | 0.011162 | 0.0059672 | 0.093918 | 0.90489 | 0.0011954 | 5.6793e-11 | SCREENING_DOMAIN | Conditional equipment DR; Hazard must supply turbine intersection and speed provenance.
45 | 45 | 0.16107 | 0.029387 | 0.012017 | 0.0026412 | 0.93851 | 0.058845 | 3.256e-07 | SCREENING_DOMAIN | Conditional equipment DR; Hazard must supply turbine intersection and speed provenance.
49 | 49 | 0.27861 | 0.10366 | 0.025992 | 5.8157e-05 | 0.69143 | 0.30847 | 4.5976e-05 | SCREENING_DOMAIN | Conditional equipment DR; Hazard must supply turbine intersection and speed provenance.
51 | 51 | 0.32895 | 0.16077 | 0.047935 | 6.6889e-06 | 0.49999 | 0.49968 | 0.00032382 | SCREENING_DOMAIN | Conditional equipment DR; Hazard must supply turbine intersection and speed provenance.
56 | 56 | 0.53653 | 0.28178 | 0.16055 | 1.6672e-08 | 0.12119 | 0.86633 | 0.012488 | SCREENING_DOMAIN | Conditional equipment DR; Hazard must supply turbine intersection and speed provenance.
58 | 58 | 0.65436 | 0.31779 | 0.21097 | 1.2493e-09 | 0.053949 | 0.91037 | 0.035685 | SCREENING_DOMAIN | Conditional equipment DR; Hazard must supply turbine intersection and speed provenance.
65 | 65 | 0.94668 | 0.55227 | 0.30315 | 7.5717e-14 | 0.0012146 | 0.64637 | 0.35241 | SCREENING_DOMAIN | Conditional equipment DR; Hazard must supply turbine intersection and speed provenance.
67 | 67 | 0.97535 | 0.65449 | 0.31467 | 4.1078e-15 | 0.00032382 | 0.49968 | 0.5 | SCREENING_DOMAIN | Conditional equipment DR; Hazard must supply turbine intersection and speed provenance.
69 | 69 | 0.98966 | 0.75366 | 0.33009 | 2.2204e-16 | 7.8884e-05 | 0.35648 | 0.64344 | SCREENING_DOMAIN | Conditional equipment DR; Hazard must supply turbine intersection and speed provenance.
70 | 70 | 0.99353 | 0.79826 | 0.34123 | 0 | 3.7731e-05 | 0.29197 | 0.70799 | SCREENING_DOMAIN | Conditional equipment DR; Hazard must supply turbine intersection and speed provenance.
80 | 80 | 0.99998 | 0.9908 | 0.65459 | 0 | 9.1413e-09 | 0.013323 | 0.98668 | SCREENING_DOMAIN | Conditional equipment DR; Hazard must supply turbine intersection and speed provenance.
90 | 90 | 1 | 0.99992 | 0.95132 | 0 | 6.2461e-13 | 0.00011258 | 0.99989 | ABOVE_80_MPS_TERMINAL_SATURATION_EXTRAPOLATION | Near-terminal extrapolation; debris and pressure not separately modeled.
100 | 100 | 1 | 1 | 0.99818 | 0 | 0 | 2.7791e-07 | 1 | ABOVE_80_MPS_TERMINAL_SATURATION_EXTRAPOLATION | Near-terminal extrapolation; debris and pressure not separately modeled.

## Old_vs_New
Old vs new — diagnostic reproduction on non-equivalent denominators
Never calibrate proposed v2 to preserve legacy EAL/PML; v1 physical aggregate, v2 equipment DR, and Hazard whole-asset hardcodes are not directly interchangeable
Speed m/s | Current v1 straight physical-base aggregate | Current v1 tornado physical-base aggregate | Proposed v2 SLC turbine-equipment DR | Proposed v2 tornado turbine-equipment DR | Hazard legacy straight whole-asset DR | Hazard legacy tornado whole-asset DR | Comparison rule | Status
45 | 0.00048746 | 0.0014305 | 0.00064237 | 0.029387 | 0.0046444 | 0.065968 | Compare shape/onset only. Convert v2 using explicit equipment value and turbine exposure; do not compare as equal %TIV. | DIAGNOSTIC_ONLY
50 | 0.0011781 | 0.0034779 | 0.006795 | 0.13158 | 0.019456 | 0.17673 | Compare shape/onset only. Convert v2 using explicit equipment value and turbine exposure; do not compare as equal %TIV. | DIAGNOSTIC_ONLY
55 | 0.0028581 | 0.0084623 | 0.037547 | 0.26257 | 0.074472 | 0.36157 | Compare shape/onset only. Convert v2 using explicit equipment value and turbine exposure; do not compare as equal %TIV. | DIAGNOSTIC_ONLY
59.5 | 0.0063556 | 0.018749 | 0.10617 | 0.34875 | 0.1993 | 0.54148 | Compare shape/onset only. Convert v2 using explicit equipment value and turbine exposure; do not compare as equal %TIV. | DIAGNOSTIC_ONLY
65 | 0.016813 | 0.048401 | 0.23432 | 0.55227 | 0.41709 | 0.71508 | Compare shape/onset only. Convert v2 using explicit equipment value and turbine exposure; do not compare as equal %TIV. | DIAGNOSTIC_ONLY
67 | 0.023856 | 0.067368 | 0.28914 | 0.65449 | 0.4863 | 0.76209 | Compare shape/onset only. Convert v2 using explicit equipment value and turbine exposure; do not compare as equal %TIV. | DIAGNOSTIC_ONLY
69 | 0.033708 | 0.092582 | 0.34897 | 0.75366 | 0.54139 | 0.80125 | Compare shape/onset only. Convert v2 using explicit equipment value and turbine exposure; do not compare as equal %TIV. | DIAGNOSTIC_ONLY
70 | 0.03998 | 0.10787 | 0.38103 | 0.79826 | 0.56321 | 0.81819 | Compare shape/onset only. Convert v2 using explicit equipment value and turbine exposure; do not compare as equal %TIV. | DIAGNOSTIC_ONLY
Interpretation | Interpretation | Interpretation | Interpretation | Interpretation | Interpretation | Interpretation | Interpretation | Interpretation
Object | Denominator / grain | What it is useful for | What is prohibited
Current v1 aggregate | Weighted fraction of reference physical base; independent component logistics | Reproduce the currently published artifact | Treat as evidence-calibrated or preserve as target
Proposed v2 | One repeated turbine-equipment assembly, conditional on delivered pathway speed | Screening pathway severity and scenario sensitivity | Apply to full plant TIV or external assets
Hazard legacy hardcode | Placeholder whole-asset CAPEX weights mixed across turbine/farm grains | Expose consumer drift and migration magnitude | Use as canonical Damage value or curve

## KATs
Known-answer and rejection contract mirror
The JSON KAT file is executable authority; this sheet is a review view and does not replace the validator
runtime_curve_known_answer_tests | runtime_curve_known_answer_tests | runtime_curve_known_answer_tests | runtime_curve_known_answer_tests | runtime_curve_known_answer_tests | runtime_curve_known_answer_tests | runtime_curve_known_answer_tests | runtime_curve_known_answer_tests | runtime_curve_known_answer_tests | runtime_curve_known_answer_tests | runtime_curve_known_answer_tests
test_id | pathway_id | failure_unit_id | input / fixture | expected central DR | expected scenarios / state / assertions | expected error | expected flags | tolerance | purpose | source JSON group
WTW2_SLC_BELOW_ZERO_BOUNDARY | straight_line_convective | WT_TURBINE_EQUIPMENT_ASSEMBLY | {"pathway_id":"straight_line_convective","turbine_archetype":"generic_modern_onshore_tubular_multi_mw_screening_v1","rotor_effective_3s_gust_mps":20,"iec_ve50_mps":59.5} | 0 | {"scenario_drs":{"lower_resistance":0,"central_screening":0,"upper_resistance":0}} |  | ["BELOW_28_MPS_EVIDENCE_ANCHOR_RANGE","NO_FINANCIAL_SCALING_APPLIED"] | 1e-12 | low_no_damage | runtime_curve_known_answer_tests
WTW2_SLC_CENTRAL_AT_VE50 | straight_line_convective | WT_TURBINE_EQUIPMENT_ASSEMBLY | {"pathway_id":"straight_line_convective","turbine_archetype":"generic_modern_onshore_tubular_multi_mw_screening_v1","rotor_effective_3s_gust_mps":59.5,"iec_ve50_mps":59.5} | 0.10617 | {"scenario_drs":{"lower_resistance":0.3217781420905228,"central_screening":0.1061718428482847,"upper_resistance":0.013947433158386252},"central_state_probabilities":{"DS0_NO_DIRECT_DAMAGE":0.1460318636790745,"DS1_CONTROL_PITCH_REPAIR_PROXY":0.5411583805125382,"DS2_ROTOR_ASSEMBLY_REPLACEMENT":0.30846000540926294,"DS3_TERMINAL_TURBINE_EQUIPMENT_REPLACEMENT":0.00434975039912433}} |  | ["ABOVE_55_MPS_HIGH_EXTRAPOLATION","NONPROBABILISTIC_EPISTEMIC_ENVELOPE"] | 1e-12 | transition_and_exact_state_probabilities | runtime_curve_known_answer_tests
WTW2_SLC_UPPER_VALID_BOUNDARY | straight_line_convective | WT_TURBINE_EQUIPMENT_ASSEMBLY | {"pathway_id":"straight_line_convective","turbine_archetype":"generic_modern_onshore_tubular_multi_mw_screening_v1","rotor_effective_3s_gust_mps":70,"iec_ve50_mps":59.5} | 0.38103 | {"scenario_drs":{"lower_resistance":0.7156699653292332,"central_screening":0.38103089732872697,"upper_resistance":0.14833143885780992}} |  | ["ABOVE_55_MPS_HIGH_EXTRAPOLATION"] | 1e-12 | upper_valid_range | runtime_curve_known_answer_tests
WTW2_SLC_HUB_PROXY_50_MPS | straight_line_convective | WT_TURBINE_EQUIPMENT_ASSEMBLY | {"pathway_id":"straight_line_convective","turbine_archetype":"generic_modern_onshore_tubular_multi_mw_screening_v1","ten_meter_3s_gust_mps":45,"convective_profile_bridge_id":"KAT_CONVECTIVE_PROFILE_V1","hub_height_3s_gust_mps":50,"iec_ve50_mps":59.5} | 0.006795 | {"scenario_drs":{"lower_resistance":0.08422841237387155,"central_screening":0.0067949641854111046,"upper_resistance":0.00020911895086642767}} |  | ["HUB_HEIGHT_GUST_PROXY_USED","CONVECTIVE_PROFILE_BRIDGE_USED"] | 1e-12 | permitted_proxy | runtime_curve_known_answer_tests
WTW2_TOR_BELOW_ZERO_BOUNDARY | tornado_direct_hit | WT_TURBINE_EQUIPMENT_ASSEMBLY | {"pathway_id":"tornado_direct_hit","turbine_archetype":"generic_modern_onshore_tubular_multi_mw_screening_v1","tornado_rotor_effective_peak_horizontal_speed_mps":20,"tornado_input_basis":"rotor_resolved_wind_field","tornado_profile_bridge_id":"KAT_ROTOR_FIELD_V1"} | 0 | {"scenario_drs":{"lower_resistance":0,"central_screening":0,"upper_resistance":0}} |  | ["NO_FINANCIAL_SCALING_APPLIED"] | 1e-12 | low_no_damage | runtime_curve_known_answer_tests
WTW2_TOR_EQUAL_INTENSITY_50_MPS | tornado_direct_hit | WT_TURBINE_EQUIPMENT_ASSEMBLY | {"pathway_id":"tornado_direct_hit","turbine_archetype":"generic_modern_onshore_tubular_multi_mw_screening_v1","tornado_rotor_effective_peak_horizontal_speed_mps":50,"tornado_input_basis":"rotor_resolved_wind_field","tornado_profile_bridge_id":"KAT_ROTOR_FIELD_V1"} | 0.13158 | {"scenario_drs":{"lower_resistance":0.3032119546109179,"central_screening":0.1315813172688886,"upper_resistance":0.035169216372137595}} |  | [] | 1e-12 | cross_pathway_identity | runtime_curve_known_answer_tests
WTW2_TOR_ROTOR_REPLACEMENT_TRANSITION_51_MPS | tornado_direct_hit | WT_TURBINE_EQUIPMENT_ASSEMBLY | {"pathway_id":"tornado_direct_hit","turbine_archetype":"generic_modern_onshore_tubular_multi_mw_screening_v1","tornado_rotor_effective_peak_horizontal_speed_mps":51,"tornado_input_basis":"rotor_resolved_wind_field","tornado_profile_bridge_id":"KAT_ROTOR_FIELD_V1"} | 0.16077 | {"scenario_drs":{"lower_resistance":0.3289516785566465,"central_screening":0.16077408113516298,"upper_resistance":0.047934782096925296},"central_state_probabilities":{"DS0_NO_DIRECT_DAMAGE":0.000006688860898829141,"DS1_CONTROL_PITCH_REPAIR_PROXY":0.49999331113910117,"DS2_ROTOR_ASSEMBLY_REPLACEMENT":0.4996761814176374,"DS3_TERMINAL_TURBINE_EQUIPMENT_REPLACEMENT":0.0003238185823625783}} |  | [] | 1e-12 | transition_and_exact_state_probabilities | runtime_curve_known_answer_tests
WTW2_TOR_TERMINAL_TRANSITION_67_MPS | tornado_direct_hit | WT_TURBINE_EQUIPMENT_ASSEMBLY | {"pathway_id":"tornado_direct_hit","turbine_archetype":"generic_modern_onshore_tubular_multi_mw_screening_v1","tornado_rotor_effective_peak_horizontal_speed_mps":67,"tornado_input_basis":"rotor_resolved_wind_field","tornado_profile_bridge_id":"KAT_ROTOR_FIELD_V1"} | 0.65449 | {"scenario_drs":{"lower_resistance":0.9753480118635485,"central_screening":0.6544909016323989,"upper_resistance":0.31466579331117944}} |  | [] | 1e-12 | field_anchor_transition | runtime_curve_known_answer_tests
WTW2_TOR_80_MPS_TERMINAL_BOUNDARY | tornado_direct_hit | WT_TURBINE_EQUIPMENT_ASSEMBLY | {"pathway_id":"tornado_direct_hit","turbine_archetype":"generic_modern_onshore_tubular_multi_mw_screening_v1","tornado_rotor_effective_peak_horizontal_speed_mps":80,"tornado_input_basis":"rotor_resolved_wind_field","tornado_profile_bridge_id":"KAT_ROTOR_FIELD_V1"} | 0.9908 | {"scenario_drs":{"lower_resistance":0.9999798801406359,"central_screening":0.9907963700578989,"upper_resistance":0.6545859289317331}} |  | [] | 1e-12 | terminal_saturation_boundary | runtime_curve_known_answer_tests
WTW2_TOR_HUB_PROXY_58_MPS | tornado_direct_hit | WT_TURBINE_EQUIPMENT_ASSEMBLY | {"pathway_id":"tornado_direct_hit","turbine_archetype":"generic_modern_onshore_tubular_multi_mw_screening_v1","tornado_hub_height_peak_3s_gust_mps":58,"tornado_input_basis":"qualified_hub_height_proxy","tornado_profile_bridge_id":"KAT_HUB_PROXY_V1"} | 0.31779 | {"scenario_drs":{"lower_resistance":0.6543623485028274,"central_screening":0.31779011682456754,"upper_resistance":0.21096573771918628}} |  | ["TORNADO_HUB_HEIGHT_PROXY_USED"] | 1e-12 | permitted_proxy | runtime_curve_known_answer_tests
WTW2_TOR_ABOVE_80_MPS_FLAGGED | tornado_direct_hit | WT_TURBINE_EQUIPMENT_ASSEMBLY | {"pathway_id":"tornado_direct_hit","turbine_archetype":"generic_modern_onshore_tubular_multi_mw_screening_v1","tornado_rotor_effective_peak_horizontal_speed_mps":85,"tornado_input_basis":"radar_profile_bridge","tornado_profile_bridge_id":"KAT_RADAR_PROFILE_V1"} | 0.99899 | {"scenario_drs":{"lower_resistance":0.9999993872475591,"central_screening":0.9989862728545089,"upper_resistance":0.8450594913905943}} |  | ["TORNADO_RADAR_PROFILE_BRIDGE_USED","ABOVE_80_MPS_TERMINAL_SATURATION_EXTRAPOLATION"] | 1e-12 | flagged_extrapolation | runtime_curve_known_answer_tests
WTW2_SLC_FOUNDATION_WITHHELD | straight_line_convective | WT_FOUNDATION | {"pathway_id":"straight_line_convective","failure_unit_id":"WT_FOUNDATION","turbine_archetype":"generic_modern_onshore_tubular_multi_mw_screening_v1","rotor_effective_3s_gust_mps":59.5,"iec_ve50_mps":59.5} |  | {"status":"withheld","curve_id":null,"scalar_central_dr":null,"reason_codes_include":["NO_RUNTIME_CURVE_FOR_PATHWAY_UNIT","NO_CONVECTIVE_FOUNDATION_DAMAGE_CALIBRATION"]} |  | [] | 1e-12 | unsupported_pathway_failure_unit | runtime_curve_known_answer_tests
WTW2_TOR_EXTERNAL_ELECTRICAL_WITHHELD | tornado_direct_hit | WT_EXTERNAL_ELECTRICAL | {"pathway_id":"tornado_direct_hit","failure_unit_id":"WT_EXTERNAL_ELECTRICAL","turbine_archetype":"generic_modern_onshore_tubular_multi_mw_screening_v1","tornado_rotor_effective_peak_horizontal_speed_mps":67,"tornado_input_basis":"rotor_resolved_wind_field","tornado_profile_bridge_id":"KAT_ROTOR_FIELD_V1"} |  | {"status":"withheld","curve_id":null,"scalar_central_dr":null,"reason_codes_include":["NO_RUNTIME_CURVE_FOR_PATHWAY_UNIT","NO_UNIT_SPECIFIC_CURVE"]} |  | [] | 1e-12 | unsupported_pathway_failure_unit | runtime_curve_known_answer_tests
contract_rejection_tests | contract_rejection_tests | contract_rejection_tests | contract_rejection_tests | contract_rejection_tests | contract_rejection_tests | contract_rejection_tests | contract_rejection_tests | contract_rejection_tests | contract_rejection_tests | contract_rejection_tests
test_id | pathway_id | failure_unit_id | input / fixture | expected central DR | expected scenarios / state / assertions | expected error | expected flags | tolerance | purpose | source JSON group
WTW2_REJECT_MISSING_PATHWAY_ID |  |  | {"turbine_archetype":"generic_modern_onshore_tubular_multi_mw_screening_v1","rotor_effective_3s_gust_mps":50,"iec_ve50_mps":59.5} |  | {"status":"withheld","error_code":"PATHWAY_ID_REQUIRED"} | PATHWAY_ID_REQUIRED | [] | 1e-12 |  | contract_rejection_tests
WTW2_REJECT_HURRICANE_AS_PATHWAY_ALIAS | tropical_cyclone_wind |  | {"pathway_id":"tropical_cyclone_wind","turbine_archetype":"generic_modern_onshore_tubular_multi_mw_screening_v1","rotor_effective_3s_gust_mps":50,"iec_ve50_mps":59.5} |  | {"status":"withheld","error_code":"PATHWAY_ID_UNKNOWN"} | PATHWAY_ID_UNKNOWN | [] | 1e-12 |  | contract_rejection_tests
WTW2_REJECT_TORNADO_INPUT_ON_SLC_PATHWAY | straight_line_convective |  | {"pathway_id":"straight_line_convective","turbine_archetype":"generic_modern_onshore_tubular_multi_mw_screening_v1","tornado_rotor_effective_peak_horizontal_speed_mps":50,"tornado_input_basis":"rotor_resolved_wind_field","tornado_profile_bridge_id":"KAT_ROTOR_FIELD_V1","iec_ve50_mps":59.5} |  | {"status":"withheld","error_code":"PATHWAY_ID_MISMATCH"} | PATHWAY_ID_MISMATCH | [] | 1e-12 |  | contract_rejection_tests
WTW2_REJECT_SLC_INPUT_ON_TORNADO_PATHWAY | tornado_direct_hit |  | {"pathway_id":"tornado_direct_hit","turbine_archetype":"generic_modern_onshore_tubular_multi_mw_screening_v1","rotor_effective_3s_gust_mps":50,"iec_ve50_mps":59.5,"tornado_input_basis":"rotor_resolved_wind_field","tornado_profile_bridge_id":"KAT_ROTOR_FIELD_V1"} |  | {"status":"withheld","error_code":"PATHWAY_ID_MISMATCH"} | PATHWAY_ID_MISMATCH | [] | 1e-12 |  | contract_rejection_tests
WTW2_REJECT_UNBRIDGED_10M_CONVECTIVE_GUST | straight_line_convective |  | {"pathway_id":"straight_line_convective","turbine_archetype":"generic_modern_onshore_tubular_multi_mw_screening_v1","ten_meter_3s_gust_mps":45,"iec_ve50_mps":59.5} |  | {"status":"withheld","error_code":"CONVECTIVE_PROFILE_BRIDGE_REQUIRED"} | CONVECTIVE_PROFILE_BRIDGE_REQUIRED | [] | 1e-12 |  | contract_rejection_tests
WTW2_REJECT_BRIDGE_NAME_WITHOUT_DELIVERED_CONVECTIVE_SPEED | straight_line_convective |  | {"pathway_id":"straight_line_convective","turbine_archetype":"generic_modern_onshore_tubular_multi_mw_screening_v1","ten_meter_3s_gust_mps":45,"convective_profile_bridge_id":"UNEXECUTED_BRIDGE_NAME_ONLY","iec_ve50_mps":59.5} |  | {"status":"withheld","error_code":"CONVECTIVE_PROFILE_BRIDGE_REQUIRED"} | CONVECTIVE_PROFILE_BRIDGE_REQUIRED | [] | 1e-12 |  | contract_rejection_tests
WTW2_REJECT_SLC_ABOVE_70_MPS | straight_line_convective |  | {"pathway_id":"straight_line_convective","turbine_archetype":"generic_modern_onshore_tubular_multi_mw_screening_v1","rotor_effective_3s_gust_mps":70.0001,"iec_ve50_mps":59.5} |  | {"status":"withheld","error_code":"CONVECTIVE_SPEED_ABOVE_70_MPS_WITHHELD"} | CONVECTIVE_SPEED_ABOVE_70_MPS_WITHHELD | [] | 1e-12 |  | contract_rejection_tests
WTW2_REJECT_SLC_AXIS_RATIO_ABOVE_TWO | straight_line_convective |  | {"pathway_id":"straight_line_convective","turbine_archetype":"generic_modern_onshore_tubular_multi_mw_screening_v1","rotor_effective_3s_gust_mps":50,"iec_ve50_mps":20} |  | {"status":"withheld","error_code":"AXIS_OUTSIDE_VALID_RANGE"} | AXIS_OUTSIDE_VALID_RANGE | [] | 1e-12 |  | contract_rejection_tests
WTW2_REJECT_EF_ONLY_TORNADO_INPUT | tornado_direct_hit |  | {"pathway_id":"tornado_direct_hit","turbine_archetype":"generic_modern_onshore_tubular_multi_mw_screening_v1","ef_class":"EF3","tornado_input_basis":"radar_profile_bridge","tornado_profile_bridge_id":"KAT_RADAR_PROFILE_V1"} |  | {"status":"withheld","error_code":"EF_ONLY_INPUT_PROHIBITED"} | EF_ONLY_INPUT_PROHIBITED | [] | 1e-12 |  | contract_rejection_tests
WTW2_REJECT_TORNADO_WITHOUT_PROFILE_BRIDGE | tornado_direct_hit |  | {"pathway_id":"tornado_direct_hit","turbine_archetype":"generic_modern_onshore_tubular_multi_mw_screening_v1","tornado_rotor_effective_peak_horizontal_speed_mps":67,"tornado_input_basis":"rotor_resolved_wind_field"} |  | {"status":"withheld","error_code":"TORNADO_PROFILE_BRIDGE_REQUIRED"} | TORNADO_PROFILE_BRIDGE_REQUIRED | [] | 1e-12 |  | contract_rejection_tests
WTW2_REJECT_TORNADO_BASIS_FIELD_MISMATCH | tornado_direct_hit |  | {"pathway_id":"tornado_direct_hit","turbine_archetype":"generic_modern_onshore_tubular_multi_mw_screening_v1","tornado_hub_height_peak_3s_gust_mps":58,"tornado_input_basis":"rotor_resolved_wind_field","tornado_profile_bridge_id":"KAT_HUB_PROXY_V1"} |  | {"status":"withheld","error_code":"TORNADO_PROFILE_BRIDGE_REQUIRED"} | TORNADO_PROFILE_BRIDGE_REQUIRED | [] | 1e-12 |  | contract_rejection_tests
WTW2_REJECT_TORNADO_ABOVE_AXIS_MAX | tornado_direct_hit |  | {"pathway_id":"tornado_direct_hit","turbine_archetype":"generic_modern_onshore_tubular_multi_mw_screening_v1","tornado_rotor_effective_peak_horizontal_speed_mps":100.0001,"tornado_input_basis":"rotor_resolved_wind_field","tornado_profile_bridge_id":"KAT_ROTOR_FIELD_V1"} |  | {"status":"withheld","error_code":"AXIS_OUTSIDE_VALID_RANGE"} | AXIS_OUTSIDE_VALID_RANGE | [] | 1e-12 |  | contract_rejection_tests
WTW2_REJECT_UNSUPPORTED_ARCHETYPE | straight_line_convective |  | {"pathway_id":"straight_line_convective","turbine_archetype":"offshore_floating_15mw","rotor_effective_3s_gust_mps":50,"iec_ve50_mps":59.5} |  | {"status":"withheld","error_code":"TURBINE_ARCHETYPE_UNSUPPORTED"} | TURBINE_ARCHETYPE_UNSUPPORTED | [] | 1e-12 |  | contract_rejection_tests
cross_pathway_assertions | cross_pathway_assertions | cross_pathway_assertions | cross_pathway_assertions | cross_pathway_assertions | cross_pathway_assertions | cross_pathway_assertions | cross_pathway_assertions | cross_pathway_assertions | cross_pathway_assertions | cross_pathway_assertions
test_id | pathway_id | failure_unit_id | input / fixture | expected central DR | expected scenarios / state / assertions | expected error | expected flags | tolerance | purpose | source JSON group
WTW2_EQUAL_50_MPS_DOES_NOT_COLLAPSE_PATHWAYS |  |  | {} |  | {"assertions":["pathway_id_differs","curve_id_differs","axis_id_differs","scalar_central_dr_differs"],"left_test_id":"WTW2_SLC_HUB_PROXY_50_MPS","right_test_id":"WTW2_TOR_EQUAL_INTENSITY_50_MPS"} |  | [] | 1e-12 |  | cross_pathway_assertions
consumer_pin_tests | consumer_pin_tests | consumer_pin_tests | consumer_pin_tests | consumer_pin_tests | consumer_pin_tests | consumer_pin_tests | consumer_pin_tests | consumer_pin_tests | consumer_pin_tests | consumer_pin_tests
test_id | pathway_id | failure_unit_id | input / fixture | expected central DR | expected scenarios / state / assertions | expected error | expected flags | tolerance | purpose | source JSON group
WTW2_EXACT_COMPUTED_ARTIFACT_PIN_ACCEPTED |  |  | {"pin_fixture":"exact_values_plus_sha256_computed_from_artifact_bytes"} |  | {"status":"accepted"} |  | [] | 1e-12 |  | consumer_pin_tests
WTW2_STALE_ARTIFACT_SHA_REJECTED |  |  | {"pin_fixture":"exact_values_with_artifact_sha256_replaced_by_64_zeroes"} |  | {"status":"withheld","error_code":"ARTIFACT_PIN_MISMATCH"} | ARTIFACT_PIN_MISMATCH | [] | 1e-12 |  | consumer_pin_tests
WTW2_STALE_MODEL_VERSION_REJECTED |  |  | {"pin_fixture":"exact_values_with_semantic_damage_model_version_replaced_by_model_v1_0"} |  | {"status":"withheld","error_code":"ARTIFACT_PIN_MISMATCH"} | ARTIFACT_PIN_MISMATCH | [] | 1e-12 |  | consumer_pin_tests
WTW2_INCOMPLETE_PIN_REJECTED |  |  | {"pin_fixture":"exact_values_with_documentation_revision_removed"} |  | {"status":"withheld","error_code":"ARTIFACT_PIN_INCOMPLETE"} | ARTIFACT_PIN_INCOMPLETE | [] | 1e-12 |  | consumer_pin_tests
global_output_assertions | global_output_assertions | global_output_assertions | global_output_assertions | global_output_assertions | global_output_assertions | global_output_assertions | global_output_assertions | global_output_assertions | global_output_assertions | global_output_assertions
test_id | pathway_id | failure_unit_id | input / fixture | expected central DR | expected scenarios / state / assertions | expected error | expected flags | tolerance | purpose | source JSON group
GLOBAL_1 |  |  | {} |  | {} |  | [] | 1e-12 | every emit and failure-unit result repeats the exact requested pathway_id | global_output_assertions
GLOBAL_2 |  |  | {} |  | {} |  | [] | 1e-12 | every supported result carries the exact pathway-specific curve_id | global_output_assertions
GLOBAL_3 |  |  | {} |  | {} |  | [] | 1e-12 | scenario resistance bounds are not averaged or assigned weights | global_output_assertions
GLOBAL_4 |  |  | {} |  | {} |  | [] | 1e-12 | state probabilities for every scenario sum to one | global_output_assertions
GLOBAL_5 |  |  | {} |  | {} |  | [] | 1e-12 | intrinsic evaluator output contains no scenario loss, exposure scaling, support cost, frequency, EAL, PML, VaR, or TVaR | global_output_assertions

## Source_Register
Bounded-search source register
A source supports only the permitted inference at the cited locator; every prohibited inference remains explicit
source_id | citation | url | accessed_on | exact_locator | source_type | source_role | evidence_tier | target_asset_match | target_failure_unit_match | measured_or_modeled_endpoint | permitted_inference | prohibited_inference | decision | status | notes
SLC-S001 | Hawbecker, P.; Basu, S.; Manuel, L. Real-world extreme wind events: lessons from Buffalo Ridge for wind turbines. Wind Energy (2017). DOI 10.1002/we.2122. | https://doi.org/10.1002/we.2122 | 2026-07-11 | Abstract; event and turbine-description sections | peer-reviewed field/case paper | case_study_severity | T1_claims_or_field_calibrated | partial | direct blade/tower; legacy turbines | observed blade losses and one tower buckling; 30-50 m/s near-surface downburst estimate | Convective wind can fail blade/tower systems and operational/configuration context matters. | Pure downburst attribution; modern multi-MW turbine fragility; hub/rotor wind; repair-cost DR. | adopt_with_limits | reviewed | Event also included tornadoes; 360-750 kW turbines with 24.4-55 m hub heights.
SLC-S002 | Nguyen, H.H.; Manuel, L. A Monte Carlo simulation study of wind turbine loads in thunderstorm downbursts. Energies 7 (2014) 6527-6553. DOI 10.3390/en7106527. | https://doi.org/10.3390/en7106527 | 2026-07-11 | Sections 4.2-4.4 and conclusions | peer-reviewed numerical paper | mechanism_only | T2_public_lab_standard_or_physics | direct reference-turbine physics | blade/tower demand | simulated aerodynamic/structural loads under downburst, pitch, yaw and track states | Require operational/yaw/pitch state and reject a universal healthy-control shift. | Failure probability, repair cost, or direct DR ordinate. | adopt_with_limits | reviewed | Load may peak during control transition rather than at event maximum speed.
SLC-S003 | Lu, Y.; Sarkar, P.P.; Hu, H.; et al. Investigation of wind turbine performance under thunderstorm downburst winds. Energies 12 (2019) 2773. DOI 10.3390/en12142773. | https://doi.org/10.3390/en12142773 | 2026-07-11 | Table 3 p.26; Figure 21; conclusions | peer-reviewed LES/OpenFAST paper | mechanism_only | T2_public_lab_standard_or_physics | direct reference-turbine physics | blade-root and yaw demand | 28.8-55 m/s cases; 1.0-1.6 m/s2 ramp; 21.3-110 degree direction change; 2-7x pre-event load range | Carry ramp, direction change and state; constrain screening valid range. | Treat 2-7x load as 2-7x DR or infer capacity/replacement. | adopt_with_limits | reviewed | Quantitative load anchor without damage/cost endpoint.
SLC-S004 | Zhang, Y.; Sarkar, P.P.; Hu, H. An experimental study on wind turbine loads in a microburst-like wind. Journal of Fluids and Structures 57 (2015). DOI 10.1016/j.jfluidstructs.2015.06.016. | https://doi.org/10.1016/j.jfluidstructs.2015.06.016 | 2026-07-11 | Abstract and reported comparative load results | peer-reviewed wind-tunnel paper | mechanism_only | T2_public_lab_standard_or_physics | partial scaled model | rotor/tower demand | mean loads up to about 4x ABL and fluctuations up to about 10x in tested setup | Validate distinct convective demand and location/orientation/state sensitivity. | Full-scale fragility, universal amplification, or economic DR. | adopt_with_limits | reviewed | Reduced-scale impinging-jet experiment.
SLC-S005 | Ahmed, S.; El Damatty, A.; Dai, K. Design load provisions for wind turbines under downbursts. Engineering Structures 2023, 116779. DOI 10.1016/j.engstruct.2023.116779. | https://doi.org/10.1016/j.engstruct.2023.116779 | 2026-07-11 | Abstract, method and conclusions | peer-reviewed parametric numerical paper | axis_bridge | T2_public_lab_standard_or_physics | direct reference-turbine physics | tower/blade design demand | Downburst-specific load profiles derived from more than one million parametric analyses | Use reduced-order demand surrogate as future scientific target. | Damage state probability or repair-cost DR. | adopt_with_limits | reviewed | Downburst size/location/turbulence/turbine geometry/pitch all material.
SLC-S006 | Ahmed, S.; et al. Dynamic analysis of wind turbines under downburst loading. Journal of Structural Engineering (2023). DOI 10.1061/JSENDH.STENG-11923. | https://doi.org/10.1061/JSENDH.STENG-11923 | 2026-07-11 | Method, validation and conclusions | peer-reviewed numerical paper | mechanism_only | T2_public_lab_standard_or_physics | direct reference-turbine physics | tower/blade dynamic demand | dynamic/FSI load response | Support nonstationary dynamic demand formulation. | Failure probability or loss severity. | adopt_with_limits | reviewed | No repair-cost endpoint.
SLC-S007 | Nguyen, H.H.; Manuel, L.; Veers, P.S. Wind turbine loads during simulated thunderstorm downbursts. AIP Conference Proceedings (2011). DOI 10.1063/1.3646764. | https://doi.org/10.1063/1.3646764 | 2026-07-11 | Load-case comparison and conclusions | peer-reviewed conference paper | validation_only | T2_public_lab_standard_or_physics | direct reference-turbine physics | tower/blade demand | tower/blade demand | Confirm downburst loads require cases beyond ordinary IEC inflow. | Damage curve calibration. | adopt_with_limits | reviewed | Older modeling/control assumptions.
SLC-S008 | National Renewable Energy Laboratory. Extreme Inflow Conditions for Wind Turbine Design, NREL/TP-500-43521 (2008). | https://docs.nlr.gov/docs/fy08osti/43521.pdf | 2026-07-11 | Section 5.2, pp.31-34 | government technical report | axis_bridge | T2_public_lab_standard_or_physics | direct | multi-unit demand descriptors | Research needs identify gust magnitude, rapid direction change, rotor-scale shear/coherence, turbine configuration and fault/operating state | Require descriptor/state fields and preserve uncertainty. | Direct capacity, failure median, or DR. | adopt | reviewed | Authoritative research-needs source.
SLC-S009 | IEC. IEC 61400-1:2019 Wind energy generation systems - Part 1: Design requirements. | https://webstore.iec.ch/en/publication/26423 | 2026-07-11 | Official publication record; design-class and DLC scope | international standard | selector_archetype | T2_public_lab_standard_or_physics | direct design framework | all turbine structural units; selector only | design/certification selector | Use IEC class/design speed only as a selector/prior and exact lineage field. | Treat Ve50 or a design load as a failure median or damage curve. | adopt_with_limits | reviewed | Full standard is licensed.
SLC-S010 | Solari, G.; Burlando, M.; De Gaetano, P.; Repetto, M.P. Characteristics of thunderstorms relevant to the wind loading of structures. Probabilistic Engineering Mechanics 2018. DOI 10.1016/j.probengmech.2017.06.003. | https://doi.org/10.1016/j.probengmech.2017.06.003 | 2026-07-11 | 277-record analysis and conclusions | peer-reviewed observational/method paper | mechanism_only | T2_public_lab_standard_or_physics | adjacent structure-general | none direct; structure-general demand | transient wind characterization | Distinguish transient thunderstorm outflow from synoptic wind. | Turbine damage or cost calibration. | adopt_with_limits | reviewed | Structure-general, not turbine-specific.
SLC-S011 | Dang, T.; et al. Downburst wind profiles and implications for wind turbines. Wind Energy (2024). DOI 10.1002/we.2895. | https://doi.org/10.1002/we.2895 | 2026-07-11 | Section 2.1 and profile results | peer-reviewed numerical/observational paper | axis_bridge | T2_public_lab_standard_or_physics | partial | rotor-height wind field | Downburst horizontal-speed profile is nose shaped with height of maximum often in the rotor/hub range | Reject a universal monotonic ABL 10 m-to-hub bridge. | Universal 0.75/1.0/1.5 conversion or DR. | adopt_with_limits | reviewed | Profile depends on event/site.
SLC-S012 | Romanic, D.; Taszarek, M.; Brooks, H.E. Convective windstorm reporting and climatology in U.S. Storm Events. Weather and Climate Extremes 2022, 100474. DOI 10.1016/j.wace.2022.100474. | https://doi.org/10.1016/j.wace.2022.100474 | 2026-07-11 | Database-count and reporting-bias results | peer-reviewed climatology paper | boundary_or_cap | T2_public_lab_standard_or_physics | none for damage | none; occurrence reporting only | occurrence reporting | Storm Events labels are sparse and population biased; cannot supply an unbiased fragility denominator. | Damage probability or occurrence rate without Hazard review. | adopt_with_limits | reviewed | 927 downburst, 914 microburst and 27 macroburst labels in reported study window.
SLC-S013 | NOAA Storm Prediction Center. 24 June 2006 severe-weather reports. | https://origin-west-www-spc.woc.noaa.gov/climo/reports/060624_rpts.html | 2026-07-11 | Lake Benton, Minnesota thunderstorm-wind report | official event report | case_study_severity | T1_claims_or_field_calibrated | partial | blade | turbine blade snapped during thunderstorm wind | Validate blade vulnerability qualitatively. | Numeric fragility; no gust magnitude or asset state. | adopt_with_limits | reviewed | Independent observed case without intensity.
SLC-S014 | Lu, Y.; et al. Wind-farm response to thunderstorm downbursts. Energies 14 (2021) 5407. DOI 10.3390/en14175407. | https://doi.org/10.3390/en14175407 | 2026-07-11 | Array simulations and spatial-response results | peer-reviewed numerical paper | exposure_or_value | T2_public_lab_standard_or_physics | direct wind-farm geometry | turbine-array demand and exposure | multi-turbine demand correlation | Require turbine-level intensity and event-family/spatial coupling in Hazard. | Apply one farm-average DR or infer frequency. | adopt_with_limits | reviewed | Mainly informs M2 exposure/correlation boundary.
SLC-S015 | Jonkman, J.; Butterfield, S.; Musial, W.; Scott, G. Definition of a 5-MW Reference Wind Turbine for Offshore System Development, NREL/TP-500-38060 (2009). DOI 10.2172/947422. | https://doi.org/10.2172/947422 | 2026-07-11 | Turbine geometry and control definition | government technical report | selector_archetype | T2_public_lab_standard_or_physics | partial reference model | all turbine units; geometry/control selector | turbine geometry/control | Identify what a cited NREL 5-MW simulation represents. | Certified capacity or general fleet fragility. | adopt_with_limits | reviewed | Research reference turbine, not an OEM-certified archetype.
SLC-S016 | NOAA National Severe Storms Laboratory. Severe Weather 101: Damaging Winds - Types. | https://www.nssl.noaa.gov/education/svrwx101/wind/types/ | 2026-07-11 | Microburst, macroburst and derecho definitions | official guidance | boundary_or_cap | T2_public_lab_standard_or_physics | none for damage | none; pathway taxonomy and duration | hazard taxonomy/duration | Microbursts generally last 2-5 minutes; macrobursts about 5-20 minutes; derecho is extended outflow family. | Use derecho lifetime as local turbine duration or calibrate DR. | adopt | reviewed | Supports pathway scope and Hazard/Damage split.
TOR-S001 | Lombardo, F.; Wienhoff, Z.; Refan, M.; Wurman, J.; Kosiba, K.; Levitan, M. Properties of Tornado Wind Speed Profiles Used in the Development of the ASCE 7-22 Tornado Provisions. Journal of Structural Engineering 151(1) (2024). DOI 10.1061/JSENDH.STENG-12625. | https://doi.org/10.1061/JSENDH.STENG-12625 | 2026-07-11 | NIST abstract/results; 36 profiles; median nose height; ASCE nominal profile | peer-reviewed radar/profile paper | axis_bridge | T2_public_lab_standard_or_physics | partial | rotor/tower wind-demand axis | rotor-height tornado wind | Tornado profiles are nose shaped; median peak height about 50 m; nominal pressure coefficient changes above 61 m. | Use ordinary ABL power law; claim one profile represents every tornado/turbine. | adopt | reviewed | NIST public copy at https://tsapps.nist.gov/publication/get_pdf.cfm?pub_id=935900.
TOR-S002 | NOAA/National Weather Service. The Enhanced Fujita Scale. | https://www.weather.gov/oun/efscale | 2026-07-11 | Important note about EF-scale winds | official guidance | axis_bridge | T2_public_lab_standard_or_physics | none for turbine | none; EF context only | damage-estimated wind proxy | EF uses estimated 3-second gusts at damage points and varies with height/exposure. | Treat EF class or midpoint as a measured rotor/hub wind. | adopt | reviewed | NWS is official U.S. EF rating authority.
TOR-S003 | Wurman, J.; Kosiba, K. Tornadoes Cross Greenfield / Tornado Topples Wind Turbines. Bulletin of the American Meteorological Society digital edition, December 2025, pp.776-777. | https://headlines.ametsoc.org/wp-content/uploads/2026/01/20251201_BAMSDigitalEdition_Dec25.pdf | 2026-07-11 | pp.776-777; turbine threshold paragraph and map | primary radar/video research note | claims_or_field_calibration | T1_claims_or_field_calibrated | direct for affected turbines | tower collapse / terminal turbine equipment | terminal turbine collapse | All turbines with peak wind below 65 m/s survived; all at or above 69 m/s toppled; mixed outcomes at 65-69 m/s. | Universal fleet fragility, exact hub-height conversion, or statistical dispersion from unreported counts. | adopt_with_limits | reviewed | Research described as ongoing; reported wind methods carry about +/-20% uncertainty.
TOR-S004 | NOAA/National Weather Service Des Moines. Event Summary: 21 May 2024 Iowa Tornadoes, Winds and Flooding. | https://www.weather.gov/dmx/2024-May-21-Iowa-TornadoesWindsFlooding | 2026-07-11 | Greenfield Tornado event table | official event report | validation_only | T1_claims_or_field_calibrated | adjacent event | none; event context only | event rating/path | Greenfield tornado rated EF4 with estimated peak 175-185 mph; provides official event context. | Assign that peak to every turbine or calibrate a turbine curve. | adopt_with_limits | reviewed | Damage-based event maximum, not turbine-local measurement.
TOR-S005 | Aslam, M.U.; Alipour, A. Structural failure analysis of wind turbines in 2024 Greenfield tornado. Engineering Failure Analysis 186 Part A (2026) 110387. DOI 10.1016/j.engfailanal.2025.110387. | https://doi.org/10.1016/j.engfailanal.2025.110387 | 2026-07-11 | Abstract; forensic observations; model and conclusions | peer-reviewed forensic/FEA paper | case_study_severity | T2_public_lab_standard_or_physics | direct Vestas V110-2.0 MW | tower/blade failure mechanism | tower/blade failure mechanism | Local inelastic buckling near geometric discontinuities was the primary modeled/observed tower-collapse mechanism. | Population fragility, exact capacity median, or repair-cost curve. | adopt_with_limits | reviewed | Uses real Greenfield wind field and a 95 m tower model.
TOR-S006 | Marshall, T.P.; Dunn, J. Damage Survey of the Jacksboro, TX Tornado: 21 March 2022. | https://www.researchgate.net/publication/390065792_Damage_Survey_of_the_Jacksboro_TX_Tornado_21_March_2022 | 2026-07-11 | Section 3.6; Figures 16-17; Table 7 | conference damage-survey paper | claims_or_field_calibration | T1_claims_or_field_calibrated | direct affected commercial turbines | rotor/blade damage state | rotor/blade damage state | Four turbines had shredded blades with intact tapered steel towers; typical resistance estimated about 51 m/s using nearby damage. | Exact rotor wind, repair cost, probability, or tower capacity. | adopt_with_limits | reviewed | Primary field survey; author-uploaded access copy.
TOR-S007 | Bouchard, R.; Romanic, D. Monte Carlo modeling of tornado hazard to wind turbines in Germany. Natural Hazards 116 (2023) 3899-3923. DOI 10.1007/s11069-023-05843-z. | https://doi.org/10.1007/s11069-023-05843-z | 2026-07-11 | Vulnerability section; Figure 7; Table 3 | peer-reviewed risk/vulnerability paper | curve_form | T3_engineering_proxy_or_adjacent_empirical | direct asset but European value context | ordered commercial-turbine damage states | screening DOD/vulnerability | Provides ordered 36/45/49/58 m/s turbine DOD resistance anchors and a precedent for cumulative component consequences. | Treat curve as field-fitted, copy cost shares, or import its Hazard frequency/exposure model. | adopt_with_limits | reviewed | Authors describe first proposed vulnerability curve; based on proposed DODs and cost mapping.
TOR-S008 | Marshall, T.P.; Brown-Giammanco, T.; Krautwurst, S.N.; de Toledo, N.L. On the Current Revision of the Enhanced Fujita Scale. 30th AMS Conference on Severe Local Storms (2022), 11.1A. | https://ams.confex.com/ams/30SLS/mediafile/Manuscript/Paper407207/AMS-EFscale-FINAL%20%284%29.pdf | 2026-07-11 | Proposed DI/DOD process and wind-turbine material | conference standards-development paper | boundary_or_cap | T3_engineering_proxy_or_adjacent_empirical | direct DI proposal | ordered commercial-turbine DOD taxonomy | damage-state resistance taxonomy | Use proposed commercial-turbine DODs as an engineering prior and update trigger. | Claim final ASCE/EF adoption or population calibration. | adopt_with_limits | reviewed | Forthcoming standard remained under development at cutoff.
TOR-S009 | AbuGazia, M.; El Damatty, A.A.; Dai, K.; Lu, W.; Ibrahim, A. Numerical model for analysis of wind turbines under tornadoes. Engineering Structures 223 (2020) 111157. DOI 10.1016/j.engstruct.2020.111157. | https://doi.org/10.1016/j.engstruct.2020.111157 | 2026-07-11 | Abstract, model, case study and conclusions | peer-reviewed numerical paper | mechanism_only | T2_public_lab_standard_or_physics | direct 1.5 MW reference turbine | blade/tower demand | blade/tower demand | F2-tornado blade actions exceeded cited IEC extreme case; tornado position and pitch materially changed loads. | Failure probability, cost DR, or universal pitch protection factor. | adopt_with_limits | reviewed | Minimum blade actions at 60-degree pitch and tower-base actions at 15 degrees for studied case; not a general control rule.
TOR-S010 | Lopez Ortiz, J.P. Effects of wind turbine rotor positioning on tornado induced loads. Western University Electronic Thesis and Dissertation Repository (2023). | https://ir.lib.uwo.ca/etd/9120/ | 2026-07-11 | Abstract and experimental results | doctoral thesis / large-scale experiment | mechanism_only | T2_public_lab_standard_or_physics | direct scaled HAWT | tower/rotor demand | tower/rotor demand | Bending moment dominated and varied materially with turbine position, yaw, pitch and parked/idling state. | Fragility or repair-cost calibration. | adopt_with_limits | reviewed | Experimental validation of HIW-TUR.
TOR-S011 | Baker, C.; Sterling, M. A conceptual model for wind and debris impact loading of structures due to tornadoes. Journal of Wind Engineering and Industrial Aerodynamics 175 (2018) 283-291. DOI 10.1016/j.jweia.2017.11.029. | https://doi.org/10.1016/j.jweia.2017.11.029 | 2026-07-11 | Abstract and framework | peer-reviewed analytical paper | mechanism_only | T2_public_lab_standard_or_physics | adjacent structure-general | none direct; general wind/pressure/debris | wind/pressure/debris demand | Keep direct wind, pressure and debris as distinct mechanisms; flag debris as unresolved in speed-only turbine proxy. | Turbine debris multiplier or DR. | adopt_with_limits | reviewed | Not turbine-specific.
TOR-S012 | Perfetto, E.; Taylor, J.; Osburn, K.; O'Connor, B.; Levitan, M.; Mitchell, J. Design Guide for New Tornado Load Requirements in ASCE 7-22. FEMA/NIST (2023). | https://tsapps.nist.gov/publication/get_pdf.cfm?pub_id=935883 | 2026-07-11 | Tornado profile, pressure and debris provisions | government design guide | axis_bridge | T2_public_lab_standard_or_physics | adjacent building/structure | none direct; tornado design demand | tornado design demand | Use official tornado load/profile concepts and debris distinction as boundary constraints. | Apply building coefficients directly to turbines or calibrate DR. | adopt_with_limits | reviewed | Guide addresses ASCE building/other-structure provisions.
VAL-S001 | National Renewable Energy Laboratory. Cost of Wind Energy Review: 2024 Edition, NREL/TP-5000-91775 (2025). | https://www.nrel.gov/docs/fy25osti/91775.pdf | 2026-07-11 | Land-based project breakdown and turbine component appendix | government cost report | exposure_or_value | T2_public_lab_standard_or_physics | direct land-based reference plant | all governed wind-turbine value rows | component and project cost | Define the 1,090 USD/kW turbine-equipment denominator and reconcile 1,623 physical / 1,968 installed bases. | Damage ratio, at-risk fraction, site appraisal, or linear support-cost scaling. | adopt | reviewed | 2023 USD; 200 MW reference in local value workbook.
ADJ-S001 | Rose, S.; Jaramillo, P.; Small, M.J.; Grossmann, I.; Apt, J. Quantifying the hurricane risk to offshore wind turbines. PNAS 109(9) (2012) 3247-3252. DOI 10.1073/pnas.1111769109. | https://doi.org/10.1073/pnas.1111769109 | 2026-07-11 | Table 1 and supplementary damage-function method | peer-reviewed adjacent-hazard fragility paper | validation_only | T3_engineering_proxy_or_adjacent_empirical | adjacent TC/offshore model | tower buckling; adjacent TC/offshore | tower buckling capacity/control sensitivity | Use only as an adjacent check that yaw/grid state shifts tower demand materially. | Calibrate convective/tornado curve or import TC duration/frequency. | defer_neighboring_cell | reviewed | Ten-minute hurricane wind and NREL 5-MW tower; not direct pathway evidence.
ADJ-S002 | National Renewable Energy Laboratory. Hurricane Resilient Wind Plant Design, NREL/TP-5000-88195 (2024). | https://www.nrel.gov/docs/fy24osti/88195.pdf | 2026-07-11 | Extreme load cases, yaw/grid-loss discussion and recommendations | government technical report | validation_only | T3_engineering_proxy_or_adjacent_empirical | adjacent tropical cyclone | turbine demand/control; adjacent TC | turbine demand/control | Define why tropical-cyclone duration, yaw, grid loss and gust conditions require a separate workstream. | Reuse either convective curve for hurricanes. | defer_neighboring_cell | reviewed | Boundary source, not calibration.
LEG-S001 | InfraSure Damage Modeling. wind_tornado_wind current model v1.0 docs r4 artifact. | docs/cells/wind_tornado_wind/current/wind_tornado_wind__model_v1_0__docs_r4__curve_artifact.json | 2026-07-11 | hazard_axis, curve_records, conditioner_logic, parameter_tier_table | repository runtime artifact | rejected | T4_placeholder_or_expert_judgment | direct legacy model | legacy blade/tower/nacelle/foundation/electrical | legacy DR output | Reproduce and compare the shift-only model exactly. | Use its Tier-4 D50/k/tornado shifts as v2 evidence. | archive_on_future_promotion | reviewed | Remains canonical during proposal work.
LEG-S002 | InfraSure Hazard Modeling. Convective wind/wind farm M3 and M4 notebooks. | https://github.com/aamani-ai/Hazard_Modeling/tree/main/Notebooks/convective_wind/wind_farm/ | 2026-07-11 | m3_damage/01_damage.py and m4_loss_metrics/01_loss_metrics.py | downstream repository implementation | rejected | T4_placeholder_or_expert_judgment | direct consumer | mixed downstream turbine and plant units | legacy whole-asset DR and annual outputs | Audit hardcoded curves, values, exposure and frequency seams; generate migration tests. | Treat consumer parameters or headlines as Damage Modeling calibration targets. | replace_on_consumer_migration | reviewed | Stable repository identity is audit provenance only; the machine artifact has no downstream dependency.

## Claim_Register
Claim and parameter provenance register
Tier 4 is visible by design; missing evidence triggers withhold or a named screening limitation
claim_id | claim_text | claim_type | source_ids | exact_locator | evidence_tier | parameter_or_rule | adoption_status | permitted_inference | prohibited_inference | reasoning | update_trigger
WTW2-C001 | The cell contains two first-class causal pathways: straight_line_convective and tornado_direct_hit. | governance_decision | SLC-S001;SLC-S002;SLC-S003;TOR-S001;TOR-S009 | Decision D-WTW2-02 and pathway evidence | T2_public_lab_standard_or_physics | required pathway_id | adopt | Route to independent axes, records, evidence and capabilities. | Boolean tornado shift or automatic pathway inference. | The two wind fields and turbine demands are physically distinct while sharing asset anatomy. | New evidence demonstrates one evaluator/axis is equivalent across mechanisms.
WTW2-C002 | pathway_id is not a selector, conditioner, exposure field, Boolean, or hazard-intensity inference. | governance_decision | GOVERNANCE_CONTRACT | Contract standard 22 §2 | T4_placeholder_or_expert_judgment | pathway routing rule | adopt | Require exact pathway routing at artifact, record and emit levels. | Default, alias-only, or inferred routing. | Silent routing was the load-bearing v1 seam. | Contract redesign approved through a later schema version.
WTW2-C003 | straight_line_convective includes local downburst, microburst, macroburst, gust-front and derecho-outflow loading. | source_interpretation | SLC-S002;SLC-S003;SLC-S016 | NOAA definitions and turbine-load studies | T2_public_lab_standard_or_physics | pathway hazard scope | adopt | Use local convective outflow demand after Hazard resolves event identity/footprint. | Use whole derecho duration/intensity at every turbine. | Derecho is the parent event/footprint; local outflow is the turbine loading mechanism. | NOAA/ASCE taxonomy or new mechanism evidence changes scope.
WTW2-C004 | Nonconvective synoptic, downslope, and tropical-cyclone wind are excluded from straight_line_convective. | governance_decision | SLC-S010;ADJ-S001;ADJ-S002 | Boundary memo | T3_engineering_proxy_or_adjacent_empirical | neighboring pathway boundary | adopt | Share value/anatomy only through explicit future review. | Reuse the convective numeric curve because units are both m/s. | Duration/profile/control environments differ materially. | A documented equivalence study passes.
WTW2-C005 | Peak gust alone is insufficient to characterize convective turbine demand. | direct_observation | SLC-S002;SLC-S003;SLC-S004;SLC-S008 | Lu Table 3/Fig.21; NREL §5.2 | T2_public_lab_standard_or_physics | conditioner/input contract | adopt | Require/record ramp, direction, vertical flow, duration, turbulence and control state or unresolved flags. | Claim one gust maps uniquely to load or DR. | Experiments/simulations show state and transient structure are load-bearing. | Validated reduced-order demand model identifies a sufficient smaller input set.
WTW2-C006 | The preferred straight-line intensity is rotor-effective 3-second horizontal gust; a hub-point 3-second gust is a lower-fidelity proxy. | engineering_inference | SLC-S003;SLC-S004;SLC-S008;SLC-S011 | Dossier axis section | T3_engineering_proxy_or_adjacent_empirical | straight-line hazard axis | adopt | Use rotor-area RMS pressure-equivalent speed and flag hub proxy. | Treat 10 m ASCE gust as rotor/hub gust. | Rotor-scale nonuniformity and V-squared pressure motivate an area-effective measure. | Validated alternative demand measure or field study.
WTW2-C007 | A 10 m ASCE gust requires a named convective profile bridge and cannot use an ordinary ABL power law by default. | source_interpretation | SLC-S008;SLC-S011 | NREL §5.2; Dang §2.1 | T2_public_lab_standard_or_physics | straight-line axis bridge | adopt | Fail closed or use explicit T4 proxy scenarios. | Silent 10 m-to-hub substitution. | Downburst profiles are transient and nose shaped. | Validated site/event downburst profile adapter.
WTW2-C008 | Convective studies support a load-evidence region around 28-55 m/s but do not directly support DR ordinates. | source_interpretation | SLC-S003;SLC-S004;SLC-S005 | Lu Table 3; experiment/model domains | T2_public_lab_standard_or_physics | straight-line evidence domain | adopt | Flag 55-70 m/s as high extrapolation and withhold above 70 m/s. | Call the entire curve evidence fitted. | Available studies provide demand, not capacity/cost. | Modern turbine capacity plus repair data extend domain.
WTW2-C009 | Convective physical destruction above 70 m/s is withheld in the proposed screening evaluator. | governance_decision | SLC-S003;BOUNDED_REVIEW | Evidence-domain review | T4_placeholder_or_expert_judgment | straight-line upper domain | adopt | Return a structural reason code rather than extrapolated DR. | Clamp to total loss or silently extend. | Prevents a T4 curve from becoming an unbounded severe-wind model. | Qualified modern-turbine high-wind capacity evidence.
WTW2-C010 | The straight-line capacity scenarios are Tier-4 engineering bounds, not a statistical fragility fit. | governance_decision | SLC-S001;SLC-S003;SLC-S005;BOUNDED_REVIEW | Parameter tier table | T4_placeholder_or_expert_judgment | straight-line state medians/beta | adopt | Use for screening sensitivity with explicit scenario IDs. | Describe bounds as confidence intervals or underwriting calibration. | No matched intensity-damage-cost population exists. | Claims/SCADA/inspection or capacity-calibrated model.
WTW2-C011 | Observed convective events support blade and tower failure but do not cleanly calibrate modern multi-MW fragility. | direct_observation | SLC-S001;SLC-S013 | Buffalo Ridge and SPC event records | T1_claims_or_field_calibrated | straight-line state ordering | adopt_with_limits | Allow rotor-damage and terminal-turbine states in a screening ensemble. | Fit a population curve directly to the cases. | Events lack clean turbine-level wind, configuration, and repair denominators. | Matched modern event dataset.
WTW2-C012 | Convective load multipliers of 2-10 times are demand evidence and never damage-ratio multipliers. | source_interpretation | SLC-S003;SLC-S004 | Lu Fig.21; Zhang results | T2_public_lab_standard_or_physics | load-to-DR guardrail | adopt | Use to justify distinct pathway physics. | Multiply DR or value by reported load ratios. | Capacity and repair consequences are nonlinear and absent. | Capacity-linked fragility study.
WTW2-C013 | Grid loss, pitch and yaw availability are conditioners, not direct physical damage or value exposure. | governance_decision | SLC-S002;SLC-S008;ADJ-S001 | NREL state discussion; Rose load cases | T2_public_lab_standard_or_physics | conditioner taxonomy | adopt | Carry state in the request and metadata. | Emit DR from grid loss alone or scale value twice. | They alter demand/control state without being destruction. | Evidence of a separate direct electrical-failure pathway.
WTW2-C014 | A tornado wind field contains tangential, radial and vertical components that vary across the rotor and with tornado position. | source_interpretation | TOR-S009;TOR-S010;TOR-S011 | AbuGazia model; Lopez experiment | T2_public_lab_standard_or_physics | tornado pathway physics | adopt | Require a tornado-effective turbine demand or qualified proxy. | Represent tornado by an ordinary straight-wind D50 shift. | Direct numerical/experimental evidence shows three-dimensional and positional effects. | Validated simpler sufficient demand index.
WTW2-C015 | Tornado horizontal-speed profiles are nose shaped, with a median peak near 50 m in the reviewed 36-profile sample. | direct_observation | TOR-S001 | NIST results | T2_public_lab_standard_or_physics | tornado height bridge | adopt | Require height/profile provenance and recognize rotor-span variation. | Apply an ordinary ABL power law or claim every peak is 50 m. | NIST radar-profile review directly supports the profile distinction and variability. | New ASCE profile revision or larger sample.
WTW2-C016 | An EF rating is a damage-based estimated 3-second gust and not a turbine-local measured intensity. | direct_observation | TOR-S002 | NWS EF important note | T2_public_lab_standard_or_physics | EF proxy rule | adopt | Reject EF-only runtime inputs; require a documented wind-field/proxy ensemble. | Use EF midpoint or uniform band as a measured hub gust. | NWS explicitly states estimates vary with height/exposure. | Final wind-speed-estimation standard supplies a governed conversion.
WTW2-C017 | At Jacksboro four commercial turbines had shredded blades while their tapered steel towers remained intact; typical resistance was estimated near 51 m/s. | direct_observation | TOR-S006 | §3.6, Figs.16-17, Table 7 | T1_claims_or_field_calibrated | tornado rotor-damage central anchor | adopt_with_limits | Set the central rotor-replacement transition near 51 m/s for screening. | Claim exact rotor wind, probability, modern-fleet transfer, or repair cost. | Nearby damage supported the field estimate; configuration/denominator remain incomplete. | Final turbine DI or additional matched turbine cases.
WTW2-C018 | Greenfield turbine outcomes show a terminal-collapse transition between about 65 and 69 m/s for the affected turbines. | direct_observation | TOR-S003 | BAMS pp.776-777 | T1_claims_or_field_calibrated | tornado terminal central anchor | adopt_with_limits | Set central terminal-state median near 67 m/s and retain broad resistance scenarios. | Universal turbine capacity, exact hub speed, or fitted beta from unreported counts. | All below 65 survived, all at/above 69 toppled, mixed between; research is ongoing. | Complete peer-reviewed Greenfield turbine/radar dataset.
WTW2-C019 | Greenfield tower collapse was governed by local inelastic buckling near geometric discontinuities in the reviewed forensic/FEA study. | direct_observation | TOR-S005 | Abstract and conclusions | T2_public_lab_standard_or_physics | terminal-state mechanism | adopt | Treat tower collapse as terminal turbine-equipment state with archetype limits. | Infer a universal fragility curve or foundation loss. | Forensic observations and FEA agree on local buckling mechanism. | Additional forensic cases or alternate turbine designs.
WTW2-C020 | The proposed commercial-turbine DOD thresholds are an engineering prior, not a finalized standard or field-calibrated fragility. | source_interpretation | TOR-S007;TOR-S008 | Bouchard Table 3; Marshall standards-development paper | T3_engineering_proxy_or_adjacent_empirical | tornado lower-resistance scenario | adopt_with_limits | Use 32/45/58-like lower-resistance bounds and state ordering. | Call them final EF/ASCE requirements or statistical medians. | The source is explicit standards-development/screening work. | Final ASCE/SEI/AMS standard.
WTW2-C021 | Tornado debris and pressure are distinct unresolved mechanisms in the speed-only screening proxy. | source_interpretation | TOR-S011;TOR-S012 | Baker framework; FEMA/NIST guide | T2_public_lab_standard_or_physics | tornado limitation flag | adopt | Carry TORNADO_DEBRIS_PRESSURE_NOT_SEPARATELY_MODELED. | Apply an unsupported debris multiplier or claim wind-only causation. | Evidence establishes separate loading without turbine calibration. | Turbine-specific debris/pressure tests.
WTW2-C022 | The primary numeric failure unit is one repeated turbine-equipment assembly because component failures are dependent and tower collapse is terminal. | governance_decision | TOR-S003;TOR-S005;VAL-S001;GOVERNANCE_CONTRACT | Decision D-WTW2-05 | T3_engineering_proxy_or_adjacent_empirical | failure_unit_id WT_TURBINE_EQUIPMENT_ASSEMBLY | adopt | Use mutually exclusive ordered states and apply exposure per turbine. | Independently sum blade, tower, nacelle and foundation logistics. | Assembly precedence prevents consequential double counting. | Claims/repair evidence supports separable conditional component records.
WTW2-C023 | The turbine-equipment curve denominator is 1,090 USD/kW in 2023 USD. | direct_observation | VAL-S001 | Wind_Map rows 2-9; CWER appendix | T2_public_lab_standard_or_physics | value denominator | adopt | Apply assembly DR only to rotor/pitch/nacelle/electrical/yaw/tower direct hardware. | Apply to foundation, support, full physical base, installed TIV or insured value. | Rows 2-9 reconcile to the CWER turbine module, subject to 1 USD/kW rounding. | New CWER vintage or site appraisal.
WTW2-C024 | The reference installed, physical, and excluded bases are 1,968, 1,623, and 345 USD/kW. | direct_observation | VAL-S001 | Inputs!B9:B11 and Wind_Map | T2_public_lab_standard_or_physics | reference value basis | adopt | Publish denominator conversions and reconciliation. | Treat physical and installed denominators as interchangeable. | Workbook formula audit reconciles the reference rows. | New value vintage or boundary decision.
WTW2-C025 | The turbine-equipment share is 0.671595810228 of physical base and 0.553861788618 of installed capex. | engineering_inference | VAL-S001 | 1090/1623 and 1090/1968 | T2_public_lab_standard_or_physics | reference shares | adopt | Use only as explicit reference convenience after exposure. | Call either share an intrinsic curve cap or implicit full-TIV multiplier. | Ratios are exact arithmetic on named denominators. | Value basis changes.
WTW2-C026 | Foundation, civil, and external electrical rows totaling 239 USD/kW remain outside the turbine-equipment curve and require distinct exposure/failure treatment. | governance_decision | VAL-S001;SLC-S014;HAZARD_CONSUMER_AUDIT | Wind_Map rows 10-12 | T4_placeholder_or_expert_judgment | withheld value coverage | withhold | Retain row-complete reconciliation and separate future units. | Scale them by turbine DR or one tornado swept fraction. | They have different asset grains and no matched fragility. | Unit-specific evidence and exposure models.
WTW2-C027 | Replacement fieldwork and transport/logistics totaling 294 USD/kW are support costs allocated once after damaged units are known. | governance_decision | VAL-S001;GOVERNANCE_CONTRACT | Wind_Map rows 13-14 | T4_placeholder_or_expert_judgment | support allocation rule | adopt | Apply a claims/site rule once outside intrinsic DR. | Give support rows independent fragility or scale them twice. | CWER reports recurring costs but no hazard-specific allocation function. | Claims-backed support allocation.
WTW2-C028 | The 345 USD/kW engineering/development, management, finance, contingency and warranty rows are excluded from physical destruction by default. | source_interpretation | VAL-S001 | Wind_Map rows 15-19 | T2_public_lab_standard_or_physics | excluded value rows | adopt | Reconcile installed to physical and keep rows outside DR. | Reintroduce through damage state or support scaling. | They are classified sunk/soft/nonphysical in the governed value ledger. | Explicit insured-value boundary overrides.
WTW2-C029 | Damage-state cost ratios are consequences on the 1,090 USD/kW turbine-equipment denominator, not failure probabilities. | governance_decision | VAL-S001;GOVERNANCE_CONTRACT | Value crosswalk and curve form | T4_placeholder_or_expert_judgment | damage state r_j | adopt | Use pitch 13/1090, rotor 337/1090 and total 1090/1090 as transparent screening consequences. | Claim exact repair scopes, include support, or interpret as weights in component logistics. | Public component values make the arithmetic auditable but do not provide claims calibration. | Claims/repair disposition data.
WTW2-C030 | The common log-dispersion and resistance scenarios are Tier-4 curve-shape judgments constrained by observed brackets. | engineering_inference | TOR-S003;TOR-S006;TOR-S007;SLC-S003 | Parameter tier table | T4_placeholder_or_expert_judgment | beta_ln and capacity_scenarios | adopt | Produce monotone screening envelopes and KATs. | Report statistical confidence, aleatory-only uncertainty, or fitted likelihood. | Counts/covariates are insufficient for statistical fitting. | Population data or structured elicitation.
WTW2-C031 | Capacity scenarios have no probabilities or weights. | governance_decision | GOVERNANCE_CONTRACT | Contract standard 22 §4 | T4_placeholder_or_expert_judgment | scenario interpretation | adopt | Emit named nonprobabilistic lower/central/upper resistance results. | Average scenarios as an expected DR without a selected rule. | No evidence supports scenario weights. | Structured elicitation or calibrated epistemic distribution.
WTW2-C032 | The ordered-state evaluator must use exact-state probabilities that sum to one and nondecreasing state costs. | governance_decision | GOVERNANCE_CONTRACT | Contract standard 22 §4 | T2_public_lab_standard_or_physics | evaluation equation | adopt | Prevent negative probabilities and dependency double counting. | Sum exceedance probabilities directly as independent losses. | This is the standard ordered-fragility construction. | New governed curve form.
WTW2-C033 | Missing, unknown, or mismatched pathway identity withholds evaluation. | governance_decision | GOVERNANCE_CONTRACT | KAT routing cases | T4_placeholder_or_expert_judgment | fail-closed routing | adopt | Return PATHWAY_ID_REQUIRED/UNKNOWN/MISMATCH. | Default to straight line or infer tornado from EF. | Prevents the old silent-routing failure. | No update absent schema revision.
WTW2-C034 | Frequency, track/footprint, exposed turbine count, spatial dependence and event-family overlap belong to Hazard. | governance_decision | SLC-S014;HAZARD_CONSUMER_AUDIT;GOVERNANCE_CONTRACT | Hazard handoff and scope | T2_public_lab_standard_or_physics | ownership boundary | adopt | Damage emits conditional per-turbine severity only. | Embed tornado strike probability, derecho footprint, or annual rate in curve. | Separates vulnerability from occurrence/exposure. | Platform architecture decision changes.
WTW2-C035 | Substation points, collection lines, civil areas and turbine points require separate exposure kernels. | engineering_inference | VAL-S001;HAZARD_CONSUMER_AUDIT | Consumer seam audit | T3_engineering_proxy_or_adjacent_empirical | exposure grain rule | adopt | Apply each unit's value only to its own intersection object. | Apply one exposed_turbine_fraction or swept fraction to full TIV. | Geometry and denominator grains are incompatible. | A validated aggregate equivalence proof.
WTW2-C036 | The existing v1.0 artifact and Hazard hardcoded curves are legacy comparison objects, not calibration targets. | governance_decision | LEG-S001;LEG-S002 | Legacy numerical audit | T4_placeholder_or_expert_judgment | legacy disposition | adopt | Reproduce and compare without tuning v2 to preserve outputs. | Use legacy D50/k/weights as evidence or preserve old EAL/PML headlines. | They use different axes, values and exposure/frequency seams. | None; archive on promotion.
WTW2-C037 | Current v1.0 remains canonical until v2 scientific, schema, KAT, workbook and Hazard migration gates pass. | governance_decision | GOVERNANCE_CONTRACT | Change classification and promotion matrix | T4_placeholder_or_expert_judgment | promotion rule | adopt | Keep v2 absent from artifact index/current changelog. | Implicitly promote by creating proposed files. | Protects current consumers during incompatible research. | Explicit promotion decision.
WTW2-C038 | Before promotion, EAL, PML, VaR and TVaR are withheld because the artifact is noncanonical; after promotion they remain consumer-owned. | governance_decision | GOVERNANCE_CONTRACT | Capability v3 and standard 21 | T4_placeholder_or_expert_judgment | annual metric capability | adopt | Allow future frequency-driven annual metrics only after Hazard prerequisites and limitation flags. | Compute annual metrics in Damage Modeling or derive a tail from one mean DR. | Separates proposal status from the valid consumer-tail boundary. | Promotion plus passing consumer integration.
WTW2-C039 | The nonprobabilistic resistance envelope carries epistemic sensitivity but does not by itself represent full vulnerability uncertainty. | governance_decision | GOVERNANCE_CONTRACT | Capability v3 | T4_placeholder_or_expert_judgment | uncertainty capability | adopt | Label NONPROBABILISTIC_EPISTEMIC_ENVELOPE and unresolved conditioners. | Call it a probabilistic distribution or omit unmodeled uncertainty. | Scenario construction has no weights and incomplete covariates. | Calibrated probabilistic fragility.
WTW2-C040 | No hurricane/tropical-cyclone numerical curve is delivered in this proposal. | governance_decision | ADJ-S001;ADJ-S002 | Hurricane boundary memo | T3_engineering_proxy_or_adjacent_empirical | neighboring cell capability | adopt | Reject tropical-cyclone events and open a separate workstream. | Reuse either pathway for hurricane wind. | Duration, veer, turbulence, grid-loss and possible wave loading differ. | Separate tropical-cyclone cell review.

## QA
Workbook formula and governance QA
PASS here verifies workbook mechanics and stated boundaries; it does not promote the noncanonical model
Check | Actual | Expected | Status | Why load-bearing | Independent validation
Installed = physical + excluded | 0 | 0 | PASS | Denominator reconciliation | Source value workbook + CSV validator
Physical = equipment + withheld other + support | 0 | 0 | PASS | No missing/double-counted physical row | Value crosswalk validator
State costs ordered and bounded | TRUE | TRUE | PASS | Ordered-state probability interpretation | Artifact semantic validator
SLC medians strictly increasing | TRUE | TRUE | PASS | No negative exact-state probabilities | Evaluator self-test
Tornado medians strictly increasing | TRUE | TRUE | PASS | No negative exact-state probabilities | Evaluator self-test
SLC central curve monotone | TRUE | TRUE | PASS | Fixed-input DR cannot decrease with demand | Dense-grid validator
Tornado central curve monotone | TRUE | TRUE | PASS | Fixed-input DR cannot decrease with demand | Dense-grid validator
SLC state probabilities sum to one | 0 | 0 | PASS | Exact states must be exhaustive | KAT state-vector checks
Tornado state probabilities sum to one | 0 | 0 | PASS | Exact states must be exhaustive | KAT state-vector checks
SLC resistance scenario ordering | TRUE | TRUE | PASS | Lower resistance must mean higher damage | Dense-grid validator
Tornado resistance scenario ordering | TRUE | TRUE | PASS | Lower resistance must mean higher damage | Dense-grid validator
Current v1 structural share reproduced | 0.749 | 0.749 | PASS | Legacy reproduction must use original denominator | Old-vs-new script
Legacy Hazard full weights reproduced | 1 | 1 | PASS | Consumer drift audit | Hazard source inspection
Proposal remains noncanonical | FALSE | FALSE | PASS | Research package must not silently promote | Artifact/index regression check
Portable package remains unreleased for v2 | TRUE | TRUE | PASS | Package axis is separate from model version | Artifact semantic validator